## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-02-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.13103 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12975 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13103 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.11912 | 0.021952 | 0.13103 | 0.03876 | 0.028733
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-04-28 | 2005-03-04 | 2008-09-30 | ug/L | 0.093787 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12795 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.093787 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.11912 | 0.021952 | 0.13103 | 0.03876 | 0.028733
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-07-02 | 2005-03-04 | 2008-09-30 | ug/L | 0.13255 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12826 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13255 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.11912 | 0.021952 | 0.13103 | 0.03876 | 0.028733
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.23071 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.099694 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23071 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.17749 | 0.10347 | 0.23071 | 0.18527 | 0.13734
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.24351 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.10266 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24351 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.17749 | 0.10347 | 0.23071 | 0.18527 | 0.13734
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-03-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.058243 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.1717 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.058243 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.17749 | 0.10347 | 0.23071 | 0.18527 | 0.13734
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-08-08 | 2005-03-04 | 2008-09-30 | ug/L | 0.14674 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.10222 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14674 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.14674 |  | 0.14674 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.21291 | Accu | 209081187 | Accu 209081187: 40 µl | 0.15029 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21291 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.21291 |  | 0.21291 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-04-05 | 2005-03-04 | 2008-09-30 | ug/L | 0.48004 | Accu | B6070194 | Accu B6070194: 10 µl | 0.020832 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.48004 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.31085 | 0.1761 | 0.3336 | 0.2849 | 0.2112
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-07-30 | 2005-03-04 | 2008-09-30 | ug/L | 0.24064 | Accu | B6070194 | Accu B6070194: 50 µl | 0.10389 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24064 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.31085 | 0.1761 | 0.3336 | 0.2849 | 0.2112
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-10-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.42656 | Accu | B6070194 | Accu B6070194: 10 µl | 0.021099 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.42656 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.31085 | 0.1761 | 0.3336 | 0.2849 | 0.2112
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-12-12 | 2005-03-04 | 2008-09-30 | ug/L | 0.09615 | Accu | B6070194 | Accu B6070194: 50 µl | 0.104 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.09615 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.31085 | 0.1761 | 0.3336 | 0.2849 | 0.2112
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.29011 | Accu | B8090098 | Accu B8090098: 40 µl | 0.16546 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29011 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.22183 | 0.050541 | 0.21404 | 0.067609 | 0.050118
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.22116 | Accu | B8090098 | Accu B8090098: 25 µl | 0.10852 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22116 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.22183 | 0.050541 | 0.21404 | 0.067609 | 0.050118
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.20693 | Accu | B8090098 | Accu B8090098: 40 µl | 0.16431 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20693 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.22183 | 0.050541 | 0.21404 | 0.067609 | 0.050118
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.16912 | Accu | B8090098 | Accu B8090098: 25 µl | 0.10052 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16912 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.22183 | 0.050541 | 0.21404 | 0.067609 | 0.050118
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.33117 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.072471 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33117 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.24567 | 0.12091 | 0.24567 | 0.171 | 0.12676
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.16017 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.1436 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16017 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.24567 | 0.12091 | 0.24567 | 0.171 | 0.12676
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-02-16 | 2005-03-04 | 2008-09-30 | ug/L | 0.51771 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.026 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51771 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-04-09 | 2005-03-04 | 2008-09-30 | ug/L | 0.17403 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17403 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-05-29 | 2005-03-04 | 2008-09-30 | ug/L | 0.18922 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18922 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-08-15 | 2005-03-04 | 2008-09-30 | ug/L | 0.25599 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25599 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-10-30 | 2005-03-04 | 2008-09-30 | ug/L | 0.16254 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.16254 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2007-12-14 | 2005-03-04 | 2008-09-30 | ug/L | 0.33467 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33467 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.27236 | 0.13637 | 0.22261 | 0.16064 | 0.11908
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.59318 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59318 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.65755 | 0.091034 | 0.65755 | 0.12874 | 0.095434
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.72192 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72192 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.65755 | 0.091034 | 0.65755 | 0.12874 | 0.095434
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72198 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72198 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.69491 | 0.038279 | 0.69491 | 0.054135 | 0.04013
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.66784 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.027 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66785 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.69491 | 0.038279 | 0.69491 | 0.054135 | 0.04013
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.81426 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81426 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.81426 |  | 0.81426 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-06-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.3024 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.3024 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.26375 | 0.076324 | 0.3024 | 0.13719 | 0.10169
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-08-27 | 2005-03-04 | 2008-09-30 | ug/L | 0.17583 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17583 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.26375 | 0.076324 | 0.3024 | 0.13719 | 0.10169
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.31301 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31301 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.26375 | 0.076324 | 0.3024 | 0.13719 | 0.10169
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-09 | 2010-10-01 | 2011-09-30 | ug/L | 0.96628 | Restek | A075606 | Restek A075606: 40 µl | 0.057954 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96628 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.76252 | 0.28816 | 0.76252 | 0.40752 | 0.30209
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.55876 | Restek | A075606 | Restek A075606: 80 µl | 0.11991 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55876 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.76252 | 0.28816 | 0.76252 | 0.40752 | 0.30209
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-03-04 | 2005-03-04 | 2008-09-30 | ug/L | 0.10824 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.12934 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10824 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24279 | 0.09489 | 0.27128 | 0.1226 | 0.090879
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-04-15 | 2005-03-04 | 2008-09-30 | ug/L | 0.18565 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.13466 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18565 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24279 | 0.09489 | 0.27128 | 0.1226 | 0.090879
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-05-14 | 2005-03-04 | 2008-09-30 | ug/L | 0.34053 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.12921 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34053 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24279 | 0.09489 | 0.27128 | 0.1226 | 0.090879
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-08-12 | 2005-03-04 | 2008-09-30 | ug/L | 0.27128 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.12902 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.0562 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27128 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24279 | 0.09489 | 0.27128 | 0.1226 | 0.090879
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2008-10-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.30825 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.12652 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30825 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24279 | 0.09489 | 0.27128 | 0.1226 | 0.090879