## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYANAZINE | 2033 | 04041GCM35 | 2007-03-19 | 2005-03-04 | 2007-09-30 | ug/L | 0.90969 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.19237 | CYANAZINE | . | 0.018 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90969 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0739 | 0.16051 | 1.0788 | 0.2743 | 0.20334
CYANAZINE | 2033 | 04041GCM35 | 2007-05-14 | 2005-03-04 | 2007-09-30 | ug/L | 1.1939 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.03853 | CYANAZINE | . | 0.018 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1939 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0739 | 0.16051 | 1.0788 | 0.2743 | 0.20334
CYANAZINE | 2033 | 04041GCM35 | 2007-08-01 | 2005-03-04 | 2007-09-30 | ug/L | 0.96377 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.19299 | CYANAZINE | . | 0.018 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96377 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0739 | 0.16051 | 1.0788 | 0.2743 | 0.20334
CYANAZINE | 2033 | 04041GCM35 | 2007-11-29 | 2007-10-01 | 2008-09-30 | ug/L | 1.2282 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.039082 | CYANAZINE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2282 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0739 | 0.16051 | 1.0788 | 0.2743 | 0.20334
CYANAZINE | 2033 | 04041GCM35 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 0.55754 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | CYANAZINE | . | 0.018 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55754 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 0.93707 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYANAZINE | . | 0.018 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93707 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 1.0542 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | CYANAZINE | . | 0.018 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 0.8084 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | CYANAZINE | . | 0.018 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8084 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.87367 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | CYANAZINE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87367 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.93707 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYANAZINE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93707 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86133 | 0.16967 | 0.90537 | 0.12867 | 0.095379
CYANAZINE | 2033 | 04041GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.065 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | CYANAZINE | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1522 | 0.12323 | 1.1522 | 0.17427 | 0.12918
CYANAZINE | 2033 | 04041GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2393 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | CYANAZINE | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2393 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1522 | 0.12323 | 1.1522 | 0.17427 | 0.12918
CYANAZINE | 2033 | 04041GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.357 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | CYANAZINE | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.357 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1051 | 0.21424 | 1.115 | 0.26789 | 0.19858
CYANAZINE | 2033 | 04041GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.121 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | CYANAZINE | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.121 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1051 | 0.21424 | 1.115 | 0.26789 | 0.19858
CYANAZINE | 2033 | 04041GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.1091 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | CYANAZINE | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1091 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1051 | 0.21424 | 1.115 | 0.26789 | 0.19858
CYANAZINE | 2033 | 04041GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.83311 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CYANAZINE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83311 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1051 | 0.21424 | 1.115 | 0.26789 | 0.19858
CYANAZINE | 2033 | 04041GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80707 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CYANAZINE | . | 0.022 | 0.0313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80707 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3268 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CYANAZINE | . | 0.022 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3268 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1155 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CYANAZINE | . | 0.022 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CYANAZINE | . | 0.022 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1717 |  | 1.1717 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.87331 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | CYANAZINE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87331 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97583 | 0.14004 | 0.92665 | 0.19131 | 0.14181
CYANAZINE | 2033 | 04041GCM35 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.88704 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | CYANAZINE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88704 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97583 | 0.14004 | 0.92665 | 0.19131 | 0.14181
CYANAZINE | 2033 | 04041GCM35 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 1.1767 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | CYANAZINE | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1767 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97583 | 0.14004 | 0.92665 | 0.19131 | 0.14181
CYANAZINE | 2033 | 04041GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.96626 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | CYANAZINE | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96626 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97583 | 0.14004 | 0.92665 | 0.19131 | 0.14181
CYANAZINE | 2033 | 04041GCM35 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.55438 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.1876 | CYANAZINE | . | 0.02 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55438 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53066 | 0.10227 | 0.50558 | 0.054453 | 0.040366
CYANAZINE | 2033 | 04041GCM35 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.49993 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.18603 | CYANAZINE | . | 0.02 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49993 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53066 | 0.10227 | 0.50558 | 0.054453 | 0.040366
CYANAZINE | 2033 | 04041GCM35 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.40673 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.1844 | CYANAZINE | . | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40673 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53066 | 0.10227 | 0.50558 | 0.054453 | 0.040366
CYANAZINE | 2033 | 04041GCM35 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.68668 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.18349 | CYANAZINE | . | 0.02 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68668 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53066 | 0.10227 | 0.50558 | 0.054453 | 0.040366
CYANAZINE | 2033 | 04041GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.50558 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.18197 | CYANAZINE | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50558 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53066 | 0.10227 | 0.50558 | 0.054453 | 0.040366
CYANAZINE | 2033 | 04041GCM35 | 2007-02-12 | 2005-03-04 | 2007-09-30 | ug/L | 1.1212 | Restek | A046582 | Restek A046582: 50 µl | 0.19175 | CYANAZINE | . | 0.018 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1212 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99536 | 0.071145 | 0.97161 | 0.01818 | 0.013477
CYANAZINE | 2033 | 04041GCM35 | 2007-03-02 | 2005-03-04 | 2007-09-30 | ug/L | 0.95795 | Restek | A046582 | Restek A046582: 50 µl | 0.19208 | CYANAZINE | . | 0.018 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95795 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99536 | 0.071145 | 0.97161 | 0.01818 | 0.013477
CYANAZINE | 2033 | 04041GCM35 | 2007-07-23 | 2005-03-04 | 2007-09-30 | ug/L | 0.97613 | Restek | A046582 | Restek A046582: 10 µl | 0.037905 | CYANAZINE | . | 0.018 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97613 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99536 | 0.071145 | 0.97161 | 0.01818 | 0.013477
CYANAZINE | 2033 | 04041GCM35 | 2007-09-19 | 2005-03-04 | 2007-09-30 | ug/L | 0.97161 | Restek | A046582 | Restek A046582: 50 µl | 0.19041 | CYANAZINE | . | 0.018 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97161 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99536 | 0.071145 | 0.97161 | 0.01818 | 0.013477
CYANAZINE | 2033 | 04041GCM35 | 2007-10-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.94989 | Restek | A046582 | Restek A046582: 10 µl | 0.038952 | CYANAZINE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94989 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99536 | 0.071145 | 0.97161 | 0.01818 | 0.013477
CYANAZINE | 2033 | 04041GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.64379 | Restek | A063025 | Restek A063025: 40 µl | 0.21125 | CYANAZINE | . | 0.04 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64379 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94866 | 0.19031 | 0.98014 | 0.17682 | 0.13107
CYANAZINE | 2033 | 04041GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.9098 | Restek | A063025 | Restek A063025: 25 µl | 0.14069 | CYANAZINE | . | 0.04 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9098 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94866 | 0.19031 | 0.98014 | 0.17682 | 0.13107
CYANAZINE | 2033 | 04041GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.98014 | Restek | A063025 | Restek A063025: 25 µl | 0.13468 | CYANAZINE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98014 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94866 | 0.19031 | 0.98014 | 0.17682 | 0.13107
CYANAZINE | 2033 | 04041GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.123 | Restek | A063025 | Restek A063025: 40 µl | 0.21995 | CYANAZINE | . | 0.04 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.123 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94866 | 0.19031 | 0.98014 | 0.17682 | 0.13107
CYANAZINE | 2033 | 04041GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0866 | Restek | A063025 | Restek A063025: 25 µl | 0.1362 | CYANAZINE | . | 0.022 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0866 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94866 | 0.19031 | 0.98014 | 0.17682 | 0.13107
CYANAZINE | 2033 | 04041GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0003 | Restek | A075606 | Restek A075606: 40 µl | 0.071179 | CYANAZINE | . | 0.022 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0003 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.8838 | 0.16475 | 0.8838 | 0.233 | 0.17272
CYANAZINE | 2033 | 04041GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.7673 | Restek | A075606 | Restek A075606: 80 µl | 0.14727 | CYANAZINE | . | 0.022 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7673 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.8838 | 0.16475 | 0.8838 | 0.233 | 0.17272
CYANAZINE | 2033 | 04041GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.88751 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.056225 | CYANAZINE | . | 0.022 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88751 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.85564 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.28283 | CYANAZINE | . | 0.022 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85564 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.89057 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.057154 | CYANAZINE | . | 0.022 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89057 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93844 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.11508 | CYANAZINE | . | 0.022 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93844 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.73244 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18568 | CYANAZINE | . | 0.02 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73244 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.70466 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18591 | CYANAZINE | . | 0.02 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70466 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.98646 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18653 | CYANAZINE | . | 0.02 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98646 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.84167 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18535 | CYANAZINE | . | 0.02 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 0.78287 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18521 | CYANAZINE | . | 0.02 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78287 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.68387 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18717 | CYANAZINE | . | 0.02 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68387 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78866 | 0.1124 | 0.75766 | 0.13701 | 0.10157
CYANAZINE | 2033 | 04041GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.78825 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13448 | CYANAZINE | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78825 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.84411 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.21561 | CYANAZINE | . | 0.04 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84411 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.0564 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.14577 | CYANAZINE | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0564 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.792 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13393 | CYANAZINE | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.792 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.93969 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13515 | CYANAZINE | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93969 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1359 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13469 | CYANAZINE | . | 0.022 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1359 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0927 | 0.3661 | 0.99807 | 0.29183 | 0.21633
CYANAZINE | 2033 | 04041GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.97064 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11024 | CYANAZINE | . | 0.022 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97064 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.4908 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.056882 | CYANAZINE | . | 0.022 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4908 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1616 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.1145 | CYANAZINE | . | 0.022 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.78308 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.056571 | CYANAZINE | . | 0.022 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78308 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331