## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-03-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.31331 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.054259 | CYHALOTHRIN | E | 0.014 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31331 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.50291 | 0.21477 | 0.45927 | 0.42284 | 0.31344
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-05-14 | 2006-04-01 | 2007-09-30 | ug/L | 0.73615 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.010867 | CYHALOTHRIN | E | 0.014 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73615 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.50291 | 0.21477 | 0.45927 | 0.42284 | 0.31344
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-08-01 | 2006-04-01 | 2007-09-30 | ug/L | 0.45927 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.054434 | CYHALOTHRIN | E | 0.014 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45927 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.50291 | 0.21477 | 0.45927 | 0.42284 | 0.31344
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-12-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.53251 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.088261 | CYHALOTHRIN | E | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53251 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.48151 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.1433 | CYHALOTHRIN | E | 0.01 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48151 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.55074 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.14707 | CYHALOTHRIN | E | 0.01 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55074 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-01-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.66795 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.091324 | CYHALOTHRIN | E | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66795 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.47663 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.090217 | CYHALOTHRIN | E | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47663 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.6072 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.14493 | CYHALOTHRIN | E | 0.01 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6072 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.55276 | 0.074186 | 0.54163 | 0.12569 | 0.093169
CYHALOTHRIN | 2033 | 61595GCM39 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.29529 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.039622 | CYHALOTHRIN | E | 0.01 | 0.0117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29529 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.29529 |  | 0.29529 | 0 | 0
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.13462 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.076513 | CYHALOTHRIN | E | 0.01 | 0.0103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13462 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.13995 | 0.072534 | 0.13609 | 0.090132 | 0.066814
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.13757 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.036346 | CYHALOTHRIN | E | 0.01 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13757 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.13995 | 0.072534 | 0.13609 | 0.090132 | 0.066814
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.23245 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.037857 | CYHALOTHRIN | E | 0.01 | 0.0088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23245 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.13995 | 0.072534 | 0.13609 | 0.090132 | 0.066814
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.055142 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.18679 | CYHALOTHRIN | E | 0.01 | 0.0103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.055142 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.13995 | 0.072534 | 0.13609 | 0.090132 | 0.066814
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.4978 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | CYHALOTHRIN | E | 0.014 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4978 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.45515 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYHALOTHRIN | E | 0.014 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45515 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 0.70283 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | CYHALOTHRIN | E | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70283 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.51199 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | CYHALOTHRIN | E | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51199 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.447 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | CYHALOTHRIN | E | 0.004 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.447 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.6024 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYHALOTHRIN | E | 0.004 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6024 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.53619 | 0.098728 | 0.50489 | 0.14725 | 0.10916
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.52577 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | CYHALOTHRIN | E | 0.01 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52577 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58173 | 0.079142 | 0.58173 | 0.11192 | 0.082968
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.6377 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | CYHALOTHRIN | E | 0.01 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6377 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58173 | 0.079142 | 0.58173 | 0.11192 | 0.082968
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.53216 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | CYHALOTHRIN | E | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53216 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45566 | 0.11738 | 0.48656 | 0.17473 | 0.12953
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.5539 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | CYHALOTHRIN | E | 0.01 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5539 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45566 | 0.11738 | 0.48656 | 0.17473 | 0.12953
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.44097 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | CYHALOTHRIN | E | 0.01 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44097 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45566 | 0.11738 | 0.48656 | 0.17473 | 0.12953
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.29562 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CYHALOTHRIN | E | 0.01 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29562 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45566 | 0.11738 | 0.48656 | 0.17473 | 0.12953
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.48734 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CYHALOTHRIN | E | 0.01 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48734 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63001 | 0.1423 | 0.63074 | 0.2846 | 0.21097
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.77194 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CYHALOTHRIN | E | 0.01 | 0.0313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77194 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63001 | 0.1423 | 0.63074 | 0.2846 | 0.21097
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.63074 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CYHALOTHRIN | E | 0.01 | 0.0255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63074 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63001 | 0.1423 | 0.63074 | 0.2846 | 0.21097
CYHALOTHRIN | 2033 | 61595GCM39 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.68716 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CYHALOTHRIN | E | 0.01 | 0.0692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68716 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.68716 |  | 0.68716 | 0 | 0
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.4962 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | CYHALOTHRIN | E | 0.004 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4962 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47912 | 0.07844 | 0.46585 | 0.11955 | 0.088618
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.4032 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | CYHALOTHRIN | E | 0.004 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4032 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47912 | 0.07844 | 0.46585 | 0.11955 | 0.088618
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.58159 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | CYHALOTHRIN | E | 0.004 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58159 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47912 | 0.07844 | 0.46585 | 0.11955 | 0.088618
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.4355 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | CYHALOTHRIN | E | 0.01 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4355 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47912 | 0.07844 | 0.46585 | 0.11955 | 0.088618
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-01-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.49764 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.14267 | CYHALOTHRIN | E | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49764 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.47009 | 0.10818 | 0.4525 | 0.09297 | 0.068918
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.4525 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.095027 | CYHALOTHRIN | E | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4525 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.47009 | 0.10818 | 0.4525 | 0.09297 | 0.068918
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.6391 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.089188 | CYHALOTHRIN | E | 0.01 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6391 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.47009 | 0.10818 | 0.4525 | 0.09297 | 0.068918
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.35652 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.14585 | CYHALOTHRIN | E | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35653 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.47009 | 0.10818 | 0.4525 | 0.09297 | 0.068918
CYHALOTHRIN | 2033 | 61595GCM39 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.40467 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.14333 | CYHALOTHRIN | E | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40467 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.47009 | 0.10818 | 0.4525 | 0.09297 | 0.068918
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.3475 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15252 | CYHALOTHRIN | E | 0.004 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3475 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.29858 | 0.093883 | 0.31351 | 0.036574 | 0.027112
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.13885 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15124 | CYHALOTHRIN | E | 0.004 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13885 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.29858 | 0.093883 | 0.31351 | 0.036574 | 0.027112
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.31351 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.14992 | CYHALOTHRIN | E | 0.004 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31351 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.29858 | 0.093883 | 0.31351 | 0.036574 | 0.027112
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.38209 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.14918 | CYHALOTHRIN | E | 0.004 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38209 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.29858 | 0.093883 | 0.31351 | 0.036574 | 0.027112
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.31093 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.14794 | CYHALOTHRIN | E | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31093 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.29858 | 0.093883 | 0.31351 | 0.036574 | 0.027112
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-02-12 | 2006-04-01 | 2007-09-30 | ug/L | 0.615 | Restek | A046582 | Restek A046582: 50 µl | 0.055284 | CYHALOTHRIN | E | 0.014 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.615 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.69462 | 0.10842 | 0.63202 | 0.1864 | 0.13818
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-03-02 | 2006-04-01 | 2007-09-30 | ug/L | 0.63202 | Restek | A046582 | Restek A046582: 50 µl | 0.055378 | CYHALOTHRIN | E | 0.014 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63202 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.69462 | 0.10842 | 0.63202 | 0.1864 | 0.13818
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-07-23 | 2006-04-01 | 2007-09-30 | ug/L | 0.82354 | Restek | A046582 | Restek A046582: 10 µl | 0.010928 | CYHALOTHRIN | E | 0.014 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82354 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.69462 | 0.10842 | 0.63202 | 0.1864 | 0.13818
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-09-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.60114 | Restek | A046582 | Restek A046582: 50 µl | 0.054896 | CYHALOTHRIN | E | 0.014 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60114 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.69462 | 0.10842 | 0.63202 | 0.1864 | 0.13818
CYHALOTHRIN | 2033 | 61595GCM39 | 2007-10-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.80141 | Restek | A046582 | Restek A046582: 10 µl | 0.01123 | CYHALOTHRIN | E | 0.004 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8014 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.69462 | 0.10842 | 0.63202 | 0.1864 | 0.13818
CYHALOTHRIN | 2033 | 61595GCM39 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 0.56038 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | CYHALOTHRIN | E | 0.01 | 0.0222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56038 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58834 | 0.039532 | 0.58834 | 0.055907 | 0.041443
CYHALOTHRIN | 2033 | 61595GCM39 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.61629 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | CYHALOTHRIN | E | 0.01 | 0.0123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61629 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58834 | 0.039532 | 0.58834 | 0.055907 | 0.041443
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.27733 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15144 | CYHALOTHRIN | E | 0.004 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27733 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.38251 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15163 | CYHALOTHRIN | E | 0.004 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38251 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.22349 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15213 | CYHALOTHRIN | E | 0.004 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22349 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.20507 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15117 | CYHALOTHRIN | E | 0.004 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20507 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 0.32436 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15106 | CYHALOTHRIN | E | 0.004 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32436 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.27512 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15266 | CYHALOTHRIN | E | 0.004 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27512 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.28131 | 0.065279 | 0.27623 | 0.10088 | 0.07478
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.38689 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03722 | CYHALOTHRIN | E | 0.01 | 0.0144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38688 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38649 | 0.21365 | 0.37494 | 0.27283 | 0.20225
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.65893 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03703 | CYHALOTHRIN | E | 0.01 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65893 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38649 | 0.21365 | 0.37494 | 0.27283 | 0.20225
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.13715 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.072911 | CYHALOTHRIN | E | 0.01 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13715 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38649 | 0.21365 | 0.37494 | 0.27283 | 0.20225
CYHALOTHRIN | 2033 | 61595GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.36299 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.074382 | CYHALOTHRIN | E | 0.01 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36299 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38649 | 0.21365 | 0.37494 | 0.27283 | 0.20225