## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-02-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.61362 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.092892 | CYPERMETHRIN | E | 0.014 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61362 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.41978 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.095287 | CYPERMETHRIN | E | 0.014 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41978 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-04-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.54582 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.091606 | CYPERMETHRIN | E | 0.014 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54582 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-07-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.39205 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.091826 | CYPERMETHRIN | E | 0.014 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39205 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-09-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.36096 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.091424 | CYPERMETHRIN | E | 0.014 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36096 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-11-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.55291 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.09224 | CYPERMETHRIN | E | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55291 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.48085 | 0.10298 | 0.4828 | 0.16086 | 0.11924
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-02-21 | 2006-04-01 | 2007-09-30 | ug/L | 0.58645 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.15347 | CYPERMETHRIN | E | 0.046 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58645 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71182 | 0.13748 | 0.67775 | 0.18404 | 0.13642
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-05-21 | 2006-04-01 | 2007-09-30 | ug/L | 0.65316 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.03062 | CYPERMETHRIN | E | 0.046 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65316 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.71182 | 0.13748 | 0.67775 | 0.18404 | 0.13642
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-08-08 | 2006-04-01 | 2007-09-30 | ug/L | 0.70233 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.15235 | CYPERMETHRIN | E | 0.046 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70233 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71182 | 0.13748 | 0.67775 | 0.18404 | 0.13642
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-10-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.90535 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.030927 | CYPERMETHRIN | E | 0.014 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90535 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71182 | 0.13748 | 0.67775 | 0.18404 | 0.13642
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-04-05 | 2006-04-01 | 2007-09-30 | ug/L | 0.58759 | Accu | B6070194 | Accu B6070194: 10 µl | 0.030634 | CYPERMETHRIN | E | 0.046 | 0.018 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.58759 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.76037 | 0.11859 | 0.80796 | 0.15508 | 0.11496
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-07-30 | 2006-04-01 | 2007-09-30 | ug/L | 0.83783 | Accu | B6070194 | Accu B6070194: 50 µl | 0.15277 | CYPERMETHRIN | E | 0.046 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83783 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76037 | 0.11859 | 0.80796 | 0.15508 | 0.11496
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-10-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.83798 | Accu | B6070194 | Accu B6070194: 10 µl | 0.031027 | CYPERMETHRIN | E | 0.014 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83798 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76037 | 0.11859 | 0.80796 | 0.15508 | 0.11496
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-12-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.77808 | Accu | B6070194 | Accu B6070194: 50 µl | 0.15294 | CYPERMETHRIN | E | 0.014 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77808 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76037 | 0.11859 | 0.80796 | 0.15508 | 0.11496
CYPERMETHRIN | 2033 | 61586GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.78882 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.061104 | CYPERMETHRIN | E | 0.02 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78882 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.78882 |  | 0.78882 | 0 | 0
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.67701 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | CYPERMETHRIN | E | 0.046 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67701 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.6024 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYPERMETHRIN | E | 0.046 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6024 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 0.94612 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | CYPERMETHRIN | E | 0.046 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94612 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.92966 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | CYPERMETHRIN | E | 0.046 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92966 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.67049 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | CYPERMETHRIN | E | 0.014 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67049 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.74965 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CYPERMETHRIN | E | 0.014 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74965 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76256 | 0.14369 | 0.71333 | 0.25917 | 0.19212
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.66059 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | CYPERMETHRIN | E | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66059 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72735 | 0.094417 | 0.72735 | 0.13353 | 0.098982
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.79411 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | CYPERMETHRIN | E | 0.02 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79411 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72735 | 0.094417 | 0.72735 | 0.13353 | 0.098982
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.70511 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | CYPERMETHRIN | E | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70511 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70897 | 0.094466 | 0.73339 | 0.13502 | 0.10009
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.79128 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | CYPERMETHRIN | E | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79128 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70897 | 0.094466 | 0.73339 | 0.13502 | 0.10009
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.76167 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | CYPERMETHRIN | E | 0.02 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76167 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70897 | 0.094466 | 0.73339 | 0.13502 | 0.10009
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.57781 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CYPERMETHRIN | E | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57781 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70897 | 0.094466 | 0.73339 | 0.13502 | 0.10009
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.56985 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CYPERMETHRIN | E | 0.02 | 0.0221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56985 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.74475 | 0.17885 | 0.7371 | 0.35746 | 0.26498
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.92731 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CYPERMETHRIN | E | 0.02 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92731 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.74475 | 0.17885 | 0.7371 | 0.35746 | 0.26498
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.7371 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CYPERMETHRIN | E | 0.02 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7371 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.74475 | 0.17885 | 0.7371 | 0.35746 | 0.26498
CYPERMETHRIN | 2033 | 61586GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.75468 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CYPERMETHRIN | E | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75468 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.75468 |  | 0.75468 | 0 | 0
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.71453 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | CYPERMETHRIN | E | 0.014 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71453 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.60488 | 0.16292 | 0.62945 | 0.26219 | 0.19436
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.4032 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | CYPERMETHRIN | E | 0.014 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4032 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.60488 | 0.16292 | 0.62945 | 0.26219 | 0.19436
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.75742 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | CYPERMETHRIN | E | 0.014 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75742 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.60488 | 0.16292 | 0.62945 | 0.26219 | 0.19436
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.54437 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | CYPERMETHRIN | E | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54437 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.60488 | 0.16292 | 0.62945 | 0.26219 | 0.19436
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.55537 | Restek | A063025 | Restek A063025: 40 µl | 0.12604 | CYPERMETHRIN | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55537 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.59733 | 0.08454 | 0.55537 | 0.10186 | 0.075505
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.64329 | Restek | A063025 | Restek A063025: 25 µl | 0.083944 | CYPERMETHRIN | E | 0.02 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64329 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.59733 | 0.08454 | 0.55537 | 0.10186 | 0.075505
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.52268 | Restek | A063025 | Restek A063025: 25 µl | 0.080354 | CYPERMETHRIN | E | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52268 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.59733 | 0.08454 | 0.55537 | 0.10186 | 0.075505
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.72389 | Restek | A063025 | Restek A063025: 40 µl | 0.13123 | CYPERMETHRIN | E | 0.02 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72389 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.59733 | 0.08454 | 0.55537 | 0.10186 | 0.075505
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.54143 | Restek | A063025 | Restek A063025: 25 µl | 0.081266 | CYPERMETHRIN | E | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54143 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.59733 | 0.08454 | 0.55537 | 0.10186 | 0.075505
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.78933 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.040161 | CYPERMETHRIN | E | 0.02 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78933 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62514 | 0.11412 | 0.58737 | 0.15286 | 0.11331
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.6138 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.20202 | CYPERMETHRIN | E | 0.02 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6138 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62514 | 0.11412 | 0.58737 | 0.15286 | 0.11331
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.56094 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.040825 | CYPERMETHRIN | E | 0.02 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56093 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62514 | 0.11412 | 0.58737 | 0.15286 | 0.11331
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.53648 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.082203 | CYPERMETHRIN | E | 0.02 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53648 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62514 | 0.11412 | 0.58737 | 0.15286 | 0.11331
CYPERMETHRIN | 2033 | 61586GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.76359 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.063385 | CYPERMETHRIN | E | 0.02 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76359 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.75915 | 0.0062775 | 0.75915 | 0.0088777 | 0.0065809
CYPERMETHRIN | 2033 | 61586GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.75471 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.031933 | CYPERMETHRIN | E | 0.02 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75471 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.75915 | 0.0062775 | 0.75915 | 0.0088777 | 0.0065809
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.68579 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.0802 | CYPERMETHRIN | E | 0.02 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68579 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.53659 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.12859 | CYPERMETHRIN | E | 0.02 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53659 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.67865 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.086938 | CYPERMETHRIN | E | 0.02 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67865 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2896 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.079872 | CYPERMETHRIN | E | 0.02 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2896 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.50867 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.080603 | CYPERMETHRIN | E | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50867 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.68469 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.080328 | CYPERMETHRIN | E | 0.02 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68469 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.73066 | 0.28501 | 0.68167 | 0.1492 | 0.1106
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-03-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.53605 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.089543 | CYPERMETHRIN | E | 0.014 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53605 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.52878 | 0.066147 | 0.53605 | 0.056711 | 0.042039
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.62215 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.093226 | CYPERMETHRIN | E | 0.014 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62215 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.52878 | 0.066147 | 0.53605 | 0.056711 | 0.042039
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-05-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.49187 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.089454 | CYPERMETHRIN | E | 0.014 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49187 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.52878 | 0.066147 | 0.53605 | 0.056711 | 0.042039
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-08-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.54858 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.089321 | CYPERMETHRIN | E | 0.014 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54858 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.52878 | 0.066147 | 0.53605 | 0.056711 | 0.042039
CYPERMETHRIN | 2033 | 61586GCM39 | 2008-10-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.44525 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.087591 | CYPERMETHRIN | E | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44525 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.52878 | 0.066147 | 0.53605 | 0.056711 | 0.042039
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.42418 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.07874 | CYPERMETHRIN | E | 0.02 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42418 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47461 | 0.066946 | 0.47175 | 0.11423 | 0.084677
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.51932 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.04063 | CYPERMETHRIN | E | 0.02 | 0.0211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51932 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47461 | 0.066946 | 0.47175 | 0.11423 | 0.084677
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.54412 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.081783 | CYPERMETHRIN | E | 0.02 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54412 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47461 | 0.066946 | 0.47175 | 0.11423 | 0.084677
CYPERMETHRIN | 2033 | 61586GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.41081 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.040408 | CYPERMETHRIN | E | 0.02 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41081 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47461 | 0.066946 | 0.47175 | 0.11423 | 0.084677