## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-03-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.44814 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.093721 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44814 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61778 | 0.20297 | 0.61798 | 0.35136 | 0.26046
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-05-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.79911 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.018771 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79911 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61778 | 0.20297 | 0.61798 | 0.35136 | 0.26046
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-08-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.43607 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.094022 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43607 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61778 | 0.20297 | 0.61798 | 0.35136 | 0.26046
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-11-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.78782 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.01904 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78782 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61778 | 0.20297 | 0.61798 | 0.35136 | 0.26046
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.99845 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.051079 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99845 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.99845 |  | 0.99845 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.84953 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.076513 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84953 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.56678 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.036346 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56678 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2415 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.037857 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2415 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.92081 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.18679 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92081 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-02-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.25886 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25886 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.36144 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36144 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-05-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.47306 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47306 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-08-15 | 2006-10-01 | 2009-09-30 | ug/L | 0.30989 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30989 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-10-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.40636 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40636 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-12-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.44176 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44176 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.37523 | 0.081202 | 0.3839 | 0.13187 | 0.097756
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-03-04 | 2006-10-01 | 2009-09-30 | ug/L | 0.75495 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75496 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.88282 | 0.18083 | 0.88282 | 0.25573 | 0.18957
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-03-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.0107 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.88282 | 0.18083 | 0.88282 | 0.25573 | 0.18957
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-04-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.95789 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95789 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74531 | 0.17926 | 0.73621 | 0.28492 | 0.21121
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-05-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.81766 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81766 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74531 | 0.17926 | 0.73621 | 0.28492 | 0.21121
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-07-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.65477 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65477 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74531 | 0.17926 | 0.73621 | 0.28492 | 0.21121
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-09-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74531 | 0.17926 | 0.73621 | 0.28492 | 0.21121
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.88185 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88185 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0284 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0284 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.3357 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3357 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.87285 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87285 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.87285 |  | 0.87285 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-04-15 | 2006-10-01 | 2009-09-30 | ug/L | 0.69468 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69468 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63171 | 0.098382 | 0.63966 | 0.16163 | 0.11981
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.58464 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58464 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63171 | 0.098382 | 0.63966 | 0.16163 | 0.11981
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.73037 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73037 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63171 | 0.098382 | 0.63966 | 0.16163 | 0.11981
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-10-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.51715 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51715 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63171 | 0.098382 | 0.63966 | 0.16163 | 0.11981
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-04-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.6039 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.057956 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6039 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.45859 | 0.091941 | 0.4176 | 0.1026 | 0.076057
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-04-18 | 2006-10-01 | 2009-09-30 | ug/L | 0.4176 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.057471 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4176 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.45859 | 0.091941 | 0.4176 | 0.1026 | 0.076057
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-05-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.38618 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.056969 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38618 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.45859 | 0.091941 | 0.4176 | 0.1026 | 0.076057
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-08-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.49393 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.056688 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49393 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.45859 | 0.091941 | 0.4176 | 0.1026 | 0.076057
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-10-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.39133 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.056219 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39133 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.45859 | 0.091941 | 0.4176 | 0.1026 | 0.076057
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-02-12 | 2006-10-01 | 2009-09-30 | ug/L | 0.57671 | Restek | A046582 | Restek A046582: 50 µl | 0.093635 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57671 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54263 | 0.091196 | 0.57671 | 0.077221 | 0.057243
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-03-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.5011 | Restek | A046582 | Restek A046582: 50 µl | 0.093794 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5011 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54263 | 0.091196 | 0.57671 | 0.077221 | 0.057243
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-07-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.64832 | Restek | A046582 | Restek A046582: 10 µl | 0.018509 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64832 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54263 | 0.091196 | 0.57671 | 0.077221 | 0.057243
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-09-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.4087 | Restek | A046582 | Restek A046582: 50 µl | 0.092977 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4087 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54263 | 0.091196 | 0.57671 | 0.077221 | 0.057243
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2007-10-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.57832 | Restek | A046582 | Restek A046582: 10 µl | 0.019021 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57832 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54263 | 0.091196 | 0.57671 | 0.077221 | 0.057243
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-02-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.45276 | Restek | A063025 | Restek A063025: 40 µl | 0.088348 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45276 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.86841 | 0.30027 | 0.88377 | 0.11393 | 0.084454
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-02-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.88377 | Restek | A063025 | Restek A063025: 25 µl | 0.058839 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88377 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.86841 | 0.30027 | 0.88377 | 0.11393 | 0.084454
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.79896 | Restek | A063025 | Restek A063025: 25 µl | 0.056323 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79896 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.86841 | 0.30027 | 0.88377 | 0.11393 | 0.084454
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-08-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.2937 | Restek | A063025 | Restek A063025: 40 µl | 0.091987 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2937 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.86841 | 0.30027 | 0.88377 | 0.11393 | 0.084454
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91289 | Restek | A063025 | Restek A063025: 25 µl | 0.056962 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91289 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.86841 | 0.30027 | 0.88377 | 0.11393 | 0.084454
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 1.1696 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.047539 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1696 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.3426 | 0.24474 | 1.3426 | 0.34611 | 0.25657
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.5157 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02395 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5157 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.3426 | 0.24474 | 1.3426 | 0.34611 | 0.25657
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-01-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.41815 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057396 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41815 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-01-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.41764 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057465 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41764 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-01-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.46828 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057657 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46828 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.384 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057292 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.384 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-02-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.43667 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057252 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43667 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-02-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.55309 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.057856 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55309 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.44631 | 0.059121 | 0.42741 | 0.050642 | 0.037541
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2008-12-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.44425 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056275 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44425 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-01-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.52089 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.09023 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52089 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-03-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.75406 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.061003 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75406 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-07-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.3917 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056045 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3917 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-09-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.67188 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056558 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67188 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.74514 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056365 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74514 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75466 | 0.3358 | 0.70851 | 0.23317 | 0.17285
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.62276 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03629 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62276 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.99712 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.036104 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99712 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.89607 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.071088 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89607 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.434 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.072522 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.434 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815