## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-02-28 | 2006-04-01 | 2008-09-30 | ug/L | 0.27041 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.040679 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27041 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-04-09 | 2006-04-01 | 2008-09-30 | ug/L | 0.27222 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.040408 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27222 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-05-07 | 2006-04-01 | 2008-09-30 | ug/L | 0.14985 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.04004 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14985 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-07-08 | 2006-04-01 | 2008-09-30 | ug/L | 0.32477 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.040028 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32477 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-09-16 | 2006-04-01 | 2008-09-30 | ug/L | 0.17833 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.039254 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17832 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.20274 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.039459 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20274 | Crescent 07GG004 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.23305 | 0.066602 | 0.23657 | 0.093898 | 0.069605
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.97296 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.062695 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97296 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.97296 |  | 0.97296 | 0 | 0
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-02-16 | 2006-04-01 | 2008-09-30 | ug/L | 0.29868 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29868 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-04-09 | 2006-04-01 | 2008-09-30 | ug/L | 0.25435 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25435 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-05-29 | 2006-04-01 | 2008-09-30 | ug/L | 0.31087 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31087 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-08-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.29641 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29641 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-10-30 | 2006-04-01 | 2008-09-30 | ug/L | 0.30477 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30477 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-12-14 | 2006-04-01 | 2008-09-30 | ug/L | 0.64256 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64256 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35127 | 0.14409 | 0.30173 | 0.014455 | 0.010715
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.28311 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28311 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.30399 | 0.029526 | 0.30399 | 0.041756 | 0.030953
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.32486 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32486 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.30399 | 0.029526 | 0.30399 | 0.041756 | 0.030953
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.093128 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.093128 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21387 | 0.14998 | 0.20109 | 0.25548 | 0.18938
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.079128 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.079128 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21387 | 0.14998 | 0.20109 | 0.25548 | 0.18938
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.37415 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37415 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21387 | 0.14998 | 0.20109 | 0.25548 | 0.18938
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.30906 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30906 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21387 | 0.14998 | 0.20109 | 0.25548 | 0.18938
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.87669 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87669 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.62974 | 0.21692 | 0.54257 | 0.40673 | 0.3015
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.54258 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54257 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.62974 | 0.21692 | 0.54257 | 0.40673 | 0.3015
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.46997 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46997 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.62974 | 0.21692 | 0.54257 | 0.40673 | 0.3015
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93342 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93342 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.93342 |  | 0.93342 | 0 | 0
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-04-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.11909 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11909 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.2208 | 0.094171 | 0.23085 | 0.16021 | 0.11876
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-06-23 | 2006-04-01 | 2008-09-30 | ug/L | 0.3024 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3024 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.2208 | 0.094171 | 0.23085 | 0.16021 | 0.11876
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-08-27 | 2006-04-01 | 2008-09-30 | ug/L | 0.1623 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1623 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.2208 | 0.094171 | 0.23085 | 0.16021 | 0.11876
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.29941 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29941 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.2208 | 0.094171 | 0.23085 | 0.16021 | 0.11876
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-04-27 | 2006-04-01 | 2008-09-30 | ug/L | 0.13956 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.15764 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13956 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21112 | 0.10102 | 0.17587 | 0.14356 | 0.10642
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-07-06 | 2006-04-01 | 2008-09-30 | ug/L | 0.35362 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.031107 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35362 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21112 | 0.10102 | 0.17587 | 0.14356 | 0.10642
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-09-12 | 2006-04-01 | 2008-09-30 | ug/L | 0.21218 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.16024 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21218 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21112 | 0.10102 | 0.17587 | 0.14356 | 0.10642
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-11-19 | 2006-04-01 | 2008-09-30 | ug/L | 0.13911 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.15815 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13911 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21112 | 0.10102 | 0.17587 | 0.14356 | 0.10642
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-03-10 | 2006-04-01 | 2008-09-30 | ug/L | 0.12549 | Restek | A053526 | Restek A053526: 50 µl | 0.039843 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12549 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-04-28 | 2006-04-01 | 2008-09-30 | ug/L | 0.30419 | Restek | A053526 | Restek A053526: 50 µl | 0.039449 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30419 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-05-14 | 2006-04-01 | 2008-09-30 | ug/L | 0.50709 | Restek | A053526 | Restek A053526: 50 µl | 0.039441 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50709 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-06-23 | 2006-04-01 | 2008-09-30 | ug/L | 0.26751 | Restek | A053526 | Restek A053526: 50 µl | 0.04112 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26751 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-08-19 | 2006-04-01 | 2008-09-30 | ug/L | 0.15386 | Restek | A053526 | Restek A053526: 50 µl | 0.038997 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15386 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.40539 | Restek | A053526 | Restek A053526: 50 µl | 0.039468 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40539 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29392 | 0.14605 | 0.28585 | 0.25153 | 0.18646
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.18342 | Restek | A063025 | Restek A063025: 40 µl | 0.14175 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18342 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.17426 | 0.063428 | 0.15889 | 0.027583 | 0.020447
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.15889 | Restek | A063025 | Restek A063025: 25 µl | 0.094404 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15889 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.17426 | 0.063428 | 0.15889 | 0.027583 | 0.020447
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.099593 | Restek | A063025 | Restek A063025: 25 µl | 0.090368 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.099593 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.17426 | 0.063428 | 0.15889 | 0.027583 | 0.020447
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.15584 | Restek | A063025 | Restek A063025: 40 µl | 0.14759 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15584 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.17426 | 0.063428 | 0.15889 | 0.027583 | 0.020447
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.27355 | Restek | A063025 | Restek A063025: 25 µl | 0.091392 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27355 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.17426 | 0.063428 | 0.15889 | 0.027583 | 0.020447
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.28731 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.052209 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28731 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.34082 | 0.048825 | 0.33808 | 0.076171 | 0.056465
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.39981 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.26263 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39981 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.34082 | 0.048825 | 0.33808 | 0.076171 | 0.056465
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.358 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.053072 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.358 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.34082 | 0.048825 | 0.33808 | 0.076171 | 0.056465
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.31816 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.10686 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31816 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.34082 | 0.048825 | 0.33808 | 0.076171 | 0.056465
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.86771 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.063385 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86771 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.90359 | 0.050742 | 0.90359 | 0.07176 | 0.053195
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.93947 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.031933 | DICHLOROVOS_(DICHLORVOS) | E | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93947 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.90359 | 0.050742 | 0.90359 | 0.07176 | 0.053195
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.44346 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.0902 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44346 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.21435 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.14462 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21435 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.21477 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.097778 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21477 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.21151 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.089832 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21151 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.033093 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.090653 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.003 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.033093 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.19924 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.090344 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19924 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.2194 | 0.13071 | 0.21293 | 0.015535 | 0.011516
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-02-13 | 2006-04-01 | 2008-09-30 | ug/L | 0.12003 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.15829 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12003 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.11683 | 0.0045228 | 0.11683 | 0.0063963 | 0.0047415
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2007-03-08 | 2006-04-01 | 2008-09-30 | ug/L | 0.11364 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.1584 | DICHLOROVOS_(DICHLORVOS) | E | 0.013 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11364 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.11683 | 0.0045228 | 0.11683 | 0.0063963 | 0.0047415
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.039077 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10236 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.004 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.039077 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.060256 | 0.030061 | 0.047029 | 0.055587 | 0.041206
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.094663 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.052819 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.094663 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.060256 | 0.030061 | 0.047029 | 0.055587 | 0.041206
DICHLOROVOS (DICHLORVOS) | 2033 | 38775GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.047029 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10632 | DICHLOROVOS_(DICHLORVOS) | E | 0.02 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.047029 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.060256 | 0.030061 | 0.047029 | 0.055587 | 0.041206