## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.57446 | Abs | 080610 | Abs 080610: 40 µl | 0.02733 | DIMETHOATE | E | 0.006 | 0.0157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57446 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.59005 | 0.022043 | 0.59005 | 0.031173 | 0.023109
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.60564 | Abs | 080610 | Abs 080610: 80 µl | 0.053498 | DIMETHOATE | E | 0.006 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60564 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.59005 | 0.022043 | 0.59005 | 0.031173 | 0.023109
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.73065 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027236 | DIMETHOATE | E | 0.006 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73066 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58626 | 0.2042 | 0.58626 | 0.28879 | 0.21407
DIMETHOATE | 2033 | 82662GCM40 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.44187 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056125 | DIMETHOATE | E | 0.006 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44187 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58626 | 0.2042 | 0.58626 | 0.28879 | 0.21407
DIMETHOATE | 2033 | 82662GCM40 | 2008-01-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.33145 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096545 | DIMETHOATE | E | 0.006 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33145 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2008-01-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.2579 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096936 | DIMETHOATE | E | 0.006 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2579 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2008-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.28573 | Accu | B7070106 | Accu B7070106: 50 µl | 0.097996 | DIMETHOATE | E | 0.006 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28573 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2008-02-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.30098 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096351 | DIMETHOATE | E | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30098 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2008-02-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.26453 | Accu | B7070106 | Accu B7070106: 50 µl | 0.098287 | DIMETHOATE | E | 0.006 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26453 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2008-02-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.35132 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096779 | DIMETHOATE | E | 0.006 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35132 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29865 | 0.037004 | 0.29335 | 0.066921 | 0.049608
DIMETHOATE | 2033 | 82662GCM40 | 2007-02-13 | 2005-03-04 | 2007-09-30 | ug/L | 0.53659 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.016773 | DIMETHOATE | E | 0.0061 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53659 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.47877 | 0.15912 | 0.53659 | 0.30207 | 0.22392
DIMETHOATE | 2033 | 82662GCM40 | 2007-02-21 | 2005-03-04 | 2007-09-30 | ug/L | 0.29882 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.083663 | DIMETHOATE | E | 0.0061 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29882 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.47877 | 0.15912 | 0.53659 | 0.30207 | 0.22392
DIMETHOATE | 2033 | 82662GCM40 | 2007-03-05 | 2005-03-04 | 2007-09-30 | ug/L | 0.60089 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.016642 | DIMETHOATE | E | 0.0061 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60089 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.47877 | 0.15912 | 0.53659 | 0.30207 | 0.22392
DIMETHOATE | 2033 | 82662GCM40 | 2008-12-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.38827 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.17771 | DIMETHOATE | E | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38827 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.39771 | 0.070763 | 0.36529 | 0.02737 | 0.020289
DIMETHOATE | 2033 | 82662GCM40 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.3609 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.29648 | DIMETHOATE | E | 0.006 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3609 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.39771 | 0.070763 | 0.36529 | 0.02737 | 0.020289
DIMETHOATE | 2033 | 82662GCM40 | 2009-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.35208 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.28403 | DIMETHOATE | E | 0.006 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35208 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.39771 | 0.070763 | 0.36529 | 0.02737 | 0.020289
DIMETHOATE | 2033 | 82662GCM40 | 2009-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.36529 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.18068 | DIMETHOATE | E | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36529 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.39771 | 0.070763 | 0.36529 | 0.02737 | 0.020289
DIMETHOATE | 2033 | 82662GCM40 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.52202 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.1839 | DIMETHOATE | E | 0.006 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52202 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.39771 | 0.070763 | 0.36529 | 0.02737 | 0.020289
DIMETHOATE | 2033 | 82662GCM40 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.18942 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.055434 | DIMETHOATE | E | 0.006 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18942 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.71669 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.05651 | DIMETHOATE | E | 0.006 | 0.0405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71669 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0022 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.028937 | DIMETHOATE | E | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2008-03-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.31319 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.09898 | DIMETHOATE | E | 0.006 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31319 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2008-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.28391 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.098621 | DIMETHOATE | E | 0.006 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28391 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2008-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.36154 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.096809 | DIMETHOATE | E | 0.006 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36154 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2008-07-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.34303 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.096201 | DIMETHOATE | E | 0.006 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34303 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2008-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.36529 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.095815 | DIMETHOATE | E | 0.006 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36529 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2008-11-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.27678 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.097551 | DIMETHOATE | E | 0.006 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27678 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.32396 | 0.038547 | 0.32811 | 0.077622 | 0.05754
DIMETHOATE | 2033 | 82662GCM40 | 2009-03-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.38745 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19357 | DIMETHOATE | E | 0.006 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38745 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2009-06-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.37697 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.18304 | DIMETHOATE | E | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37697 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2009-09-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.26625 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.18404 | DIMETHOATE | E | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26625 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.28048 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.29236 | DIMETHOATE | E | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28048 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.33887 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.18296 | DIMETHOATE | E | 0.006 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33887 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.25191 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.28185 | DIMETHOATE | E | 0.006 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25191 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31699 | 0.058624 | 0.30967 | 0.11072 | 0.082075
DIMETHOATE | 2033 | 82662GCM40 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 0.19912 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | DIMETHOATE | E | 0.0061 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19912 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 0.26773 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DIMETHOATE | E | 0.0061 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26773 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 0.32438 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | DIMETHOATE | E | 0.0061 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32438 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 0.22905 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | DIMETHOATE | E | 0.0061 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22905 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.28445 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | DIMETHOATE | E | 0.006 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28445 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.29451 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DIMETHOATE | E | 0.006 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29451 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.26654 | 0.04561 | 0.27609 | 0.06546 | 0.048525
DIMETHOATE | 2033 | 82662GCM40 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.52577 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | DIMETHOATE | E | 0.006 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52577 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.5697 | 0.062126 | 0.5697 | 0.08786 | 0.06513
DIMETHOATE | 2033 | 82662GCM40 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.61363 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | DIMETHOATE | E | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61363 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.5697 | 0.062126 | 0.5697 | 0.08786 | 0.06513
DIMETHOATE | 2033 | 82662GCM40 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.6785 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | DIMETHOATE | E | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6785 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.49905 | 0.14312 | 0.48416 | 0.22112 | 0.16391
DIMETHOATE | 2033 | 82662GCM40 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.54071 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | DIMETHOATE | E | 0.006 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54071 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.49905 | 0.14312 | 0.48416 | 0.22112 | 0.16391
DIMETHOATE | 2033 | 82662GCM40 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.42761 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | DIMETHOATE | E | 0.006 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42761 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.49905 | 0.14312 | 0.48416 | 0.22112 | 0.16391
DIMETHOATE | 2033 | 82662GCM40 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.34937 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DIMETHOATE | E | 0.006 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34937 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.49905 | 0.14312 | 0.48416 | 0.22112 | 0.16391
DIMETHOATE | 2033 | 82662GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.61368 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DIMETHOATE | E | 0.006 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61368 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.7818 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DIMETHOATE | E | 0.006 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7818 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.77915 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DIMETHOATE | E | 0.006 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77915 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.57991 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DIMETHOATE | E | 0.006 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57991 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.57991 |  | 0.57991 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.4565 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | DIMETHOATE | E | 0.006 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4565 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42514 | 0.10216 | 0.40969 | 0.16077 | 0.11918
DIMETHOATE | 2033 | 82662GCM40 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.36288 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | DIMETHOATE | E | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36288 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42514 | 0.10216 | 0.40969 | 0.16077 | 0.11918
DIMETHOATE | 2033 | 82662GCM40 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.55454 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | DIMETHOATE | E | 0.006 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55454 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42514 | 0.10216 | 0.40969 | 0.16077 | 0.11918
DIMETHOATE | 2033 | 82662GCM40 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.32662 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | DIMETHOATE | E | 0.006 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32662 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42514 | 0.10216 | 0.40969 | 0.16077 | 0.11918
DIMETHOATE | 2033 | 82662GCM40 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.27202 | Restek | A069639 | Restek A069639: 20 µl | 0.027571 | DIMETHOATE | E | 0.006 | 0.0075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27202 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.43308 | Restek | A069639 | Restek A069639: 20 µl | 0.02794 | DIMETHOATE | E | 0.006 | 0.0121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43308 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.40863 | Restek | A069639 | Restek A069639: 100 µl | 0.14439 | DIMETHOATE | E | 0.006 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40863 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.53743 | Restek | A069639 | Restek A069639: 40 µl | 0.055263 | DIMETHOATE | E | 0.006 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53743 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2007-04-19 | 2005-03-04 | 2007-09-30 | ug/L | 0.53576 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.016798 | DIMETHOATE | E | 0.0061 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53577 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.50647 | 0.073609 | 0.50529 | 0.1153 | 0.085472
DIMETHOATE | 2033 | 82662GCM40 | 2007-06-13 | 2005-03-04 | 2007-09-30 | ug/L | 0.42281 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.085145 | DIMETHOATE | E | 0.0061 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42281 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.50647 | 0.073609 | 0.50529 | 0.1153 | 0.085472
DIMETHOATE | 2033 | 82662GCM40 | 2007-08-31 | 2005-03-04 | 2007-09-30 | ug/L | 0.59247 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.016879 | DIMETHOATE | E | 0.0061 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59247 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.50647 | 0.073609 | 0.50529 | 0.1153 | 0.085472
DIMETHOATE | 2033 | 82662GCM40 | 2007-11-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.47482 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.016848 | DIMETHOATE | E | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47482 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.50647 | 0.073609 | 0.50529 | 0.1153 | 0.085472