## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON | 2033 | 82677GCM35 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.55143 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.077979 | DISULFOTON | E | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55143 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.66002 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.080301 | DISULFOTON | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66002 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2009-03-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.60314 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.1343 | DISULFOTON | E | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60314 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.60322 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.079573 | DISULFOTON | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60322 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.6235 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.1267 | DISULFOTON | E | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6235 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.63127 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.079206 | DISULFOTON | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63127 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.6121 | 0.036422 | 0.61336 | 0.028124 | 0.020848
DISULFOTON | 2033 | 82677GCM35 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.63992 | Accu | 209081187 | Accu 209081187: 100 µl | 0.51881 | DISULFOTON | E | 0.04 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63992 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63457 | 0.072806 | 0.63992 | 0.04841 | 0.035886
DISULFOTON | 2033 | 82677GCM35 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.52569 | Accu | 209081187 | Accu 209081187: 20 µl | 0.10462 | DISULFOTON | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52569 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63457 | 0.072806 | 0.63992 | 0.04841 | 0.035886
DISULFOTON | 2033 | 82677GCM35 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.66566 | Accu | 209081187 | Accu 209081187: 20 µl | 0.10966 | DISULFOTON | E | 0.04 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66566 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63457 | 0.072806 | 0.63992 | 0.04841 | 0.035886
DISULFOTON | 2033 | 82677GCM35 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.61725 | Accu | 209081187 | Accu 209081187: 40 µl | 0.21385 | DISULFOTON | E | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61725 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63457 | 0.072806 | 0.63992 | 0.04841 | 0.035886
DISULFOTON | 2033 | 82677GCM35 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.7243 | Accu | 209081187 | Accu 209081187: 40 µl | 0.21262 | DISULFOTON | E | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7243 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63457 | 0.072806 | 0.63992 | 0.04841 | 0.035886
DISULFOTON | 2033 | 82677GCM35 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.59143 | Accu | B8090098 | Accu B8090098: 40 µl | 0.12681 | DISULFOTON | E | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59143 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.65103 | 0.056951 | 0.65706 | 0.073782 | 0.054694
DISULFOTON | 2033 | 82677GCM35 | 2009-03-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.60115 | Accu | B8090098 | Accu B8090098: 25 µl | 0.083174 | DISULFOTON | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60115 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.65103 | 0.056951 | 0.65706 | 0.073782 | 0.054694
DISULFOTON | 2033 | 82677GCM35 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.73057 | Accu | B8090098 | Accu B8090098: 40 µl | 0.12593 | DISULFOTON | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73057 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.65103 | 0.056951 | 0.65706 | 0.073782 | 0.054694
DISULFOTON | 2033 | 82677GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.67493 | Accu | B8090098 | Accu B8090098: 25 µl | 0.077044 | DISULFOTON | E | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67493 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.65103 | 0.056951 | 0.65706 | 0.073782 | 0.054694
DISULFOTON | 2033 | 82677GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.65706 | Accu | B8090098 | Accu B8090098: 25 µl | 0.077619 | DISULFOTON | E | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65706 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.65103 | 0.056951 | 0.65706 | 0.073782 | 0.054694
DISULFOTON | 2033 | 82677GCM35 | 2007-03-19 | 2006-10-01 | 2007-09-30 | ug/L | 0.95283 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.19731 | DISULFOTON | E | 0.02 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95283 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89839 | 0.13493 | 0.9311 | 0.17889 | 0.13261
DISULFOTON | 2033 | 82677GCM35 | 2007-05-14 | 2006-10-01 | 2007-09-30 | ug/L | 0.70854 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.039518 | DISULFOTON | E | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70854 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89839 | 0.13493 | 0.9311 | 0.17889 | 0.13261
DISULFOTON | 2033 | 82677GCM35 | 2007-08-01 | 2006-10-01 | 2007-09-30 | ug/L | 0.90936 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.19794 | DISULFOTON | E | 0.02 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90936 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89839 | 0.13493 | 0.9311 | 0.17889 | 0.13261
DISULFOTON | 2033 | 82677GCM35 | 2007-11-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.0228 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.040084 | DISULFOTON | E | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89839 | 0.13493 | 0.9311 | 0.17889 | 0.13261
DISULFOTON | 2033 | 82677GCM35 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.23882 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10468 | DISULFOTON | E | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23882 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.36793 | 0.11323 | 0.41462 | 0.21152 | 0.1568
DISULFOTON | 2033 | 82677GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.41462 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.20742 | DISULFOTON | E | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41462 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.36793 | 0.11323 | 0.41462 | 0.21152 | 0.1568
DISULFOTON | 2033 | 82677GCM35 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.45034 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10437 | DISULFOTON | E | 0.04 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45034 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.36793 | 0.11323 | 0.41462 | 0.21152 | 0.1568
DISULFOTON | 2033 | 82677GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.8363 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | DISULFOTON | E | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8363 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.61579 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DISULFOTON | E | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61579 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 0.5947 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | DISULFOTON | E | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5947 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.70061 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | DISULFOTON | E | 0.02 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70061 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.7924 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | DISULFOTON | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7924 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.93707 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DISULFOTON | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93707 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.74615 | 0.13321 | 0.74651 | 0.22052 | 0.16347
DISULFOTON | 2033 | 82677GCM35 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.97066 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | DISULFOTON | E | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97066 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.91246 | 0.082296 | 0.91246 | 0.11638 | 0.086275
DISULFOTON | 2033 | 82677GCM35 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.85427 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | DISULFOTON | E | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.91246 | 0.082296 | 0.91246 | 0.11638 | 0.086275
DISULFOTON | 2033 | 82677GCM35 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.91798 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | DISULFOTON | E | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91798 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85264 | 0.086409 | 0.85463 | 0.14808 | 0.10977
DISULFOTON | 2033 | 82677GCM35 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.79128 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | DISULFOTON | E | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79128 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85264 | 0.086409 | 0.85463 | 0.14808 | 0.10977
DISULFOTON | 2033 | 82677GCM35 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.93539 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | DISULFOTON | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93539 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85264 | 0.086409 | 0.85463 | 0.14808 | 0.10977
DISULFOTON | 2033 | 82677GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.76593 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DISULFOTON | E | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76593 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85264 | 0.086409 | 0.85463 | 0.14808 | 0.10977
DISULFOTON | 2033 | 82677GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.59306 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DISULFOTON | E | 0.04 | 0.023 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.59306 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.65053 | 0.062651 | 0.64122 | 0.12426 | 0.092113
DISULFOTON | 2033 | 82677GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.64123 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DISULFOTON | E | 0.04 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64122 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.65053 | 0.062651 | 0.64122 | 0.12426 | 0.092113
DISULFOTON | 2033 | 82677GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.71732 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DISULFOTON | E | 0.04 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71732 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.65053 | 0.062651 | 0.64122 | 0.12426 | 0.092113
DISULFOTON | 2033 | 82677GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88377 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DISULFOTON | E | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88377 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.88377 |  | 0.88377 | 0 | 0
DISULFOTON | 2033 | 82677GCM35 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.47635 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | DISULFOTON | E | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47635 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53817 | 0.096547 | 0.52042 | 0.15088 | 0.11185
DISULFOTON | 2033 | 82677GCM35 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.56448 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | DISULFOTON | E | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56448 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53817 | 0.096547 | 0.52042 | 0.15088 | 0.11185
DISULFOTON | 2033 | 82677GCM35 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.66274 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | DISULFOTON | E | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66274 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53817 | 0.096547 | 0.52042 | 0.15088 | 0.11185
DISULFOTON | 2033 | 82677GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.44911 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | DISULFOTON | E | 0.04 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44911 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53817 | 0.096547 | 0.52042 | 0.15088 | 0.11185
DISULFOTON | 2033 | 82677GCM35 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.66604 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.16065 | DISULFOTON | E | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66604 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.71584 | 0.095685 | 0.69946 | 0.11233 | 0.083272
DISULFOTON | 2033 | 82677GCM35 | 2008-04-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.77837 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15931 | DISULFOTON | E | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77837 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.71584 | 0.095685 | 0.69946 | 0.11233 | 0.083272
DISULFOTON | 2033 | 82677GCM35 | 2008-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.59526 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15791 | DISULFOTON | E | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59526 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.71584 | 0.095685 | 0.69946 | 0.11233 | 0.083272
DISULFOTON | 2033 | 82677GCM35 | 2008-08-20 | 2007-10-01 | 2009-09-30 | ug/L | 0.84004 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15714 | DISULFOTON | E | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84004 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.71584 | 0.095685 | 0.69946 | 0.11233 | 0.083272
DISULFOTON | 2033 | 82677GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.69946 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15583 | DISULFOTON | E | 0.04 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69946 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.71584 | 0.095685 | 0.69946 | 0.11233 | 0.083272
DISULFOTON | 2033 | 82677GCM35 | 2007-02-12 | 2006-10-01 | 2007-09-30 | ug/L | 0.89236 | Restek | A046582 | Restek A046582: 50 µl | 0.2062 | DISULFOTON | E | 0.02 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89236 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.72734 | 0.18469 | 0.82541 | 0.18814 | 0.13946
DISULFOTON | 2033 | 82677GCM35 | 2007-03-02 | 2006-10-01 | 2007-09-30 | ug/L | 0.83275 | Restek | A046582 | Restek A046582: 50 µl | 0.20655 | DISULFOTON | E | 0.02 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83275 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.72734 | 0.18469 | 0.82541 | 0.18814 | 0.13946
DISULFOTON | 2033 | 82677GCM35 | 2007-07-23 | 2006-10-01 | 2007-09-30 | ug/L | 0.44161 | Restek | A046582 | Restek A046582: 10 µl | 0.04076 | DISULFOTON | E | 0.02 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44161 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.72734 | 0.18469 | 0.82541 | 0.18814 | 0.13946
DISULFOTON | 2033 | 82677GCM35 | 2007-09-19 | 2006-10-01 | 2007-09-30 | ug/L | 0.82541 | Restek | A046582 | Restek A046582: 50 µl | 0.20475 | DISULFOTON | E | 0.02 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82541 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.72734 | 0.18469 | 0.82541 | 0.18814 | 0.13946
DISULFOTON | 2033 | 82677GCM35 | 2007-10-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.64461 | Restek | A046582 | Restek A046582: 10 µl | 0.041886 | DISULFOTON | E | 0.04 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64461 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.72734 | 0.18469 | 0.82541 | 0.18814 | 0.13946
DISULFOTON | 2033 | 82677GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.80537 | Restek | A075606 | Restek A075606: 40 µl | 0.048425 | DISULFOTON | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80537 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.68714 | 0.1672 | 0.68714 | 0.23646 | 0.17529
DISULFOTON | 2033 | 82677GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.56891 | Restek | A075606 | Restek A075606: 80 µl | 0.10019 | DISULFOTON | E | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56891 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.68714 | 0.1672 | 0.68714 | 0.23646 | 0.17529
DISULFOTON | 2033 | 82677GCM35 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.51573 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.159 | DISULFOTON | E | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51573 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.52767 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15919 | DISULFOTON | E | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52767 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2008-01-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.86401 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15972 | DISULFOTON | E | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86401 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2008-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.7624 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15871 | DISULFOTON | E | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7624 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2008-02-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.61792 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.1586 | DISULFOTON | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61792 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2008-02-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.65514 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.16027 | DISULFOTON | E | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65514 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65714 | 0.13577 | 0.63653 | 0.23473 | 0.174
DISULFOTON | 2033 | 82677GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.5661 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.049461 | DISULFOTON | E | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5661 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.5661 |  | 0.5661 | 0 | 0