## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-03-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.93017 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.16771 | DISULFOTON_SULFONE | . | 0.014 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93017 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1404 | 0.23509 | 1.0786 | 0.30858 | 0.22874
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.042 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.03359 | DISULFOTON_SULFONE | . | 0.014 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1404 | 0.23509 | 1.0786 | 0.30858 | 0.22874
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-08-01 | 2006-04-01 | 2009-09-30 | ug/L | 1.474 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.16825 | DISULFOTON_SULFONE | . | 0.014 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.474 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1404 | 0.23509 | 1.0786 | 0.30858 | 0.22874
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-11-29 | 2006-04-01 | 2009-09-30 | ug/L | 1.1153 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.034072 | DISULFOTON_SULFONE | . | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1153 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1404 | 0.23509 | 1.0786 | 0.30858 | 0.22874
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.91409 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.06914 | DISULFOTON_SULFONE | . | 0.014 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91409 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91409 |  | 0.91409 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.74893 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.16557 | DISULFOTON_SULFONE | . | 0.0136 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74893 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.56072 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.078649 | DISULFOTON_SULFONE | . | 0.0136 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56072 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.66895 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.08192 | DISULFOTON_SULFONE | . | 0.0136 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66895 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.52449 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.40421 | DISULFOTON_SULFONE | . | 0.014 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52449 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.8363 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | DISULFOTON_SULFONE | . | 0.014 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8363 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.92368 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DISULFOTON_SULFONE | . | 0.014 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92368 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.90557 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | DISULFOTON_SULFONE | . | 0.014 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90557 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.91619 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | DISULFOTON_SULFONE | . | 0.014 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91619 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.75177 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | DISULFOTON_SULFONE | . | 0.014 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75177 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.1111 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | DISULFOTON_SULFONE | . | 0.014 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90743 | 0.11926 | 0.91088 | 0.087376 | 0.064771
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.87629 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | DISULFOTON_SULFONE | . | 0.014 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87629 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0638 | 0.26519 | 1.0638 | 0.37504 | 0.27801
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.2513 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | DISULFOTON_SULFONE | . | 0.014 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2513 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0638 | 0.26519 | 1.0638 | 0.37504 | 0.27801
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.1175 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | DISULFOTON_SULFONE | . | 0.014 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1175 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0547 | 0.27899 | 1.1588 | 0.34684 | 0.25711
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.2001 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | DISULFOTON_SULFONE | . | 0.014 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2001 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0547 | 0.27899 | 1.1588 | 0.34684 | 0.25711
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.2561 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | DISULFOTON_SULFONE | . | 0.014 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2561 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0547 | 0.27899 | 1.1588 | 0.34684 | 0.25711
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.64499 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DISULFOTON_SULFONE | . | 0.014 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64499 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0547 | 0.27899 | 1.1588 | 0.34684 | 0.25711
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72198 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DISULFOTON_SULFONE | . | 0.0136 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72198 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0679 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DISULFOTON_SULFONE | . | 0.0136 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0679 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.88551 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DISULFOTON_SULFONE | . | 0.014 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88551 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.87185 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DISULFOTON_SULFONE | . | 0.014 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87185 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87185 |  | 0.87185 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.77407 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | DISULFOTON_SULFONE | . | 0.014 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77407 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81564 | 0.044749 | 0.80468 | 0.054262 | 0.040224
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.8064 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | DISULFOTON_SULFONE | . | 0.014 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8064 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81564 | 0.044749 | 0.80468 | 0.054262 | 0.040224
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.87915 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | DISULFOTON_SULFONE | . | 0.014 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87915 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81564 | 0.044749 | 0.80468 | 0.054262 | 0.040224
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.80295 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | DISULFOTON_SULFONE | . | 0.014 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80295 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81564 | 0.044749 | 0.80468 | 0.054262 | 0.040224
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-02-12 | 2006-04-01 | 2009-09-30 | ug/L | 1.1084 | Restek | A046582 | Restek A046582: 50 µl | 0.17233 | DISULFOTON_SULFONE | . | 0.014 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1084 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97656 | 0.10893 | 0.97903 | 0.17709 | 0.13127
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-03-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.97903 | Restek | A046582 | Restek A046582: 50 µl | 0.17262 | DISULFOTON_SULFONE | . | 0.014 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97903 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97656 | 0.10893 | 0.97903 | 0.17709 | 0.13127
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-07-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.88066 | Restek | A046582 | Restek A046582: 10 µl | 0.034065 | DISULFOTON_SULFONE | . | 0.014 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88066 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97656 | 0.10893 | 0.97903 | 0.17709 | 0.13127
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-09-19 | 2006-04-01 | 2009-09-30 | ug/L | 1.0578 | Restek | A046582 | Restek A046582: 50 µl | 0.17112 | DISULFOTON_SULFONE | . | 0.014 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0578 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97656 | 0.10893 | 0.97903 | 0.17709 | 0.13127
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2007-10-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.85699 | Restek | A046582 | Restek A046582: 10 µl | 0.035006 | DISULFOTON_SULFONE | . | 0.014 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85699 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97656 | 0.10893 | 0.97903 | 0.17709 | 0.13127
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-02-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.68566 | Restek | A063025 | Restek A063025: 40 µl | 0.040836 | DISULFOTON_SULFONE | . | 0.014 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68566 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83651 | 0.091381 | 0.84569 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.84569 | Restek | A063025 | Restek A063025: 25 µl | 0.027197 | DISULFOTON_SULFONE | . | 0.014 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84569 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83651 | 0.091381 | 0.84569 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-05-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.92188 | Restek | A063025 | Restek A063025: 25 µl | 0.026034 | DISULFOTON_SULFONE | . | 0.014 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92188 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83651 | 0.091381 | 0.84569 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.89373 | Restek | A063025 | Restek A063025: 40 µl | 0.042518 | DISULFOTON_SULFONE | . | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89373 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83651 | 0.091381 | 0.84569 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.83558 | Restek | A063025 | Restek A063025: 25 µl | 0.026329 | DISULFOTON_SULFONE | . | 0.0136 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83558 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83651 | 0.091381 | 0.84569 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 1.1149 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.071308 | DISULFOTON_SULFONE | . | 0.014 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1149 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0613 | 0.07581 | 1.0613 | 0.10721 | 0.079475
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.0077 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.035925 | DISULFOTON_SULFONE | . | 0.014 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0613 | 0.07581 | 1.0613 | 0.10721 | 0.079475
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-01-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.7708 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.089518 | DISULFOTON_SULFONE | . | 0.014 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7708 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-01-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.87028 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.089626 | DISULFOTON_SULFONE | . | 0.014 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87028 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-01-25 | 2006-04-01 | 2009-09-30 | ug/L | 1.012 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.089925 | DISULFOTON_SULFONE | . | 0.014 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-02-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.85053 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.089356 | DISULFOTON_SULFONE | . | 0.014 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85053 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-02-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.89593 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.089293 | DISULFOTON_SULFONE | . | 0.014 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89593 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-02-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.9309 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.090235 | DISULFOTON_SULFONE | . | 0.014 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9309 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8884 | 0.080896 | 0.88311 | 0.080364 | 0.059573
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2008-12-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.92754 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.025875 | DISULFOTON_SULFONE | . | 0.014 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92754 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-01-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.72312 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.041487 | DISULFOTON_SULFONE | . | 0.014 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72312 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-03-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.96261 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.028049 | DISULFOTON_SULFONE | . | 0.014 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96261 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-07-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.7075 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.025769 | DISULFOTON_SULFONE | . | 0.014 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7075 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-09-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.65372 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.026005 | DISULFOTON_SULFONE | . | 0.014 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65372 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92605 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.025916 | DISULFOTON_SULFONE | . | 0.0136 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92605 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98342 | 0.37618 | 0.92679 | 0.23949 | 0.17753
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.59379 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.078479 | DISULFOTON_SULFONE | . | 0.0136 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59379 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.5241 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.078078 | DISULFOTON_SULFONE | E | 0.0136 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5241 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.71553 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15373 | DISULFOTON_SULFONE | . | 0.0136 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71553 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.81615 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15683 | DISULFOTON_SULFONE | . | 0.0136 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81615 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212