## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.96628 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.1335 | ENDOSULFAN_SULFATE | . | 0.022 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96628 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.93834 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13748 | ENDOSULFAN_SULFATE | . | 0.022 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93834 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.96556 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.22992 | ENDOSULFAN_SULFATE | . | 0.022 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96556 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 1.0203 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13623 | ENDOSULFAN_SULFATE | . | 0.022 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.005 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.21692 | ENDOSULFAN_SULFATE | . | 0.014 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96606 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.1356 | ENDOSULFAN_SULFATE | . | 0.014 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96606 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97692 | 0.030067 | 0.96617 | 0.03942 | 0.029222
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.98704 | Accu | B8090098 | Accu B8090098: 40 µl | 0.21985 | ENDOSULFAN_SULFATE | . | 0.022 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98704 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.96762 | 0.062193 | 0.97563 | 0.057747 | 0.042807
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.92929 | Accu | B8090098 | Accu B8090098: 25 µl | 0.1442 | ENDOSULFAN_SULFATE | . | 0.022 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92929 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.96762 | 0.062193 | 0.97563 | 0.057747 | 0.042807
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.97563 | Accu | B8090098 | Accu B8090098: 40 µl | 0.21832 | ENDOSULFAN_SULFATE | . | 0.022 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97563 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.96762 | 0.062193 | 0.97563 | 0.057747 | 0.042807
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.89092 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13357 | ENDOSULFAN_SULFATE | . | 0.022 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89092 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.96762 | 0.062193 | 0.97563 | 0.057747 | 0.042807
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0552 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13457 | ENDOSULFAN_SULFATE | . | 0.014 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0552 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.96762 | 0.062193 | 0.97563 | 0.057747 | 0.042807
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-03-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.89025 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.11345 | ENDOSULFAN_SULFATE | . | 0.022 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89025 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2029 | 0.24078 | 1.2446 | 0.37133 | 0.27526
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.1442 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.022723 | ENDOSULFAN_SULFATE | . | 0.022 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1442 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2029 | 0.24078 | 1.2446 | 0.37133 | 0.27526
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-08-01 | 2006-04-01 | 2009-09-30 | ug/L | 1.4321 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.11382 | ENDOSULFAN_SULFATE | . | 0.022 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4321 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2029 | 0.24078 | 1.2446 | 0.37133 | 0.27526
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-11-29 | 2006-04-01 | 2009-09-30 | ug/L | 1.345 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.023048 | ENDOSULFAN_SULFATE | . | 0.022 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.345 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2029 | 0.24078 | 1.2446 | 0.37133 | 0.27526
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.87613 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ENDOSULFAN_SULFATE | . | 0.022 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87613 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.88352 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ENDOSULFAN_SULFATE | . | 0.022 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88352 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.82448 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ENDOSULFAN_SULFATE | . | 0.022 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82448 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.82187 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ENDOSULFAN_SULFATE | . | 0.022 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82187 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.77208 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ENDOSULFAN_SULFATE | . | 0.022 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77208 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.1914 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ENDOSULFAN_SULFATE | . | 0.022 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1914 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89492 | 0.15085 | 0.8503 | 0.061647 | 0.045698
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.88977 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ENDOSULFAN_SULFATE | . | 0.022 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88977 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.97429 | 0.11953 | 0.97429 | 0.16905 | 0.12531
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.0588 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ENDOSULFAN_SULFATE | . | 0.022 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0588 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.97429 | 0.11953 | 0.97429 | 0.16905 | 0.12531
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.0111 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ENDOSULFAN_SULFATE | . | 0.022 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0285 | 0.20444 | 1.066 | 0.29338 | 0.21748
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.121 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ENDOSULFAN_SULFATE | . | 0.022 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.121 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0285 | 0.20444 | 1.066 | 0.29338 | 0.21748
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.2294 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ENDOSULFAN_SULFATE | . | 0.022 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2294 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0285 | 0.20444 | 1.066 | 0.29338 | 0.21748
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.75249 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ENDOSULFAN_SULFATE | . | 0.022 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75249 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0285 | 0.20444 | 1.066 | 0.29338 | 0.21748
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.63689 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ENDOSULFAN_SULFATE | E | 0.014 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63689 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1197 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1197 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.94488 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94488 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88973 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0896 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88973 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88973 |  | 0.88973 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.79392 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ENDOSULFAN_SULFATE | . | 0.022 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79392 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7635 | 0.1078 | 0.80272 | 0.12829 | 0.0951
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.6048 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ENDOSULFAN_SULFATE | . | 0.022 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6048 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7635 | 0.1078 | 0.80272 | 0.12829 | 0.0951
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.81152 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ENDOSULFAN_SULFATE | . | 0.022 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81152 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7635 | 0.1078 | 0.80272 | 0.12829 | 0.0951
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.84378 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ENDOSULFAN_SULFATE | . | 0.022 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84378 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7635 | 0.1078 | 0.80272 | 0.12829 | 0.0951
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.80815 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19675 | ENDOSULFAN_SULFATE | . | 0.022 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80815 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.79838 | 0.055482 | 0.80815 | 0.093479 | 0.069295
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-04-18 | 2006-04-01 | 2009-09-30 | ug/L | 0.74833 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.1951 | ENDOSULFAN_SULFATE | . | 0.022 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74833 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.79838 | 0.055482 | 0.80815 | 0.093479 | 0.069295
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-05-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.73425 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19339 | ENDOSULFAN_SULFATE | . | 0.022 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73425 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.79838 | 0.055482 | 0.80815 | 0.093479 | 0.069295
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.84181 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19244 | ENDOSULFAN_SULFATE | . | 0.022 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84181 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.79838 | 0.055482 | 0.80815 | 0.093479 | 0.069295
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.85933 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19085 | ENDOSULFAN_SULFATE | . | 0.022 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85933 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.79838 | 0.055482 | 0.80815 | 0.093479 | 0.069295
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-02-12 | 2006-04-01 | 2009-09-30 | ug/L | 1.0533 | Restek | A046582 | Restek A046582: 50 µl | 0.12153 | ENDOSULFAN_SULFATE | . | 0.022 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95141 | 0.071541 | 0.95742 | 0.029439 | 0.021823
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-03-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.96113 | Restek | A046582 | Restek A046582: 50 µl | 0.12173 | ENDOSULFAN_SULFATE | . | 0.022 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96113 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95141 | 0.071541 | 0.95742 | 0.029439 | 0.021823
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-07-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.95742 | Restek | A046582 | Restek A046582: 10 µl | 0.024023 | ENDOSULFAN_SULFATE | . | 0.022 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95742 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95141 | 0.071541 | 0.95742 | 0.029439 | 0.021823
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-09-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.85355 | Restek | A046582 | Restek A046582: 50 µl | 0.12067 | ENDOSULFAN_SULFATE | . | 0.022 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85355 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95141 | 0.071541 | 0.95742 | 0.029439 | 0.021823
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2007-10-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.93169 | Restek | A046582 | Restek A046582: 10 µl | 0.024686 | ENDOSULFAN_SULFATE | . | 0.022 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93169 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95141 | 0.071541 | 0.95742 | 0.029439 | 0.021823
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.99422 | Restek | A075606 | Restek A075606: 40 µl | 0.067289 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99422 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88139 | 0.15956 | 0.88139 | 0.22566 | 0.16728
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.76856 | Restek | A075606 | Restek A075606: 80 µl | 0.13922 | ENDOSULFAN_SULFATE | . | 0.016 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76856 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88139 | 0.15956 | 0.88139 | 0.22566 | 0.16728
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.90138 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.060241 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90138 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0164 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.30303 | ENDOSULFAN_SULFATE | . | 0.014 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0164 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90958 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.061237 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90958 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80857 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.1233 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0997 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80857 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-01-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.95825 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19515 | ENDOSULFAN_SULFATE | . | 0.022 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95825 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-01-24 | 2006-04-01 | 2009-09-30 | ug/L | 1.0236 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19538 | ENDOSULFAN_SULFATE | . | 0.022 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0236 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-01-25 | 2006-04-01 | 2009-09-30 | ug/L | 1.01 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19603 | ENDOSULFAN_SULFATE | . | 0.022 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-02-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.91892 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19479 | ENDOSULFAN_SULFATE | . | 0.022 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-02-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.92984 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19466 | ENDOSULFAN_SULFATE | . | 0.022 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92984 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2008-02-19 | 2006-04-01 | 2009-09-30 | ug/L | 1.0777 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19671 | ENDOSULFAN_SULFATE | . | 0.022 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0777 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9864 | 0.061365 | 0.98414 | 0.09379 | 0.069525
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.63907 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.069007 | ENDOSULFAN_SULFATE | E | 0.016 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63907 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.63907 |  | 0.63907 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.59944 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11811 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59944 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.81878 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060945 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81878 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.67414 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.12267 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67414 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.72923 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060612 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72923 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171