## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EPTC | 2033 | 82668GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.91473 | Abs | 080610 | Abs 080610: 40 µl | 0.053677 | EPTC | . | 0.0056 | 0.0491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91473 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0094 | 0.13384 | 1.0094 | 0.18928 | 0.14031
EPTC | 2033 | 82668GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.104 | Abs | 080610 | Abs 080610: 80 µl | 0.10507 | EPTC | . | 0.0056 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0094 | 0.13384 | 1.0094 | 0.18928 | 0.14031
EPTC | 2033 | 82668GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0429 | Accu | 210061341 | Accu 210061341: 40 µl | 0.056094 | EPTC | . | 0.0056 | 0.0585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99292 | 0.07066 | 0.99292 | 0.099928 | 0.074076
EPTC | 2033 | 82668GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94296 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11559 | EPTC | . | 0.0056 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94296 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99292 | 0.07066 | 0.99292 | 0.099928 | 0.074076
EPTC | 2033 | 82668GCM35 | 2008-01-07 | 2006-10-01 | 2009-09-30 | ug/L | 0.98203 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11609 | EPTC | . | 0.002 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98203 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2008-01-22 | 2006-10-01 | 2009-09-30 | ug/L | 0.91802 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11656 | EPTC | . | 0.002 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91802 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2008-01-28 | 2006-10-01 | 2009-09-30 | ug/L | 1.0948 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11783 | EPTC | . | 0.002 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0948 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2008-02-05 | 2006-10-01 | 2009-09-30 | ug/L | 1.0013 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11585 | EPTC | . | 0.002 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0013 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2008-02-07 | 2006-10-01 | 2009-09-30 | ug/L | 0.91385 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11818 | EPTC | . | 0.002 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91385 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2008-02-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.98825 | Accu | B7070106 | Accu B7070106: 50 µl | 0.11637 | EPTC | . | 0.002 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98825 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98304 | 0.066127 | 0.98514 | 0.083256 | 0.061717
EPTC | 2033 | 82668GCM35 | 2007-02-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.97049 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.035034 | EPTC | . | 0.002 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97049 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96999 | 0.0083828 | 0.97049 | 0.016742 | 0.012411
EPTC | 2033 | 82668GCM35 | 2007-02-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.96136 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.17475 | EPTC | . | 0.002 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96136 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96999 | 0.0083828 | 0.97049 | 0.016742 | 0.012411
EPTC | 2033 | 82668GCM35 | 2007-03-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.9781 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.034761 | EPTC | . | 0.002 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9781 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96999 | 0.0083828 | 0.97049 | 0.016742 | 0.012411
EPTC | 2033 | 82668GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1391 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.013958 | EPTC | E | 0.002 | 0.0159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1391 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1737 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.014229 | EPTC | . | 0.002 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.5097 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.0072864 | EPTC | . | 0.002 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5097 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2008-12-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.2236 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.0049034 | EPTC | E | 0.002 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2236 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2009-01-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.1305 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.007961 | EPTC | . | 0.002 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1305 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2009-01-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.2239 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.0081708 | EPTC | . | 0.002 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2239 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2009-01-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.5768 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.0050736 | EPTC | E | 0.002 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5768 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2009-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 1.1971 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.005012 | EPTC | E | 0.002 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1971 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2009-07-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.3662 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.0080515 | EPTC | . | 0.002 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3662 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2864 | 0.16175 | 1.2238 | 0.16908 | 0.12534
EPTC | 2033 | 82668GCM35 | 2008-03-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.97288 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.11615 | EPTC | . | 0.002 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97288 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2008-04-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.84681 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.11573 | EPTC | . | 0.002 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84681 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2008-05-12 | 2006-10-01 | 2009-09-30 | ug/L | 0.94188 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.1136 | EPTC | . | 0.002 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94188 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2008-07-18 | 2006-10-01 | 2009-09-30 | ug/L | 0.85925 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.11289 | EPTC | . | 0.002 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85925 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2008-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 1.0228 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.11244 | EPTC | . | 0.002 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2008-11-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.94345 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.11447 | EPTC | . | 0.002 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94345 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93118 | 0.067366 | 0.94266 | 0.11363 | 0.084232
EPTC | 2033 | 82668GCM35 | 2007-02-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.93586 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | EPTC | . | 0.002 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93586 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2007-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.87013 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | EPTC | . | 0.002 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87013 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2007-05-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.95964 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | EPTC | . | 0.002 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95964 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2007-08-15 | 2006-10-01 | 2009-09-30 | ug/L | 0.99703 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | EPTC | . | 0.002 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99703 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2007-10-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | EPTC | . | 0.002 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2007-12-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.0308 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | EPTC | . | 0.002 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96484 | 0.056858 | 0.97761 | 0.061163 | 0.045339
EPTC | 2033 | 82668GCM35 | 2009-03-04 | 2006-10-01 | 2009-09-30 | ug/L | 0.99762 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | EPTC | . | 0.002 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99762 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0042 | 0.0092411 | 1.0042 | 0.013069 | 0.0096878
EPTC | 2033 | 82668GCM35 | 2009-03-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.0107 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | EPTC | . | 0.002 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0042 | 0.0092411 | 1.0042 | 0.013069 | 0.0096878
EPTC | 2033 | 82668GCM35 | 2009-04-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0909 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | EPTC | . | 0.002 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0223 | 0.058178 | 1.022 | 0.088265 | 0.06543
EPTC | 2033 | 82668GCM35 | 2009-05-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0419 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | EPTC | . | 0.002 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0419 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0223 | 0.058178 | 1.022 | 0.088265 | 0.06543
EPTC | 2033 | 82668GCM35 | 2009-07-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.0022 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | EPTC | . | 0.002 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0223 | 0.058178 | 1.022 | 0.088265 | 0.06543
EPTC | 2033 | 82668GCM35 | 2009-09-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.95405 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | EPTC | . | 0.002 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95405 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0223 | 0.058178 | 1.022 | 0.088265 | 0.06543
EPTC | 2033 | 82668GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0185 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | EPTC | . | 0.002 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0185 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0778 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | EPTC | . | 0.002 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0562 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | EPTC | . | 0.0056 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0562 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | EPTC | . | 0.0056 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0724 |  | 1.0724 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2008-04-15 | 2006-10-01 | 2009-09-30 | ug/L | 0.9924 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | EPTC | . | 0.002 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9924 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95154 | 0.074408 | 0.97253 | 0.10371 | 0.076882
EPTC | 2033 | 82668GCM35 | 2008-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.84672 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | EPTC | . | 0.002 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84672 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95154 | 0.074408 | 0.97253 | 0.10371 | 0.076882
EPTC | 2033 | 82668GCM35 | 2008-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0144 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | EPTC | . | 0.002 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0144 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95154 | 0.074408 | 0.97253 | 0.10371 | 0.076882
EPTC | 2033 | 82668GCM35 | 2008-10-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.95265 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | EPTC | . | 0.002 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95265 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95154 | 0.074408 | 0.97253 | 0.10371 | 0.076882
EPTC | 2033 | 82668GCM35 | 2009-01-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.2616 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.0079263 | EPTC | . | 0.002 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2616 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2615 | 0.21197 | 1.2616 | 0.28246 | 0.20938
EPTC | 2033 | 82668GCM35 | 2009-02-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.5154 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.0052793 | EPTC | E | 0.002 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5154 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.2615 | 0.21197 | 1.2616 | 0.28246 | 0.20938
EPTC | 2033 | 82668GCM35 | 2009-04-28 | 2006-10-01 | 2009-09-30 | ug/L | 1.4127 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.0049549 | EPTC | E | 0.002 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4127 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.2615 | 0.21197 | 1.2616 | 0.28246 | 0.20938
EPTC | 2033 | 82668GCM35 | 2009-07-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.9873 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.0081029 | EPTC | . | 0.002 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9873 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2615 | 0.21197 | 1.2616 | 0.28246 | 0.20938
EPTC | 2033 | 82668GCM35 | 2009-09-15 | 2006-10-01 | 2009-09-30 | ug/L | 1.1303 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.0079626 | EPTC | . | 0.002 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1303 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2615 | 0.21197 | 1.2616 | 0.28246 | 0.20938
EPTC | 2033 | 82668GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0083 | Restek | A069639 | Restek A069639: 20 µl | 0.0069424 | EPTC | E | 0.002 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0661 | Restek | A069639 | Restek A069639: 20 µl | 0.0070352 | EPTC | E | 0.002 | 0.0075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0661 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.97645 | Restek | A069639 | Restek A069639: 100 µl | 0.036356 | EPTC | . | 0.002 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97645 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1642 | Restek | A069639 | Restek A069639: 40 µl | 0.013915 | EPTC | . | 0.0056 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1642 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2007-04-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.95417 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.034585 | EPTC | . | 0.002 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0036 | 0.03493 | 1.0122 | 0.04411 | 0.032698
EPTC | 2033 | 82668GCM35 | 2007-06-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.0154 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.1753 | EPTC | . | 0.002 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0154 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0036 | 0.03493 | 1.0122 | 0.04411 | 0.032698
EPTC | 2033 | 82668GCM35 | 2007-08-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.036 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.03475 | EPTC | . | 0.002 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0036 | 0.03493 | 1.0122 | 0.04411 | 0.032698
EPTC | 2033 | 82668GCM35 | 2007-11-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.009 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.034688 | EPTC | . | 0.002 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.009 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0036 | 0.03493 | 1.0122 | 0.04411 | 0.032698