## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHION | 2033 | 82346GCM40 | 2008-12-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.0133 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.10362 | ETHION | . | 0.012 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95262 | 0.15562 | 1.0133 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.77512 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.17288 | ETHION | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77512 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95262 | 0.15562 | 1.0133 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.105 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.16562 | ETHION | . | 0.012 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95262 | 0.15562 | 1.0133 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.7973 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.10536 | ETHION | . | 0.012 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7973 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95262 | 0.15562 | 1.0133 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0724 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.10723 | ETHION | . | 0.008 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95262 | 0.15562 | 1.0133 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2007-03-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.90879 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.14305 | ETHION | . | 0.016 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90879 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0867 | 0.23338 | 1.0048 | 0.28736 | 0.21302
ETHION | 2033 | 82346GCM40 | 2007-05-14 | 2006-04-01 | 2007-09-30 | ug/L | 0.9773 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.02865 | ETHION | . | 0.016 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9773 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0867 | 0.23338 | 1.0048 | 0.28736 | 0.21302
ETHION | 2033 | 82346GCM40 | 2007-08-01 | 2006-04-01 | 2007-09-30 | ug/L | 1.4285 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.14351 | ETHION | . | 0.016 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4285 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0867 | 0.23338 | 1.0048 | 0.28736 | 0.21302
ETHION | 2033 | 82346GCM40 | 2007-11-29 | 2007-10-01 | 2008-09-30 | ug/L | 1.0323 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.029061 | ETHION | . | 0.006 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0867 | 0.23338 | 1.0048 | 0.28736 | 0.21302
ETHION | 2033 | 82346GCM40 | 2009-03-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.61165 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.11444 | ETHION | . | 0.012 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61165 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.75775 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.10822 | ETHION | . | 0.012 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75775 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.60659 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.10881 | ETHION | . | 0.012 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60659 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72896 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.17285 | ETHION | . | 0.008 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72896 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.70259 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.10817 | ETHION | . | 0.008 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70259 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.60012 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.16663 | ETHION | . | 0.008 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60012 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66794 | 0.070032 | 0.65712 | 0.12237 | 0.090712
ETHION | 2033 | 82346GCM40 | 2011-01-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.97504 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.043998 | ETHION | . | 0.008 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97504 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.97504 |  | 0.97504 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.6568 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.080694 | ETHION | . | 0.008 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6568 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.65481 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.038332 | ETHION | . | 0.008 | 0.0251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65481 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.7514 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.039926 | ETHION | . | 0.008 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7514 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.63452 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.197 | ETHION | . | 0.008 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63452 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.85622 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ETHION | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85622 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.87013 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHION | . | 0.016 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87013 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 1.0137 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ETHION | . | 0.016 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.87577 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ETHION | . | 0.016 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87577 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.83304 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ETHION | . | 0.006 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83304 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 1.2048 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHION | . | 0.006 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2048 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94228 | 0.14352 | 0.87295 | 0.15748 | 0.11674
ETHION | 2033 | 82346GCM40 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.7954 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ETHION | . | 0.012 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7954 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98727 | 0.27134 | 0.98727 | 0.38374 | 0.28446
ETHION | 2033 | 82346GCM40 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.1791 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ETHION | . | 0.012 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98727 | 0.27134 | 0.98727 | 0.38374 | 0.28446
ETHION | 2033 | 82346GCM40 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.87806 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ETHION | . | 0.012 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87806 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91896 | 0.14326 | 0.9138 | 0.20736 | 0.15371
ETHION | 2033 | 82346GCM40 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.94954 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ETHION | . | 0.012 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94954 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91896 | 0.14326 | 0.9138 | 0.20736 | 0.15371
ETHION | 2033 | 82346GCM40 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0957 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ETHION | . | 0.012 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0957 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91896 | 0.14326 | 0.9138 | 0.20736 | 0.15371
ETHION | 2033 | 82346GCM40 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.75249 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHION | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75249 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91896 | 0.14326 | 0.9138 | 0.20736 | 0.15371
ETHION | 2033 | 82346GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81223 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHION | . | 0.008 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81223 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.94951 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHION | . | 0.008 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94951 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.91519 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHION | . | 0.008 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9152 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.8232 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHION | . | 0.008 | 0.0829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8232 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.8232 |  | 0.8232 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.77407 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ETHION | . | 0.006 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77407 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70761 | 0.1675 | 0.70005 | 0.26504 | 0.19647
ETHION | 2033 | 82346GCM40 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.52416 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ETHION | . | 0.006 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52416 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70761 | 0.1675 | 0.70005 | 0.26504 | 0.19647
ETHION | 2033 | 82346GCM40 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.9062 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ETHION | . | 0.006 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9062 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70761 | 0.1675 | 0.70005 | 0.26504 | 0.19647
ETHION | 2033 | 82346GCM40 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.62603 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ETHION | . | 0.012 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62603 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70761 | 0.1675 | 0.70005 | 0.26504 | 0.19647
ETHION | 2033 | 82346GCM40 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.85883 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.036096 | ETHION | . | 0.006 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85883 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7932 | 0.12094 | 0.78226 | 0.17338 | 0.12852
ETHION | 2033 | 82346GCM40 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.78226 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.035793 | ETHION | . | 0.006 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78226 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7932 | 0.12094 | 0.78226 | 0.17338 | 0.12852
ETHION | 2033 | 82346GCM40 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.67643 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.03548 | ETHION | . | 0.006 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67643 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7932 | 0.12094 | 0.78226 | 0.17338 | 0.12852
ETHION | 2033 | 82346GCM40 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.96301 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.035306 | ETHION | . | 0.006 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96301 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7932 | 0.12094 | 0.78226 | 0.17338 | 0.12852
ETHION | 2033 | 82346GCM40 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.68545 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.035013 | ETHION | . | 0.012 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68545 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7932 | 0.12094 | 0.78226 | 0.17338 | 0.12852
ETHION | 2033 | 82346GCM40 | 2007-02-12 | 2006-04-01 | 2007-09-30 | ug/L | 1.0945 | Restek | A046582 | Restek A046582: 50 µl | 0.14344 | ETHION | . | 0.016 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0293 | 0.085456 | 1.0648 | 0.13359 | 0.099025
ETHION | 2033 | 82346GCM40 | 2007-03-02 | 2006-04-01 | 2007-09-30 | ug/L | 1.0648 | Restek | A046582 | Restek A046582: 50 µl | 0.14368 | ETHION | . | 0.016 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0648 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0293 | 0.085456 | 1.0648 | 0.13359 | 0.099025
ETHION | 2033 | 82346GCM40 | 2007-07-23 | 2006-04-01 | 2007-09-30 | ug/L | 0.91695 | Restek | A046582 | Restek A046582: 10 µl | 0.028355 | ETHION | . | 0.016 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91695 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0293 | 0.085456 | 1.0648 | 0.13359 | 0.099025
ETHION | 2033 | 82346GCM40 | 2007-09-19 | 2006-04-01 | 2007-09-30 | ug/L | 1.1093 | Restek | A046582 | Restek A046582: 50 µl | 0.14243 | ETHION | . | 0.016 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1093 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0293 | 0.085456 | 1.0648 | 0.13359 | 0.099025
ETHION | 2033 | 82346GCM40 | 2007-10-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.96094 | Restek | A046582 | Restek A046582: 10 µl | 0.029138 | ETHION | . | 0.006 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96094 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0293 | 0.085456 | 1.0648 | 0.13359 | 0.099025
ETHION | 2033 | 82346GCM40 | 2011-01-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.69164 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | ETHION | . | 0.008 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69164 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84437 | 0.21598 | 0.84437 | 0.30544 | 0.22642
ETHION | 2033 | 82346GCM40 | 2011-01-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.99709 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | ETHION | . | 0.008 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99709 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84437 | 0.21598 | 0.84437 | 0.30544 | 0.22642
ETHION | 2033 | 82346GCM40 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.95114 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.035747 | ETHION | . | 0.006 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95114 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.97793 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.03579 | ETHION | . | 0.006 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97793 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 1.1418 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.035909 | ETHION | . | 0.006 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1418 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 1.0369 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.035682 | ETHION | . | 0.006 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0369 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 0.8694 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.035657 | ETHION | . | 0.006 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8694 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.80481 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.036033 | ETHION | . | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80481 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96366 | 0.11964 | 0.96453 | 0.16754 | 0.1242
ETHION | 2033 | 82346GCM40 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.64964 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.038329 | ETHION | . | 0.008 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64964 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.3033 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.038133 | ETHION | . | 0.008 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3033 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.8777 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.075082 | ETHION | . | 0.008 | 0.0659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8777 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.80551 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.076597 | ETHION | . | 0.008 | 0.0617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80551 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905