## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHION MONOXON | 2033 | 61644GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.73674 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ETHION_MONOXON | E | 0.021 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73674 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.74965 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHION_MONOXON | E | 0.021 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74965 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.89206 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ETHION_MONOXON | E | 0.021 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89206 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.86229 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ETHION_MONOXON | E | 0.021 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86229 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.60954 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ETHION_MONOXON | E | 0.021 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60954 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.95045 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHION_MONOXON | E | 0.021 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95045 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.80012 | 0.12474 | 0.80597 | 0.15531 | 0.11513
ETHION MONOXON | 2033 | 61644GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.82236 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ETHION_MONOXON | E | 0.021 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82236 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0007 | 0.25228 | 1.0007 | 0.35677 | 0.26447
ETHION MONOXON | 2033 | 61644GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.1791 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ETHION_MONOXON | E | 0.021 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0007 | 0.25228 | 1.0007 | 0.35677 | 0.26447
ETHION MONOXON | 2033 | 61644GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.1441 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ETHION_MONOXON | E | 0.021 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1441 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0722 | 0.22817 | 1.0798 | 0.33607 | 0.24912
ETHION MONOXON | 2033 | 61644GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.0155 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ETHION_MONOXON | E | 0.021 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0722 | 0.22817 | 1.0798 | 0.33607 | 0.24912
ETHION MONOXON | 2033 | 61644GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.3363 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ETHION_MONOXON | E | 0.021 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3363 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0722 | 0.22817 | 1.0798 | 0.33607 | 0.24912
ETHION MONOXON | 2033 | 61644GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.7928 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHION_MONOXON | E | 0.021 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7928 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0722 | 0.22817 | 1.0798 | 0.33607 | 0.24912
ETHION MONOXON | 2033 | 61644GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80449 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHION_MONOXON | E | 0.021 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80449 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1049 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHION_MONOXON | E | 0.021 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1049 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.0537 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHION_MONOXON | E | 0.021 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0537 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.93243 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHION_MONOXON | E | 0.021 | 0.0939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.93243 |  | 0.93243 | 0 | 0
ETHION MONOXON | 2033 | 61644GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.83362 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ETHION_MONOXON | E | 0.021 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83362 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7695 | 0.083111 | 0.79556 | 0.11967 | 0.088708
ETHION MONOXON | 2033 | 61644GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.76608 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ETHION_MONOXON | E | 0.021 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76608 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7695 | 0.083111 | 0.79556 | 0.11967 | 0.088708
ETHION MONOXON | 2033 | 61644GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.82505 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ETHION_MONOXON | E | 0.021 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82505 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7695 | 0.083111 | 0.79556 | 0.11967 | 0.088708
ETHION MONOXON | 2033 | 61644GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.65325 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ETHION_MONOXON | E | 0.021 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65325 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7695 | 0.083111 | 0.79556 | 0.11967 | 0.088708