## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-02-28 | 2006-10-01 | 2008-09-30 | ug/L | 1.002 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10678 | ETHOPROPHOS | . | 0.012 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.79192 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10607 | ETHOPROPHOS | . | 0.012 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79192 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-05-07 | 2006-10-01 | 2008-09-30 | ug/L | 0.8658 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10511 | ETHOPROPHOS | . | 0.012 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8658 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-07-08 | 2006-10-01 | 2008-09-30 | ug/L | 0.92316 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10507 | ETHOPROPHOS | . | 0.012 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92316 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-09-16 | 2006-10-01 | 2008-09-30 | ug/L | 1.2519 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10304 | ETHOPROPHOS | . | 0.012 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2519 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0813 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10358 | ETHOPROPHOS | . | 0.016 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0813 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98602 | 0.16499 | 0.9626 | 0.21548 | 0.15973
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1251 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.098657 | ETHOPROPHOS | . | 0.016 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1251 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1251 |  | 1.1251 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 1.1947 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ETHOPROPHOS | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1947 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.89691 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHOPROPHOS | . | 0.012 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89691 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.1218 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ETHOPROPHOS | . | 0.012 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1218 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 1.0913 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ETHOPROPHOS | . | 0.012 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0913 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ETHOPROPHOS | . | 0.012 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 1.1111 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ETHOPROPHOS | . | 0.012 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0686 | 0.10571 | 1.1012 | 0.12624 | 0.093584
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.065 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ETHOPROPHOS | . | 0.016 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2183 | 0.21681 | 1.2183 | 0.30662 | 0.2273
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3716 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ETHOPROPHOS | . | 0.016 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3716 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2183 | 0.21681 | 1.2183 | 0.30662 | 0.2273
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.6098 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ETHOPROPHOS | . | 0.016 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6098 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1483 | 0.32338 | 1.0374 | 0.44734 | 0.33161
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1342 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ETHOPROPHOS | . | 0.016 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1342 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1483 | 0.32338 | 1.0374 | 0.44734 | 0.33161
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.90866 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ETHOPROPHOS | . | 0.016 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90866 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1483 | 0.32338 | 1.0374 | 0.44734 | 0.33161
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.94061 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHOPROPHOS | . | 0.016 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94061 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1483 | 0.32338 | 1.0374 | 0.44734 | 0.33161
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.1113 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHOPROPHOS | . | 0.016 | 0.0431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1113 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.4526 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHOPROPHOS | . | 0.016 | 0.0589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4526 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3085 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHOPROPHOS | . | 0.016 | 0.0529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3085 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1122 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHOPROPHOS | . | 0.016 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1122 |  | 1.1122 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 1.1512 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ETHOPROPHOS | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1512 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1342 | 0.15212 | 1.1437 | 0.19321 | 0.14322
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 1.3104 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ETHOPROPHOS | . | 0.012 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3104 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1342 | 0.15212 | 1.1437 | 0.19321 | 0.14322
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 1.1361 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ETHOPROPHOS | . | 0.012 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1342 | 0.15212 | 1.1437 | 0.19321 | 0.14322
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.93904 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ETHOPROPHOS | . | 0.016 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93904 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1342 | 0.15212 | 1.1437 | 0.19321 | 0.14322
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-04-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.94733 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.029557 | ETHOPROPHOS | . | 0.012 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94733 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2779 | 0.41539 | 1.1391 | 0.47679 | 0.35344
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-07-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.886 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.0058326 | ETHOPROPHOS | E | 0.012 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.886 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.2779 | 0.41539 | 1.1391 | 0.47679 | 0.35344
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-09-12 | 2006-10-01 | 2008-09-30 | ug/L | 1.1316 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.030045 | ETHOPROPHOS | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1316 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2779 | 0.41539 | 1.1391 | 0.47679 | 0.35344
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-11-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.1466 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.029653 | ETHOPROPHOS | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1466 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2779 | 0.41539 | 1.1391 | 0.47679 | 0.35344
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-03-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.99593 | Restek | A053526 | Restek A053526: 50 µl | 0.11045 | ETHOPROPHOS | . | 0.012 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99593 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-04-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.89614 | Restek | A053526 | Restek A053526: 50 µl | 0.10936 | ETHOPROPHOS | . | 0.012 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89614 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-05-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.84144 | Restek | A053526 | Restek A053526: 50 µl | 0.10934 | ETHOPROPHOS | . | 0.012 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84144 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.93867 | Restek | A053526 | Restek A053526: 50 µl | 0.11399 | ETHOPROPHOS | . | 0.012 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93867 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 0.85102 | Restek | A053526 | Restek A053526: 50 µl | 0.10811 | ETHOPROPHOS | . | 0.012 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85102 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.1333 | Restek | A053526 | Restek A053526: 50 µl | 0.10941 | ETHOPROPHOS | . | 0.016 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94275 | 0.10956 | 0.9174 | 0.14491 | 0.10742
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.91993 | Restek | A063025 | Restek A063025: 40 µl | 0.20654 | ETHOPROPHOS | . | 0.016 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91993 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0479 | 0.095629 | 1.076 | 0.10779 | 0.079906
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.076 | Restek | A063025 | Restek A063025: 25 µl | 0.13755 | ETHOPROPHOS | . | 0.016 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0479 | 0.095629 | 1.076 | 0.10779 | 0.079906
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.0936 | Restek | A063025 | Restek A063025: 25 µl | 0.13167 | ETHOPROPHOS | . | 0.016 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0936 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0479 | 0.095629 | 1.076 | 0.10779 | 0.079906
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.98584 | Restek | A063025 | Restek A063025: 40 µl | 0.21504 | ETHOPROPHOS | . | 0.016 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98584 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0479 | 0.095629 | 1.076 | 0.10779 | 0.079906
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.164 | Restek | A063025 | Restek A063025: 25 µl | 0.13316 | ETHOPROPHOS | . | 0.016 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.164 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0479 | 0.095629 | 1.076 | 0.10779 | 0.079906
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.2699 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.052209 | ETHOPROPHOS | . | 0.016 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2699 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93669 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.26263 | ETHOPROPHOS | . | 0.016 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93669 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2059 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.053072 | ETHOPROPHOS | . | 0.016 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2059 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92454 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.10686 | ETHOPROPHOS | . | 0.016 | 0.0988 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92454 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1254 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | ETHOPROPHOS | . | 0.016 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1254 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2558 | 0.18444 | 1.2558 | 0.26084 | 0.19336
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3862 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | ETHOPROPHOS | . | 0.016 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3862 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2558 | 0.18444 | 1.2558 | 0.26084 | 0.19336
ETHOPROPHOS | 2033 | 82672GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.87187 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1319 | ETHOPROPHOS | . | 0.016 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87187 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.85113 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.21148 | ETHOPROPHOS | . | 0.016 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85113 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.2869 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.14298 | ETHOPROPHOS | . | 0.016 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2869 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.7966 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13136 | ETHOPROPHOS | . | 0.016 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7966 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.89769 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13256 | ETHOPROPHOS | . | 0.016 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89769 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1127 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13211 | ETHOPROPHOS | . | 0.016 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1127 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1361 | 0.36534 | 1.0052 | 0.41501 | 0.30764
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 0.9386 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.027701 | ETHOPROPHOS | . | 0.012 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9386 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.3105 | 0.44429 | 1.1905 | 0.86392 | 0.64041
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 1.8025 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.0055478 | ETHOPROPHOS | E | 0.012 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.8025 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.3105 | 0.44429 | 1.1905 | 0.86392 | 0.64041
ETHOPROPHOS | 2033 | 82672GCM35 | 2007-03-08 | 2006-10-01 | 2008-09-30 | ug/L | 1.1905 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.02772 | ETHOPROPHOS | . | 0.012 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1905 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.3105 | 0.44429 | 1.1905 | 0.86392 | 0.64041
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.90756 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10236 | ETHOPROPHOS | . | 0.016 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90756 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.774 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.052819 | ETHOPROPHOS | E | 0.016 | 0.0937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.774 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2039 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10632 | ETHOPROPHOS | . | 0.016 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2039 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.91185 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.052531 | ETHOPROPHOS | E | 0.016 | 0.0479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91185 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294