## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS | 2033 | 61591GCM39 | 2008-02-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.81665 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17266 | FENAMIPHOS | . | 0.029 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81665 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.70577 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17711 | FENAMIPHOS | . | 0.029 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70577 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.74001 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17027 | FENAMIPHOS | . | 0.029 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74001 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2008-07-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.56247 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17068 | FENAMIPHOS | . | 0.029 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56247 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2008-09-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.50609 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.16993 | FENAMIPHOS | . | 0.029 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50609 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2008-11-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.57744 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17145 | FENAMIPHOS | . | 0.029 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57744 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65141 | 0.1205 | 0.64161 | 0.17754 | 0.13161
FENAMIPHOS | 2033 | 61591GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.86512 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.065887 | FENAMIPHOS | . | 0.029 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86512 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.82536 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.067849 | FENAMIPHOS | . | 0.029 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82536 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.89009 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.11347 | FENAMIPHOS | . | 0.029 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89009 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.93702 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.067234 | FENAMIPHOS | . | 0.029 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93702 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0088 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.10706 | FENAMIPHOS | . | 0.03 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2552 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.066924 | FENAMIPHOS | . | 0.03 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2552 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96359 | 0.15618 | 0.91356 | 0.14369 | 0.10652
FENAMIPHOS | 2033 | 61591GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.76047 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.042079 | FENAMIPHOS | . | 0.029 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76047 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.91384 | 0.24053 | 0.78998 | 0.43059 | 0.31919
FENAMIPHOS | 2033 | 61591GCM39 | 2007-05-21 | 2006-04-01 | 2009-09-30 | ug/L | 1.1911 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.0083959 | FENAMIPHOS | E | 0.029 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1911 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.91384 | 0.24053 | 0.78998 | 0.43059 | 0.31919
FENAMIPHOS | 2033 | 61591GCM39 | 2007-08-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.78998 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.041773 | FENAMIPHOS | . | 0.029 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78998 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.91384 | 0.24053 | 0.78998 | 0.43059 | 0.31919
FENAMIPHOS | 2033 | 61591GCM39 | 2007-04-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.93954 | Accu | B6070194 | Accu B6070194: 10 µl | 0.0085149 | FENAMIPHOS | E | 0.029 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93953 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.97366 | 0.21362 | 0.99961 | 0.31207 | 0.23133
FENAMIPHOS | 2033 | 61591GCM39 | 2007-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 1.0597 | Accu | B6070194 | Accu B6070194: 50 µl | 0.042465 | FENAMIPHOS | . | 0.029 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97366 | 0.21362 | 0.99961 | 0.31207 | 0.23133
FENAMIPHOS | 2033 | 61591GCM39 | 2007-10-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.69572 | Accu | B6070194 | Accu B6070194: 10 µl | 0.0086241 | FENAMIPHOS | E | 0.029 | 0.006 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69572 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.97366 | 0.21362 | 0.99961 | 0.31207 | 0.23133
FENAMIPHOS | 2033 | 61591GCM39 | 2007-12-12 | 2006-04-01 | 2009-09-30 | ug/L | 1.1997 | Accu | B6070194 | Accu B6070194: 50 µl | 0.042511 | FENAMIPHOS | . | 0.029 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1997 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97366 | 0.21362 | 0.99961 | 0.31207 | 0.23133
FENAMIPHOS | 2033 | 61591GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.79468 | Accu | B8090098 | Accu B8090098: 40 µl | 0.10948 | FENAMIPHOS | . | 0.029 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79468 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88897 | 0.19709 | 0.80774 | 0.042358 | 0.031399
FENAMIPHOS | 2033 | 61591GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.80774 | Accu | B8090098 | Accu B8090098: 25 µl | 0.071805 | FENAMIPHOS | . | 0.029 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80774 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88897 | 0.19709 | 0.80774 | 0.042358 | 0.031399
FENAMIPHOS | 2033 | 61591GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.83703 | Accu | B8090098 | Accu B8090098: 40 µl | 0.10872 | FENAMIPHOS | . | 0.029 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83703 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88897 | 0.19709 | 0.80774 | 0.042358 | 0.031399
FENAMIPHOS | 2033 | 61591GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.76676 | Accu | B8090098 | Accu B8090098: 25 µl | 0.066514 | FENAMIPHOS | . | 0.029 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76676 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88897 | 0.19709 | 0.80774 | 0.042358 | 0.031399
FENAMIPHOS | 2033 | 61591GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2386 | Accu | B8090098 | Accu B8090098: 25 µl | 0.067009 | FENAMIPHOS | E | 0.03 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2386 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.88897 | 0.19709 | 0.80774 | 0.042358 | 0.031399
FENAMIPHOS | 2033 | 61591GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.95578 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | FENAMIPHOS | . | 0.029 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95578 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.82997 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS | . | 0.029 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82997 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.87854 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | FENAMIPHOS | . | 0.029 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87854 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.78145 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | FENAMIPHOS | . | 0.029 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78145 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.67049 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | FENAMIPHOS | . | 0.029 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67049 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.97723 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS | . | 0.029 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97723 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84891 | 0.11446 | 0.85426 | 0.17432 | 0.12922
FENAMIPHOS | 2033 | 61591GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.84932 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | FENAMIPHOS | . | 0.029 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84932 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0323 | 0.25874 | 1.0323 | 0.36591 | 0.27124
FENAMIPHOS | 2033 | 61591GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.2152 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | FENAMIPHOS | . | 0.029 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2152 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0323 | 0.25874 | 1.0323 | 0.36591 | 0.27124
FENAMIPHOS | 2033 | 61591GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.1708 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | FENAMIPHOS | . | 0.029 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1708 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0685 | 0.24908 | 1.1195 | 0.34322 | 0.25443
FENAMIPHOS | 2033 | 61591GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.0682 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | FENAMIPHOS | . | 0.029 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0682 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0685 | 0.24908 | 1.1195 | 0.34322 | 0.25443
FENAMIPHOS | 2033 | 61591GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.3095 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | FENAMIPHOS | . | 0.029 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3095 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0685 | 0.24908 | 1.1195 | 0.34322 | 0.25443
FENAMIPHOS | 2033 | 61591GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.72562 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FENAMIPHOS | . | 0.029 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72562 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0685 | 0.24908 | 1.1195 | 0.34322 | 0.25443
FENAMIPHOS | 2033 | 61591GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.92052 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FENAMIPHOS | . | 0.03 | 0.0357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92053 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0223 | 0.10507 | 1.0161 | 0.20987 | 0.15557
FENAMIPHOS | 2033 | 61591GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0161 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FENAMIPHOS | . | 0.03 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0161 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0223 | 0.10507 | 1.0161 | 0.20987 | 0.15557
FENAMIPHOS | 2033 | 61591GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1304 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FENAMIPHOS | . | 0.03 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1304 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0223 | 0.10507 | 1.0161 | 0.20987 | 0.15557
FENAMIPHOS | 2033 | 61591GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.87384 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FENAMIPHOS | . | 0.03 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87384 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87384 |  | 0.87384 | 0 | 0
FENAMIPHOS | 2033 | 61591GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.9924 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | FENAMIPHOS | . | 0.029 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9924 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80775 | 0.12725 | 0.76649 | 0.16138 | 0.11963
FENAMIPHOS | 2033 | 61591GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.7056 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | FENAMIPHOS | . | 0.029 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7056 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80775 | 0.12725 | 0.76649 | 0.16138 | 0.11963
FENAMIPHOS | 2033 | 61591GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.78447 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | FENAMIPHOS | . | 0.029 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78447 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80775 | 0.12725 | 0.76649 | 0.16138 | 0.11963
FENAMIPHOS | 2033 | 61591GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.74851 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | FENAMIPHOS | . | 0.029 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74851 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80775 | 0.12725 | 0.76649 | 0.16138 | 0.11963
FENAMIPHOS | 2033 | 61591GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.2959 | Restek | A075606 | Restek A075606: 40 µl | 0.038506 | FENAMIPHOS | . | 0.03 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2959 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.273 | 0.032338 | 1.273 | 0.045733 | 0.033902
FENAMIPHOS | 2033 | 61591GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2502 | Restek | A075606 | Restek A075606: 80 µl | 0.07967 | FENAMIPHOS | . | 0.03 | 0.0996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2502 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.273 | 0.032338 | 1.273 | 0.045733 | 0.033902
FENAMIPHOS | 2033 | 61591GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.77688 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.040161 | FENAMIPHOS | . | 0.03 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77688 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78221 | 0.10074 | 0.77346 | 0.12612 | 0.093495
FENAMIPHOS | 2033 | 61591GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66825 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.20202 | FENAMIPHOS | . | 0.03 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66825 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78221 | 0.10074 | 0.77346 | 0.12612 | 0.093495
FENAMIPHOS | 2033 | 61591GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.91366 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.040825 | FENAMIPHOS | . | 0.03 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91366 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78221 | 0.10074 | 0.77346 | 0.12612 | 0.093495
FENAMIPHOS | 2033 | 61591GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.77004 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.082203 | FENAMIPHOS | . | 0.03 | 0.0633 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77004 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78221 | 0.10074 | 0.77346 | 0.12612 | 0.093495
FENAMIPHOS | 2033 | 61591GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.8458 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.039489 | FENAMIPHOS | . | 0.03 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8458 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.8458 |  | 0.8458 | 0 | 0
FENAMIPHOS | 2033 | 61591GCM39 | 2008-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.75087 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.16914 | FENAMIPHOS | . | 0.029 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75087 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69455 | 0.18916 | 0.64605 | 0.18864 | 0.13983
FENAMIPHOS | 2033 | 61591GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.99379 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17609 | FENAMIPHOS | . | 0.029 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99379 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69455 | 0.18916 | 0.64605 | 0.18864 | 0.13983
FENAMIPHOS | 2033 | 61591GCM39 | 2008-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.56223 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.16897 | FENAMIPHOS | . | 0.029 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56223 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69455 | 0.18916 | 0.64605 | 0.18864 | 0.13983
FENAMIPHOS | 2033 | 61591GCM39 | 2008-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.64605 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.16872 | FENAMIPHOS | . | 0.029 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64605 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69455 | 0.18916 | 0.64605 | 0.18864 | 0.13983
FENAMIPHOS | 2033 | 61591GCM39 | 2008-10-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.51979 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.16545 | FENAMIPHOS | . | 0.029 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51979 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69455 | 0.18916 | 0.64605 | 0.18864 | 0.13983
FENAMIPHOS | 2033 | 61591GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.59309 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.07874 | FENAMIPHOS | . | 0.03 | 0.0467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59309 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76 | 0.20442 | 0.75936 | 0.35345 | 0.26201
FENAMIPHOS | 2033 | 61591GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.57347 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.04063 | FENAMIPHOS | E | 0.03 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57347 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.76 | 0.20442 | 0.75936 | 0.35345 | 0.26201
FENAMIPHOS | 2033 | 61591GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.92562 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.081783 | FENAMIPHOS | . | 0.03 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92562 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76 | 0.20442 | 0.75936 | 0.35345 | 0.26201
FENAMIPHOS | 2033 | 61591GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94783 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.040408 | FENAMIPHOS | . | 0.03 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94783 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76 | 0.20442 | 0.75936 | 0.35345 | 0.26201