## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-02-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.64517 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.1767 | FENAMIPHOS_SULFONE | . | 0.053 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64517 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.65654 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.18125 | FENAMIPHOS_SULFONE | . | 0.053 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65654 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.67719 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17425 | FENAMIPHOS_SULFONE | E | 0.053 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67719 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-07-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.54961 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17467 | FENAMIPHOS_SULFONE | E | 0.053 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54961 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-09-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.72454 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.1739 | FENAMIPHOS_SULFONE | . | 0.053 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72454 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-11-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.49585 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17546 | FENAMIPHOS_SULFONE | . | 0.053 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49585 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62482 | 0.085317 | 0.65086 | 0.12757 | 0.094567
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.1052 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.086862 | FENAMIPHOS_SULFONE | . | 0.053 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1052 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.5478 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.089449 | FENAMIPHOS_SULFONE | E | 0.053 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5478 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.9158 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.1496 | FENAMIPHOS_SULFONE | . | 0.053 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9158 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.72204 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.088638 | FENAMIPHOS_SULFONE | . | 0.053 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72204 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.94942 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.14114 | FENAMIPHOS_SULFONE | . | 0.053 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94942 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2921 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.088229 | FENAMIPHOS_SULFONE | . | 0.053 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2921 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92206 | 0.26508 | 0.93261 | 0.38316 | 0.28404
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.4999 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.09802 | FENAMIPHOS_SULFONE | E | 0.053 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4999 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.79497 | 0.33756 | 0.73252 | 0.54538 | 0.40429
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-05-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.92036 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.019558 | FENAMIPHOS_SULFONE | E | 0.053 | 0.018 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92036 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.79497 | 0.33756 | 0.73252 | 0.54538 | 0.40429
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-08-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.54467 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.097307 | FENAMIPHOS_SULFONE | . | 0.053 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54467 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79497 | 0.33756 | 0.73252 | 0.54538 | 0.40429
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-10-02 | 2006-04-01 | 2009-09-30 | ug/L | 1.215 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.019754 | FENAMIPHOS_SULFONE | E | 0.053 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.215 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.79497 | 0.33756 | 0.73252 | 0.54538 | 0.40429
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.67464 | Accu | 209081187 | Accu 209081187: 100 µl | 0.38984 | FENAMIPHOS_SULFONE | . | 0.053 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67464 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91683 | 0.13827 | 0.95142 | 0.045715 | 0.033888
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.99472 | Accu | 209081187 | Accu 209081187: 20 µl | 0.078615 | FENAMIPHOS_SULFONE | . | 0.053 | 0.0782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99472 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91683 | 0.13827 | 0.95142 | 0.045715 | 0.033888
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.949 | Accu | 209081187 | Accu 209081187: 20 µl | 0.082402 | FENAMIPHOS_SULFONE | . | 0.053 | 0.0782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.949 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91683 | 0.13827 | 0.95142 | 0.045715 | 0.033888
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0144 | Accu | 209081187 | Accu 209081187: 40 µl | 0.16069 | FENAMIPHOS_SULFONE | E | 0.053 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0144 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.91683 | 0.13827 | 0.95142 | 0.045715 | 0.033888
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.95142 | Accu | 209081187 | Accu 209081187: 40 µl | 0.15976 | FENAMIPHOS_SULFONE | . | 0.054 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95142 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91683 | 0.13827 | 0.95142 | 0.045715 | 0.033888
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-04-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.65 | Accu | B6070194 | Accu B6070194: 10 µl | 0.02 | FENAMIPHOS_SULFONE | E | 0.053 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.86007 | 0.1604 | 0.87679 | 0.21887 | 0.16225
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.90232 | Accu | B6070194 | Accu B6070194: 50 µl | 0.099743 | FENAMIPHOS_SULFONE | E | 0.053 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90232 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.86007 | 0.1604 | 0.87679 | 0.21887 | 0.16225
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-10-23 | 2006-04-01 | 2009-09-30 | ug/L | 1.0367 | Accu | B6070194 | Accu B6070194: 10 µl | 0.020257 | FENAMIPHOS_SULFONE | E | 0.053 | 0.021 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0367 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.86007 | 0.1604 | 0.87679 | 0.21887 | 0.16225
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-12-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.85126 | Accu | B6070194 | Accu B6070194: 50 µl | 0.099852 | FENAMIPHOS_SULFONE | . | 0.053 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85126 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86007 | 0.1604 | 0.87679 | 0.21887 | 0.16225
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 1.0897 | Accu | B8090098 | Accu B8090098: 40 µl | 0.14224 | FENAMIPHOS_SULFONE | . | 0.053 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0897 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99167 | 0.15938 | 0.92185 | 0.18232 | 0.13515
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.92185 | Accu | B8090098 | Accu B8090098: 25 µl | 0.093291 | FENAMIPHOS_SULFONE | . | 0.053 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92185 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99167 | 0.15938 | 0.92185 | 0.18232 | 0.13515
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.2177 | Accu | B8090098 | Accu B8090098: 40 µl | 0.14125 | FENAMIPHOS_SULFONE | . | 0.053 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2177 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99167 | 0.15938 | 0.92185 | 0.18232 | 0.13515
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.82161 | Accu | B8090098 | Accu B8090098: 25 µl | 0.086416 | FENAMIPHOS_SULFONE | . | 0.053 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82161 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99167 | 0.15938 | 0.92185 | 0.18232 | 0.13515
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90742 | Accu | B8090098 | Accu B8090098: 25 µl | 0.08706 | FENAMIPHOS_SULFONE | E | 0.053 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90742 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.99167 | 0.15938 | 0.92185 | 0.18232 | 0.13515
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.85849 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.07851 | FENAMIPHOS_SULFONE | . | 0.053 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85849 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.8923 | 0.2297 | 0.85849 | 0.45564 | 0.33776
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.68139 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.15556 | FENAMIPHOS_SULFONE | E | 0.053 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68139 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.8923 | 0.2297 | 0.85849 | 0.45564 | 0.33776
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.137 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.078274 | FENAMIPHOS_SULFONE | E | 0.054 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.137 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.8923 | 0.2297 | 0.85849 | 0.45564 | 0.33776
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.53762 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | FENAMIPHOS_SULFONE | E | 0.053 | 0.027 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.53762 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.50869 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS_SULFONE | E | 0.053 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50869 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.7569 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | FENAMIPHOS_SULFONE | . | 0.053 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7569 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.56588 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | FENAMIPHOS_SULFONE | E | 0.053 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56588 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.52827 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | FENAMIPHOS_SULFONE | E | 0.053 | 0.026 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.52827 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.64256 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS_SULFONE | E | 0.053 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64256 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.58999 | 0.094195 | 0.55175 | 0.11429 | 0.084723
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.7954 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | FENAMIPHOS_SULFONE | . | 0.053 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7954 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.90304 | 0.15223 | 0.90304 | 0.21529 | 0.15959
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.0107 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | FENAMIPHOS_SULFONE | . | 0.053 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.90304 | 0.15223 | 0.90304 | 0.21529 | 0.15959
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.1841 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | FENAMIPHOS_SULFONE | E | 0.053 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1841 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97816 | 0.22363 | 1.0284 | 0.32234 | 0.23895
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.0946 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | FENAMIPHOS_SULFONE | . | 0.053 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0946 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97816 | 0.22363 | 1.0284 | 0.32234 | 0.23895
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.96211 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | FENAMIPHOS_SULFONE | . | 0.053 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96211 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97816 | 0.22363 | 1.0284 | 0.32234 | 0.23895
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.67187 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FENAMIPHOS_SULFONE | E | 0.053 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67187 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97816 | 0.22363 | 1.0284 | 0.32234 | 0.23895
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.70909 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FENAMIPHOS_SULFONE | E | 0.053 | 0.0275 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70909 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.94584 | 0.2871 | 0.86325 | 0.5561 | 0.41223
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2652 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FENAMIPHOS_SULFONE | E | 0.053 | 0.0513 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2652 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.94584 | 0.2871 | 0.86325 | 0.5561 | 0.41223
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.86325 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FENAMIPHOS_SULFONE | . | 0.054 | 0.0349 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86325 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.94584 | 0.2871 | 0.86325 | 0.5561 | 0.41223
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FENAMIPHOS_SULFONE | . | 0.054 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0526 |  | 1.0526 | 0 | 0
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.0718 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | FENAMIPHOS_SULFONE | . | 0.053 | 0.054 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0718 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.96993 | 0.2922 | 0.97139 | 0.4439 | 0.32906
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.62496 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | FENAMIPHOS_SULFONE | E | 0.053 | 0.031 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62496 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.96993 | 0.2922 | 0.97139 | 0.4439 | 0.32906
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.312 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | FENAMIPHOS_SULFONE | . | 0.053 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.312 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96993 | 0.2922 | 0.97139 | 0.4439 | 0.32906
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.871 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | FENAMIPHOS_SULFONE | . | 0.053 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96993 | 0.2922 | 0.97139 | 0.4439 | 0.32906
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1848 | Restek | A075606 | Restek A075606: 40 µl | 0.066511 | FENAMIPHOS_SULFONE | . | 0.054 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1848 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1229 | 0.087547 | 1.1229 | 0.12381 | 0.091779
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.061 | Restek | A075606 | Restek A075606: 80 µl | 0.13761 | FENAMIPHOS_SULFONE | . | 0.054 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.061 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1229 | 0.087547 | 1.1229 | 0.12381 | 0.091779
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.58316 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.068249 | FENAMIPHOS_SULFONE | E | 0.054 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58316 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.58316 |  | 0.58316 | 0 | 0
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.66624 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17411 | FENAMIPHOS_SULFONE | E | 0.053 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66624 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.66413 | 0.13617 | 0.59301 | 0.079825 | 0.059174
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.8992 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.18127 | FENAMIPHOS_SULFONE | E | 0.053 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8992 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.66413 | 0.13617 | 0.59301 | 0.079825 | 0.059174
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.58641 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17394 | FENAMIPHOS_SULFONE | . | 0.053 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58641 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66413 | 0.13617 | 0.59301 | 0.079825 | 0.059174
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.57577 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17368 | FENAMIPHOS_SULFONE | . | 0.053 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57577 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66413 | 0.13617 | 0.59301 | 0.079825 | 0.059174
FENAMIPHOS SULFONE | 2033 | 61645GCM39 | 2008-10-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.59301 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17032 | FENAMIPHOS_SULFONE | . | 0.053 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59301 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66413 | 0.13617 | 0.59301 | 0.079825 | 0.059174