## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-02-23 | 2006-04-01 | 2008-02-29 | ug/L | 0.28169 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22365 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28169 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-04-03 | 2008-03-01 | 2008-09-30 | ug/L | 0.29641 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22941 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29641 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-04-28 | 2008-03-01 | 2008-09-30 | ug/L | 0.22217 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22055 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22217 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-07-02 | 2008-03-01 | 2008-09-30 | ug/L | 0.17641 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22108 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17641 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-09-11 | 2008-03-01 | 2008-09-30 | ug/L | 0.15901 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22011 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15901 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-11-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.1576 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.22208 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1576 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.21555 | 0.061715 | 0.19929 | 0.12268 | 0.090945
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-03-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.22724 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.40926 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22724 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.28851 | 0.061195 | 0.28866 | 0.12239 | 0.090726
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.28866 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.2425 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28866 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.28851 | 0.061195 | 0.28866 | 0.12239 | 0.090726
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.34963 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.38613 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34963 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.28851 | 0.061195 | 0.28866 | 0.12239 | 0.090726
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-08-08 | 2006-04-01 | 2008-02-29 | ug/L | 0.41265 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.070277 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41265 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.80213 | 0.5508 | 0.80213 | 0.77895 | 0.57743
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-10-02 | 2006-04-01 | 2008-02-29 | ug/L | 1.1916 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.014266 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.017 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1916 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.80213 | 0.5508 | 0.80213 | 0.77895 | 0.57743
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.11676 | Accu | 209081187 | Accu 209081187: 100 µl | 0.91641 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11676 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.17316 | Accu | 209081187 | Accu 209081187: 20 µl | 0.1848 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17316 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.31239 | Accu | 209081187 | Accu 209081187: 40 µl | 0.37774 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31239 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.25562 | Accu | 209081187 | Accu 209081187: 40 µl | 0.37556 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25562 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-07-30 | 2006-04-01 | 2008-02-29 | ug/L | 0.354 | Accu | B6070194 | Accu B6070194: 50 µl | 0.067796 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.354 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.54536 | 0.27061 | 0.54536 | 0.3827 | 0.28369
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-12-12 | 2006-04-01 | 2008-02-29 | ug/L | 0.73671 | Accu | B6070194 | Accu B6070194: 50 µl | 0.06787 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73671 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.54536 | 0.27061 | 0.54536 | 0.3827 | 0.28369
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.13139 | Accu | B8090098 | Accu B8090098: 40 µl | 0.38815 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13139 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24264 | 0.085541 | 0.29885 | 0.13641 | 0.10112
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.16891 | Accu | B8090098 | Accu B8090098: 25 µl | 0.25458 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16891 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24264 | 0.085541 | 0.29885 | 0.13641 | 0.10112
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.30873 | Accu | B8090098 | Accu B8090098: 40 µl | 0.38545 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30873 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24264 | 0.085541 | 0.29885 | 0.13641 | 0.10112
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.30532 | Accu | B8090098 | Accu B8090098: 25 µl | 0.23582 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30532 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24264 | 0.085541 | 0.29885 | 0.13641 | 0.10112
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.29885 | Accu | B8090098 | Accu B8090098: 25 µl | 0.23758 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29885 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24264 | 0.085541 | 0.29885 | 0.13641 | 0.10112
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.19409 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.37096 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19409 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.2792 | 0.12036 | 0.2792 | 0.17022 | 0.12618
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.36431 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.18665 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36431 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.2792 | 0.12036 | 0.2792 | 0.17022 | 0.12618
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-02-16 | 2006-04-01 | 2008-02-29 | ug/L | 0.53762 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53762 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.50039 | 0.15268 | 0.53762 | 0.12617 | 0.093529
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-04-09 | 2006-04-01 | 2008-02-29 | ug/L | 0.25435 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25435 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.50039 | 0.15268 | 0.53762 | 0.12617 | 0.093529
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-05-29 | 2006-04-01 | 2008-02-29 | ug/L | 0.5947 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5947 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.50039 | 0.15268 | 0.53762 | 0.12617 | 0.093529
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-08-15 | 2006-04-01 | 2008-02-29 | ug/L | 0.64672 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64672 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.50039 | 0.15268 | 0.53762 | 0.12617 | 0.093529
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2007-12-14 | 2006-04-01 | 2008-02-29 | ug/L | 0.46853 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FENAMIPHOS_SULFOXIDE | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46853 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.50039 | 0.15268 | 0.53762 | 0.12617 | 0.093529
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.12133 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.12133 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.24115 | 0.16944 | 0.24115 | 0.23963 | 0.17763
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.36096 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36096 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.24115 | 0.16944 | 0.24115 | 0.23963 | 0.17763
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.3193 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.3193 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.49267 | 0.13093 | 0.51577 | 0.19573 | 0.14509
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.61984 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.047 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.61984 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.49267 | 0.13093 | 0.51577 | 0.19573 | 0.14509
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.56123 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56123 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.49267 | 0.13093 | 0.51577 | 0.19573 | 0.14509
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.47031 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47031 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.49267 | 0.13093 | 0.51577 | 0.19573 | 0.14509
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.41256 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41256 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.91251 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.037 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.91251 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.22262 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.22262 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.45678 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45678 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.45678 |  | 0.45678 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-04-15 | 2008-03-01 | 2008-09-30 | ug/L | 0.15878 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15878 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.26989 | 0.1065 | 0.26987 | 0.17941 | 0.13299
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-06-23 | 2008-03-01 | 2008-09-30 | ug/L | 0.2016 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.2016 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.26989 | 0.1065 | 0.26987 | 0.17941 | 0.13299
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-08-27 | 2008-03-01 | 2008-09-30 | ug/L | 0.33813 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.025 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.33813 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.26989 | 0.1065 | 0.26987 | 0.17941 | 0.13299
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.38106 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.38106 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.26989 | 0.1065 | 0.26987 | 0.17941 | 0.13299
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.34287 | Restek | A075606 | Restek A075606: 40 µl | 0.19249 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34287 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.21663 | 0.17853 | 0.21663 | 0.25248 | 0.18716
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.090391 | Restek | A075606 | Restek A075606: 80 µl | 0.39827 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.090391 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.21663 | 0.17853 | 0.21663 | 0.25248 | 0.18716
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.162 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19753 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.162 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.162 |  | 0.162 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-03-04 | 2008-03-01 | 2008-09-30 | ug/L | 0.4523 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.21888 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45229 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.28484 | 0.12627 | 0.27938 | 0.068442 | 0.050736
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-04-15 | 2008-03-01 | 2008-09-30 | ug/L | 0.32911 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.22788 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32911 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.28484 | 0.12627 | 0.27938 | 0.068442 | 0.050736
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-05-14 | 2008-03-01 | 2008-09-30 | ug/L | 0.26067 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.21867 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26067 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.28484 | 0.12627 | 0.27938 | 0.068442 | 0.050736
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-08-12 | 2008-03-01 | 2008-09-30 | ug/L | 0.27938 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.21834 | FENAMIPHOS_SULFOXIDE | E | 0.2 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27938 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.28484 | 0.12627 | 0.27938 | 0.068442 | 0.050736
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2008-10-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.10275 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.21411 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10275 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.28484 | 0.12627 | 0.27938 | 0.068442 | 0.050736