## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FIPRONIL | 2033 | 62166GCM29 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.69651 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12634 | FIPRONIL | E | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69651 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.63025 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13011 | FIPRONIL | E | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63025 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2009-03-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.81344 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.21759 | FIPRONIL | E | 0.04 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81344 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0161 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12893 | FIPRONIL | E | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0161 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.81834 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.20529 | FIPRONIL | E | 0.018 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81834 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.98182 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12833 | FIPRONIL | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98182 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82607 | 0.15212 | 0.81589 | 0.28531 | 0.2115
FIPRONIL | 2033 | 62166GCM29 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.7217 | Accu | 209081187 | Accu 209081187: 100 µl | 0.71082 | FIPRONIL | E | 0.018 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7217 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.83714 | Accu | 209081187 | Accu 209081187: 20 µl | 0.14335 | FIPRONIL | E | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83714 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.81863 | Accu | 209081187 | Accu 209081187: 20 µl | 0.15025 | FIPRONIL | E | 0.018 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81863 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.75769 | Accu | 209081187 | Accu 209081187: 40 µl | 0.29299 | FIPRONIL | E | 0.018 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75769 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.79984 | Accu | 209081187 | Accu 209081187: 40 µl | 0.29131 | FIPRONIL | E | 0.018 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79984 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0235 | Accu | B8090098 | Accu B8090098: 40 µl | 0.20812 | FIPRONIL | E | 0.04 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0235 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0095 | 0.1884 | 1.0235 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.77655 | Accu | B8090098 | Accu B8090098: 25 µl | 0.1365 | FIPRONIL | E | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77655 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0095 | 0.1884 | 1.0235 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.2532 | Accu | B8090098 | Accu B8090098: 40 µl | 0.20667 | FIPRONIL | E | 0.04 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2532 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0095 | 0.1884 | 1.0235 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.1151 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12644 | FIPRONIL | E | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1151 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0095 | 0.1884 | 1.0235 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.87922 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12739 | FIPRONIL | E | 0.018 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87922 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0095 | 0.1884 | 1.0235 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2007-03-19 | 2005-03-04 | 2007-09-30 | ug/L | 0.64198 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.029596 | FIPRONIL | E | 0.016 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64198 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1827 | 0.58266 | 1.1296 | 0.98242 | 0.72826
FIPRONIL | 2033 | 62166GCM29 | 2007-05-14 | 2005-03-04 | 2007-09-30 | ug/L | 1.5183 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.0059277 | FIPRONIL | E | 0.016 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5183 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.1827 | 0.58266 | 1.1296 | 0.98242 | 0.72826
FIPRONIL | 2033 | 62166GCM29 | 2007-08-01 | 2005-03-04 | 2007-09-30 | ug/L | 0.74096 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.029691 | FIPRONIL | E | 0.016 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74096 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1827 | 0.58266 | 1.1296 | 0.98242 | 0.72826
FIPRONIL | 2033 | 62166GCM29 | 2007-11-29 | 2007-10-01 | 2008-09-30 | ug/L | 1.8295 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.0060126 | FIPRONIL | E | 0.02 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.8295 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.1827 | 0.58266 | 1.1296 | 0.98242 | 0.72826
FIPRONIL | 2033 | 62166GCM29 | 2008-12-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.92997 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.12259 | FIPRONIL | E | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92997 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.91948 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.19902 | FIPRONIL | E | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91948 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.0183 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.20427 | FIPRONIL | E | 0.04 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0183 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2009-01-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.6951 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.12684 | FIPRONIL | E | 0.04 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6951 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.89385 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.1253 | FIPRONIL | E | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89385 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.98366 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.20129 | FIPRONIL | E | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98366 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0734 | 0.30791 | 0.95681 | 0.098781 | 0.073225
FIPRONIL | 2033 | 62166GCM29 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.52601 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.14696 | FIPRONIL | E | 0.018 | 0.0773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52601 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.64564 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.29118 | FIPRONIL | E | 0.018 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64564 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.85999 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.14651 | FIPRONIL | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85999 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 0.95578 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | FIPRONIL | E | 0.016 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95578 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 0.76304 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FIPRONIL | E | 0.016 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76304 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 1.0542 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | FIPRONIL | E | 0.016 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 1.024 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | FIPRONIL | E | 0.016 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.024 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.7924 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | FIPRONIL | E | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7924 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.93707 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | FIPRONIL | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93707 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92108 | 0.11943 | 0.94642 | 0.23157 | 0.17166
FIPRONIL | 2033 | 62166GCM29 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.93021 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | FIPRONIL | E | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93021 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0426 | 0.159 | 1.0426 | 0.22486 | 0.16669
FIPRONIL | 2033 | 62166GCM29 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.1551 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | FIPRONIL | E | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1551 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0426 | 0.159 | 1.0426 | 0.22486 | 0.16669
FIPRONIL | 2033 | 62166GCM29 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.224 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | FIPRONIL | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.224 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1522 | 0.13807 | 1.1659 | 0.21571 | 0.15991
FIPRONIL | 2033 | 62166GCM29 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1078 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | FIPRONIL | E | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1078 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1522 | 0.13807 | 1.1659 | 0.21571 | 0.15991
FIPRONIL | 2033 | 62166GCM29 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.2962 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | FIPRONIL | E | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2962 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1522 | 0.13807 | 1.1659 | 0.21571 | 0.15991
FIPRONIL | 2033 | 62166GCM29 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.98093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FIPRONIL | E | 0.04 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1522 | 0.13807 | 1.1659 | 0.21571 | 0.15991
FIPRONIL | 2033 | 62166GCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.79418 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FIPRONIL | E | 0.018 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3811 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FIPRONIL | E | 0.018 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3811 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3629 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FIPRONIL | E | 0.018 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3629 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.132 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FIPRONIL | E | 0.018 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.132 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.132 |  | 1.132 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.97255 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | FIPRONIL | E | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97255 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92985 | 0.2497 | 0.91497 | 0.35719 | 0.26478
FIPRONIL | 2033 | 62166GCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.64512 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | FIPRONIL | E | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64512 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92985 | 0.2497 | 0.91497 | 0.35719 | 0.26478
FIPRONIL | 2033 | 62166GCM29 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 1.2443 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | FIPRONIL | E | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2443 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92985 | 0.2497 | 0.91497 | 0.35719 | 0.26478
FIPRONIL | 2033 | 62166GCM29 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.85739 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | FIPRONIL | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85739 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92985 | 0.2497 | 0.91497 | 0.35719 | 0.26478
FIPRONIL | 2033 | 62166GCM29 | 2009-01-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.8015 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.20212 | FIPRONIL | E | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8015 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.85201 | 0.22887 | 0.8015 | 0.24581 | 0.18222
FIPRONIL | 2033 | 62166GCM29 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.1142 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.13462 | FIPRONIL | E | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1142 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.85201 | 0.22887 | 0.8015 | 0.24581 | 0.18222
FIPRONIL | 2033 | 62166GCM29 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0289 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.12635 | FIPRONIL | E | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0289 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.85201 | 0.22887 | 0.8015 | 0.24581 | 0.18222
FIPRONIL | 2033 | 62166GCM29 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.53237 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.20662 | FIPRONIL | E | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53237 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.85201 | 0.22887 | 0.8015 | 0.24581 | 0.18222
FIPRONIL | 2033 | 62166GCM29 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.78307 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.20305 | FIPRONIL | E | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78307 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.85201 | 0.22887 | 0.8015 | 0.24581 | 0.18222
FIPRONIL | 2033 | 62166GCM29 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.0127 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.051347 | FIPRONIL | E | 0.02 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0127 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9619 | 0.26761 | 0.96371 | 0.22713 | 0.16837
FIPRONIL | 2033 | 62166GCM29 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.78558 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.050917 | FIPRONIL | E | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78558 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9619 | 0.26761 | 0.96371 | 0.22713 | 0.16837
FIPRONIL | 2033 | 62166GCM29 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.67364 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.050472 | FIPRONIL | E | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67364 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9619 | 0.26761 | 0.96371 | 0.22713 | 0.16837
FIPRONIL | 2033 | 62166GCM29 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 1.3739 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.050224 | FIPRONIL | E | 0.02 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3739 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9619 | 0.26761 | 0.96371 | 0.22713 | 0.16837
FIPRONIL | 2033 | 62166GCM29 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.96371 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.049808 | FIPRONIL | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96371 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9619 | 0.26761 | 0.96371 | 0.22713 | 0.16837
FIPRONIL | 2033 | 62166GCM29 | 2007-02-12 | 2005-03-04 | 2007-09-30 | ug/L | 1.3266 | Restek | A046582 | Restek A046582: 50 µl | 0.027891 | FIPRONIL | E | 0.016 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3266 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.3189 | 0.20968 | 1.3266 | 0.30564 | 0.22657
FIPRONIL | 2033 | 62166GCM29 | 2007-03-02 | 2005-03-04 | 2007-09-30 | ug/L | 1.1454 | Restek | A046582 | Restek A046582: 50 µl | 0.027939 | FIPRONIL | E | 0.016 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1454 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.3189 | 0.20968 | 1.3266 | 0.30564 | 0.22657
FIPRONIL | 2033 | 62166GCM29 | 2007-07-23 | 2005-03-04 | 2007-09-30 | ug/L | 1.451 | Restek | A046582 | Restek A046582: 10 µl | 0.0055134 | FIPRONIL | E | 0.016 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.451 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.3189 | 0.20968 | 1.3266 | 0.30564 | 0.22657
FIPRONIL | 2033 | 62166GCM29 | 2007-09-19 | 2005-03-04 | 2007-09-30 | ug/L | 1.0832 | Restek | A046582 | Restek A046582: 50 µl | 0.027695 | FIPRONIL | E | 0.016 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0832 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.3189 | 0.20968 | 1.3266 | 0.30564 | 0.22657
FIPRONIL | 2033 | 62166GCM29 | 2007-10-11 | 2007-10-01 | 2008-09-30 | ug/L | 1.5885 | Restek | A046582 | Restek A046582: 10 µl | 0.0056657 | FIPRONIL | E | 0.02 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5885 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.3189 | 0.20968 | 1.3266 | 0.30564 | 0.22657
FIPRONIL | 2033 | 62166GCM29 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.86373 | Restek | A063025 | Restek A063025: 40 µl | 0.20029 | FIPRONIL | E | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86373 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89782 | 0.047854 | 0.86373 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.86211 | Restek | A063025 | Restek A063025: 25 µl | 0.13339 | FIPRONIL | E | 0.04 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86211 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89782 | 0.047854 | 0.86373 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.95543 | Restek | A063025 | Restek A063025: 25 µl | 0.12769 | FIPRONIL | E | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95543 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89782 | 0.047854 | 0.86373 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.86313 | Restek | A063025 | Restek A063025: 40 µl | 0.20854 | FIPRONIL | E | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86313 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89782 | 0.047854 | 0.86373 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.94472 | Restek | A063025 | Restek A063025: 25 µl | 0.12914 | FIPRONIL | E | 0.018 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94472 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89782 | 0.047854 | 0.86373 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0011 | Restek | A075606 | Restek A075606: 40 µl | 0.077013 | FIPRONIL | E | 0.018 | 0.0771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0011 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.96184 | 0.055563 | 0.96184 | 0.078577 | 0.058249
FIPRONIL | 2033 | 62166GCM29 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.92255 | Restek | A075606 | Restek A075606: 80 µl | 0.15934 | FIPRONIL | E | 0.018 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92255 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.96184 | 0.055563 | 0.96184 | 0.078577 | 0.058249
FIPRONIL | 2033 | 62166GCM29 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 1.122 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.0508 | FIPRONIL | E | 0.02 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.94373 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.050862 | FIPRONIL | E | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94373 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 1.3129 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.051032 | FIPRONIL | E | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3129 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 1.1043 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.050709 | FIPRONIL | E | 0.02 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1043 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 1.0065 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.050673 | FIPRONIL | E | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0065 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.83971 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.051208 | FIPRONIL | E | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83971 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0549 | 0.16403 | 1.0554 | 0.17831 | 0.13218
FIPRONIL | 2033 | 62166GCM29 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.73697 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12755 | FIPRONIL | E | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73697 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.85571 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.20451 | FIPRONIL | E | 0.04 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85571 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.0487 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13827 | FIPRONIL | E | 0.04 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.7004 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12703 | FIPRONIL | E | 0.04 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7004 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.9049 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12819 | FIPRONIL | E | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9049 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1037 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12775 | FIPRONIL | E | 0.018 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1037 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0584 | 0.34125 | 0.9768 | 0.24797 | 0.18382
FIPRONIL | 2033 | 62166GCM29 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.80532 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.079099 | FIPRONIL | E | 0.018 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80533 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.80533 |  | 0.80533 | 0 | 0