## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXAZINONE | 2033 | 04025GCM39 | 2008-02-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.84321 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20042 | HEXAZINONE | . | 0.008 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84321 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.4183 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20559 | HEXAZINONE | . | 0.008 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4183 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2008-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.76398 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19765 | HEXAZINONE | . | 0.008 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76398 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2008-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.58549 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19812 | HEXAZINONE | . | 0.008 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58549 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2008-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.61341 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19726 | HEXAZINONE | . | 0.008 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61341 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2008-11-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.62809 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19902 | HEXAZINONE | . | 0.008 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62809 | Abs 071007GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64208 | 0.14806 | 0.62075 | 0.17848 | 0.13231
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.0303 | Abs | 080610 | Abs 080610: 40 µl | 0.021353 | HEXAZINONE | . | 0.008 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0303 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95657 | 0.10429 | 0.95657 | 0.14748 | 0.10933
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.88283 | Abs | 080610 | Abs 080610: 80 µl | 0.041797 | HEXAZINONE | . | 0.008 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88283 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95657 | 0.10429 | 0.95657 | 0.14748 | 0.10933
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.74031 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019316 | HEXAZINONE | . | 0.008 | 0.0143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74031 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.71936 | 0.029632 | 0.71936 | 0.041907 | 0.031065
HEXAZINONE | 2033 | 04025GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.69841 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039805 | HEXAZINONE | . | 0.008 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6984 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.71936 | 0.029632 | 0.71936 | 0.041907 | 0.031065
HEXAZINONE | 2033 | 04025GCM39 | 2008-12-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.71099 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.039382 | HEXAZINONE | . | 0.008 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71099 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71674 | 0.097945 | 0.71099 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.57837 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.065702 | HEXAZINONE | . | 0.008 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57837 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71674 | 0.097945 | 0.71099 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2009-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.81026 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.062943 | HEXAZINONE | . | 0.008 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81026 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71674 | 0.097945 | 0.71099 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2009-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.67432 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.04004 | HEXAZINONE | . | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67433 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71674 | 0.097945 | 0.71099 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.80974 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.040754 | HEXAZINONE | . | 0.008 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80974 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71674 | 0.097945 | 0.71099 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.29634 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.078963 | HEXAZINONE | E | 0.008 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29634 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.7255 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.080496 | HEXAZINONE | . | 0.008 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7255 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.76662 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.04122 | HEXAZINONE | . | 0.008 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76662 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2007-03-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.63072 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.044394 | HEXAZINONE | . | 0.026 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63072 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0683 | 0.40845 | 1.0452 | 0.65274 | 0.48387
HEXAZINONE | 2033 | 04025GCM39 | 2007-05-14 | 2006-04-01 | 2007-09-30 | ug/L | 1.2371 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.0088915 | HEXAZINONE | E | 0.026 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2371 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.0683 | 0.40845 | 1.0452 | 0.65274 | 0.48387
HEXAZINONE | 2033 | 04025GCM39 | 2007-08-01 | 2006-04-01 | 2007-09-30 | ug/L | 0.85323 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.044537 | HEXAZINONE | . | 0.026 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85323 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0683 | 0.40845 | 1.0452 | 0.65274 | 0.48387
HEXAZINONE | 2033 | 04025GCM39 | 2007-11-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.5523 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.0090189 | HEXAZINONE | E | 0.008 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5523 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0683 | 0.40845 | 1.0452 | 0.65274 | 0.48387
HEXAZINONE | 2033 | 04025GCM39 | 2009-03-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.71057 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.04222 | HEXAZINONE | . | 0.008 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71057 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2009-06-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.77652 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039922 | HEXAZINONE | . | 0.008 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77652 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2009-09-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.9467 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.040139 | HEXAZINONE | . | 0.008 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9467 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95663 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.063766 | HEXAZINONE | . | 0.008 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95663 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.95225 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039906 | HEXAZINONE | . | 0.008 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95225 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.71576 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.061473 | HEXAZINONE | . | 0.008 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71576 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84307 | 0.12145 | 0.86161 | 0.23649 | 0.1753
HEXAZINONE | 2033 | 04025GCM39 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.3385 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | HEXAZINONE | E | 0.026 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3385 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.68272 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | HEXAZINONE | . | 0.026 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68272 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 0.71635 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | HEXAZINONE | . | 0.026 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71635 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.55241 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | HEXAZINONE | . | 0.026 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55241 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.54859 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | HEXAZINONE | . | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54859 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.72288 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | HEXAZINONE | . | 0.008 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72288 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59357 | 0.14732 | 0.61756 | 0.16776 | 0.12436
HEXAZINONE | 2033 | 04025GCM39 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.72799 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | HEXAZINONE | . | 0.008 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72799 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.79113 | 0.089293 | 0.79113 | 0.12628 | 0.09361
HEXAZINONE | 2033 | 04025GCM39 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.85427 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | HEXAZINONE | . | 0.008 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.79113 | 0.089293 | 0.79113 | 0.12628 | 0.09361
HEXAZINONE | 2033 | 04025GCM39 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0111 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | HEXAZINONE | . | 0.008 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78859 | 0.18718 | 0.78272 | 0.29115 | 0.21583
HEXAZINONE | 2033 | 04025GCM39 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.85722 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | HEXAZINONE | . | 0.008 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85722 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78859 | 0.18718 | 0.78272 | 0.29115 | 0.21583
HEXAZINONE | 2033 | 04025GCM39 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.70822 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | HEXAZINONE | . | 0.008 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70822 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78859 | 0.18718 | 0.78272 | 0.29115 | 0.21583
HEXAZINONE | 2033 | 04025GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.57781 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | HEXAZINONE | . | 0.008 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57781 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78859 | 0.18718 | 0.78272 | 0.29115 | 0.21583
HEXAZINONE | 2033 | 04025GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.59821 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | HEXAZINONE | . | 0.008 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59821 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.90265 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | HEXAZINONE | . | 0.008 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90265 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.70495 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | HEXAZINONE | . | 0.008 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70495 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74574 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | HEXAZINONE | . | 0.008 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74574 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.74574 |  | 0.74574 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.65498 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | HEXAZINONE | . | 0.008 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65498 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64558 | 0.072238 | 0.6269 | 0.10771 | 0.079847
HEXAZINONE | 2033 | 04025GCM39 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.58464 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | HEXAZINONE | . | 0.008 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58464 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64558 | 0.072238 | 0.6269 | 0.10771 | 0.079847
HEXAZINONE | 2033 | 04025GCM39 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.74389 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | HEXAZINONE | . | 0.008 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74389 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64558 | 0.072238 | 0.6269 | 0.10771 | 0.079847
HEXAZINONE | 2033 | 04025GCM39 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.59881 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | HEXAZINONE | . | 0.008 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59881 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64558 | 0.072238 | 0.6269 | 0.10771 | 0.079847
HEXAZINONE | 2033 | 04025GCM39 | 2007-02-12 | 2006-04-01 | 2007-09-30 | ug/L | 0.85438 | Restek | A046582 | Restek A046582: 50 µl | 0.046817 | HEXAZINONE | . | 0.026 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85438 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88421 | 0.17663 | 0.85438 | 0.30517 | 0.22622
HEXAZINONE | 2033 | 04025GCM39 | 2007-03-02 | 2006-04-01 | 2007-09-30 | ug/L | 0.74632 | Restek | A046582 | Restek A046582: 50 µl | 0.046897 | HEXAZINONE | . | 0.026 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74632 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88421 | 0.17663 | 0.85438 | 0.30517 | 0.22622
HEXAZINONE | 2033 | 04025GCM39 | 2007-07-23 | 2006-04-01 | 2007-09-30 | ug/L | 1.0805 | Restek | A046582 | Restek A046582: 10 µl | 0.0092547 | HEXAZINONE | E | 0.026 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0805 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.88421 | 0.17663 | 0.85438 | 0.30517 | 0.22622
HEXAZINONE | 2033 | 04025GCM39 | 2007-09-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.68834 | Restek | A046582 | Restek A046582: 50 µl | 0.046489 | HEXAZINONE | . | 0.026 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68834 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88421 | 0.17663 | 0.85438 | 0.30517 | 0.22622
HEXAZINONE | 2033 | 04025GCM39 | 2007-10-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.0515 | Restek | A046582 | Restek A046582: 10 µl | 0.0095103 | HEXAZINONE | E | 0.008 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0515 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.88421 | 0.17663 | 0.85438 | 0.30517 | 0.22622
HEXAZINONE | 2033 | 04025GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.57544 | Restek | A069639 | Restek A069639: 20 µl | 0.039274 | HEXAZINONE | . | 0.008 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57544 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.61559 | Restek | A069639 | Restek A069639: 20 µl | 0.039799 | HEXAZINONE | . | 0.008 | 0.0245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61559 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.67583 | Restek | A069639 | Restek A069639: 100 µl | 0.20567 | HEXAZINONE | . | 0.008 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67584 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.5653 | Restek | A069639 | Restek A069639: 40 µl | 0.07872 | HEXAZINONE | . | 0.008 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5653 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2008-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.66337 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19899 | HEXAZINONE | . | 0.008 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66337 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55434 | 0.078906 | 0.50861 | 0.11501 | 0.085255
HEXAZINONE | 2033 | 04025GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.61303 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.20717 | HEXAZINONE | . | 0.008 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61303 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55434 | 0.078906 | 0.50861 | 0.11501 | 0.085255
HEXAZINONE | 2033 | 04025GCM39 | 2008-05-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.49802 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19879 | HEXAZINONE | . | 0.008 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49802 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55434 | 0.078906 | 0.50861 | 0.11501 | 0.085255
HEXAZINONE | 2033 | 04025GCM39 | 2008-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.48869 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19849 | HEXAZINONE | . | 0.008 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48869 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55434 | 0.078906 | 0.50861 | 0.11501 | 0.085255
HEXAZINONE | 2033 | 04025GCM39 | 2008-10-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.50861 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19465 | HEXAZINONE | . | 0.008 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50861 | Ultra CD-2142 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55434 | 0.078906 | 0.50861 | 0.11501 | 0.085255