## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METRIBUZIN | 2033 | 82630GCM35 | 2007-02-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.68402 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.18713 | METRIBUZIN | . | 0.012 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68402 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8166 | 0.093341 | 0.8404 | 0.11891 | 0.088144
METRIBUZIN | 2033 | 82630GCM35 | 2007-05-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.83028 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.037337 | METRIBUZIN | . | 0.012 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83028 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8166 | 0.093341 | 0.8404 | 0.11891 | 0.088144
METRIBUZIN | 2033 | 82630GCM35 | 2007-08-08 | 2006-10-01 | 2008-09-30 | ug/L | 0.85052 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.18577 | METRIBUZIN | . | 0.012 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85053 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8166 | 0.093341 | 0.8404 | 0.11891 | 0.088144
METRIBUZIN | 2033 | 82630GCM35 | 2007-10-02 | 2006-10-01 | 2008-09-30 | ug/L | 0.90158 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.037711 | METRIBUZIN | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90158 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8166 | 0.093341 | 0.8404 | 0.11891 | 0.088144
METRIBUZIN | 2033 | 82630GCM35 | 2007-04-05 | 2006-10-01 | 2008-09-30 | ug/L | 0.66447 | Accu | B6070194 | Accu B6070194: 10 µl | 0.037624 | METRIBUZIN | . | 0.012 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66447 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7029 | 0.03816 | 0.69783 | 0.059031 | 0.043759
METRIBUZIN | 2033 | 82630GCM35 | 2007-07-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.75146 | Accu | B6070194 | Accu B6070194: 50 µl | 0.18764 | METRIBUZIN | E | 0.012 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75146 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7029 | 0.03816 | 0.69783 | 0.059031 | 0.043759
METRIBUZIN | 2033 | 82630GCM35 | 2007-10-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.68229 | Accu | B6070194 | Accu B6070194: 10 µl | 0.038107 | METRIBUZIN | . | 0.012 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68229 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7029 | 0.03816 | 0.69783 | 0.059031 | 0.043759
METRIBUZIN | 2033 | 82630GCM35 | 2007-12-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.71337 | Accu | B6070194 | Accu B6070194: 50 µl | 0.18784 | METRIBUZIN | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71337 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7029 | 0.03816 | 0.69783 | 0.059031 | 0.043759
METRIBUZIN | 2033 | 82630GCM35 | 2008-02-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.65881 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.1017 | METRIBUZIN | . | 0.012 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65881 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2008-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.59394 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10102 | METRIBUZIN | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59394 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2008-05-07 | 2006-10-01 | 2008-09-30 | ug/L | 0.63936 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.1001 | METRIBUZIN | . | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63936 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2008-07-08 | 2006-10-01 | 2008-09-30 | ug/L | 0.60957 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.10007 | METRIBUZIN | . | 0.012 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60957 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2008-09-16 | 2006-10-01 | 2008-09-30 | ug/L | 0.8152 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.098135 | METRIBUZIN | . | 0.012 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8152 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.74 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.098649 | METRIBUZIN | . | 0.016 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.67615 | 0.085155 | 0.64909 | 0.13043 | 0.096685
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1683 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.04177 | METRIBUZIN | . | 0.012 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1683 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1683 |  | 1.1683 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 0.61727 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | METRIBUZIN | . | 0.012 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61727 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.62917 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | METRIBUZIN | . | 0.012 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62917 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 0.89206 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | METRIBUZIN | . | 0.012 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89206 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.68714 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | METRIBUZIN | . | 0.012 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68714 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.75177 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | METRIBUZIN | . | 0.012 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75177 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.8032 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | METRIBUZIN | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8032 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7301 | 0.10659 | 0.71945 | 0.17403 | 0.129
METRIBUZIN | 2033 | 82630GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.95717 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | METRIBUZIN | . | 0.016 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95718 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0862 | 0.18247 | 1.0862 | 0.25806 | 0.19129
METRIBUZIN | 2033 | 82630GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2152 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | METRIBUZIN | . | 0.016 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2152 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0862 | 0.18247 | 1.0862 | 0.25806 | 0.19129
METRIBUZIN | 2033 | 82630GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.1441 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | METRIBUZIN | . | 0.016 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1441 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99865 | 0.13035 | 1.0087 | 0.1887 | 0.13988
METRIBUZIN | 2033 | 82630GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.0419 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | METRIBUZIN | . | 0.016 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0419 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99865 | 0.13035 | 1.0087 | 0.1887 | 0.13988
METRIBUZIN | 2033 | 82630GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.97547 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | METRIBUZIN | . | 0.016 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97547 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99865 | 0.13035 | 1.0087 | 0.1887 | 0.13988
METRIBUZIN | 2033 | 82630GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.83311 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | METRIBUZIN | . | 0.016 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83311 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99865 | 0.13035 | 1.0087 | 0.1887 | 0.13988
METRIBUZIN | 2033 | 82630GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81996 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | METRIBUZIN | . | 0.012 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81996 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1271 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | METRIBUZIN | . | 0.012 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1271 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.99187 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | METRIBUZIN | . | 0.012 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99187 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96321 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | METRIBUZIN | . | 0.012 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96321 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96321 |  | 0.96321 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.75422 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | METRIBUZIN | . | 0.012 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75422 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79737 | 0.10523 | 0.78539 | 0.15507 | 0.11495
METRIBUZIN | 2033 | 82630GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.68544 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | METRIBUZIN | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68544 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79737 | 0.10523 | 0.78539 | 0.15507 | 0.11495
METRIBUZIN | 2033 | 82630GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.93325 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | METRIBUZIN | . | 0.012 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93325 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79737 | 0.10523 | 0.78539 | 0.15507 | 0.11495
METRIBUZIN | 2033 | 82630GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.81656 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | METRIBUZIN | . | 0.016 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81656 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79737 | 0.10523 | 0.78539 | 0.15507 | 0.11495
METRIBUZIN | 2033 | 82630GCM35 | 2008-03-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.70326 | Restek | A053526 | Restek A053526: 50 µl | 0.10238 | METRIBUZIN | . | 0.012 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70326 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2008-04-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.76947 | Restek | A053526 | Restek A053526: 50 µl | 0.10137 | METRIBUZIN | . | 0.012 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76947 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2008-05-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.74989 | Restek | A053526 | Restek A053526: 50 µl | 0.10135 | METRIBUZIN | . | 0.012 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74989 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.72873 | Restek | A053526 | Restek A053526: 50 µl | 0.10566 | METRIBUZIN | . | 0.012 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72873 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 0.73847 | Restek | A053526 | Restek A053526: 50 µl | 0.10021 | METRIBUZIN | . | 0.012 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73847 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.94657 | Restek | A053526 | Restek A053526: 50 µl | 0.10142 | METRIBUZIN | . | 0.016 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94657 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77273 | 0.087964 | 0.74418 | 0.040741 | 0.030201
METRIBUZIN | 2033 | 82630GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.57112 | Restek | A063025 | Restek A063025: 40 µl | 0.23638 | METRIBUZIN | . | 0.016 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57112 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89794 | 0.18663 | 0.9914 | 0.087307 | 0.06472
METRIBUZIN | 2033 | 82630GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.91471 | Restek | A063025 | Restek A063025: 25 µl | 0.15743 | METRIBUZIN | . | 0.016 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91471 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89794 | 0.18663 | 0.9914 | 0.087307 | 0.06472
METRIBUZIN | 2033 | 82630GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.002 | Restek | A063025 | Restek A063025: 25 µl | 0.1507 | METRIBUZIN | . | 0.016 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89794 | 0.18663 | 0.9914 | 0.087307 | 0.06472
METRIBUZIN | 2033 | 82630GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.9914 | Restek | A063025 | Restek A063025: 40 µl | 0.24612 | METRIBUZIN | . | 0.016 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9914 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89794 | 0.18663 | 0.9914 | 0.087307 | 0.06472
METRIBUZIN | 2033 | 82630GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0105 | Restek | A063025 | Restek A063025: 25 µl | 0.15241 | METRIBUZIN | . | 0.012 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89794 | 0.18663 | 0.9914 | 0.087307 | 0.06472
METRIBUZIN | 2033 | 82630GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7348 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.098394 | METRIBUZIN | . | 0.012 | 0.0723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7348 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.98798 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.49495 | METRIBUZIN | . | 0.012 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98798 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.71085 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.10002 | METRIBUZIN | . | 0.012 | 0.0711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71085 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.69514 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.2014 | METRIBUZIN | . | 0.012 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69514 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0955 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | METRIBUZIN | . | 0.012 | 0.0434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0955 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2442 | 0.21029 | 1.2442 | 0.29739 | 0.22045
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3929 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | METRIBUZIN | . | 0.012 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3929 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2442 | 0.21029 | 1.2442 | 0.29739 | 0.22045
METRIBUZIN | 2033 | 82630GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.72944 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1508 | METRIBUZIN | . | 0.016 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72944 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.82717 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.24179 | METRIBUZIN | . | 0.016 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82717 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.89314 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.16347 | METRIBUZIN | . | 0.016 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89314 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.5647 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15018 | METRIBUZIN | . | 0.016 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5647 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.74559 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15156 | METRIBUZIN | . | 0.016 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74559 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.91366 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15104 | METRIBUZIN | . | 0.012 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91365 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94562 | 0.31237 | 0.86015 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.87086 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.19291 | METRIBUZIN | . | 0.012 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87086 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3462 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.099543 | METRIBUZIN | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3462 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.0032 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.20037 | METRIBUZIN | . | 0.012 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0032 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.64748 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.099 | METRIBUZIN | . | 0.012 | 0.0641 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64748 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308