## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MOLINATE | 2033 | 82671GCM35 | 2011-01-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.90301 | Abs | 080610 | Abs 080610: 40 µl | 0.034329 | MOLINATE | . | 0.004 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90301 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99095 | 0.12436 | 0.99095 | 0.17587 | 0.13037
MOLINATE | 2033 | 82671GCM35 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.0789 | Abs | 080610 | Abs 080610: 80 µl | 0.067199 | MOLINATE | . | 0.004 | 0.0725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99095 | 0.12436 | 0.99095 | 0.17587 | 0.13037
MOLINATE | 2033 | 82671GCM35 | 2011-01-12 | 2010-10-01 | 2012-09-30 | ug/L | 1.0814 | Accu | 210061341 | Accu 210061341: 40 µl | 0.034769 | MOLINATE | . | 0.004 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0814 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0264 | 0.077791 | 1.0264 | 0.11001 | 0.081552
MOLINATE | 2033 | 82671GCM35 | 2011-02-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.9714 | Accu | 210061341 | Accu 210061341: 80 µl | 0.071649 | MOLINATE | . | 0.004 | 0.0696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9714 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0264 | 0.077791 | 1.0264 | 0.11001 | 0.081552
MOLINATE | 2033 | 82671GCM35 | 2008-01-07 | 2006-10-01 | 2008-09-30 | ug/L | 2.4571 | Accu | B7070106 | Accu B7070106: 50 µl | 0.015058 | MOLINATE | E | 0.003 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.6411 | 0.41591 | 1.6625 | 0.71783 | 0.53212 | 2
MOLINATE | 2033 | 82671GCM35 | 2008-02-05 | 2006-10-01 | 2008-09-30 | ug/L | 2.7282 | Accu | B7070106 | Accu B7070106: 50 µl | 0.015028 | MOLINATE | E | 0.003 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.6411 | 0.41591 | 1.6625 | 0.71783 | 0.53212 | 2
MOLINATE | 2033 | 82671GCM35 | 2008-02-07 | 2006-10-01 | 2008-09-30 | ug/L | 1.2394 | Accu | B7070106 | Accu B7070106: 50 µl | 0.01533 | MOLINATE | . | 0.003 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2394 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.6411 | 0.41591 | 1.6625 | 0.71783 | 0.53212
MOLINATE | 2033 | 82671GCM35 | 2008-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.325 | Accu | B7070106 | Accu B7070106: 50 µl | 0.015095 | MOLINATE | . | 0.003 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.325 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.6411 | 0.41591 | 1.6625 | 0.71783 | 0.53212
MOLINATE | 2033 | 82671GCM35 | 2007-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.1196 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.024117 | MOLINATE | . | 0.003 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1196 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0706 | 0.042442 | 1.0474 | 0.074803 | 0.055451
MOLINATE | 2033 | 82671GCM35 | 2007-02-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0474 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.1203 | MOLINATE | . | 0.003 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0706 | 0.042442 | 1.0474 | 0.074803 | 0.055451
MOLINATE | 2033 | 82671GCM35 | 2007-03-05 | 2006-10-01 | 2008-09-30 | ug/L | 1.0448 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.023929 | MOLINATE | . | 0.003 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0448 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0706 | 0.042442 | 1.0474 | 0.074803 | 0.055451
MOLINATE | 2033 | 82671GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0539 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.025523 | MOLINATE | E | 0.0026 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0539 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1338 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.026019 | MOLINATE | . | 0.0026 | 0.0295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1338 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.306 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.013324 | MOLINATE | . | 0.0026 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.306 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2008-12-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.2236 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.017162 | MOLINATE | . | 0.002 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2236 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0767 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.027863 | MOLINATE | . | 0.002 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0767 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.1539 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.028598 | MOLINATE | . | 0.002 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1539 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2009-01-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.3515 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.017757 | MOLINATE | . | 0.002 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3515 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.1971 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.017542 | MOLINATE | . | 0.002 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1971 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.242 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.02818 | MOLINATE | . | 0.002 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.242 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2075 | 0.091967 | 1.2104 | 0.088059 | 0.065277
MOLINATE | 2033 | 82671GCM35 | 2008-03-01 | 2006-10-01 | 2008-09-30 | ug/L | 4.703 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.01616 | MOLINATE | E | 0.003 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742 | 2
MOLINATE | 2033 | 82671GCM35 | 2008-04-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.86949 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.016101 | MOLINATE | . | 0.003 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86949 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742
MOLINATE | 2033 | 82671GCM35 | 2008-05-12 | 2006-10-01 | 2008-09-30 | ug/L | 1.0756 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.015806 | MOLINATE | . | 0.003 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0756 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742
MOLINATE | 2033 | 82671GCM35 | 2008-07-18 | 2006-10-01 | 2008-09-30 | ug/L | 0.95503 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.015706 | MOLINATE | . | 0.003 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95503 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742
MOLINATE | 2033 | 82671GCM35 | 2008-09-26 | 2006-10-01 | 2008-09-30 | ug/L | 1.0867 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.015643 | MOLINATE | . | 0.003 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742
MOLINATE | 2033 | 82671GCM35 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.94181 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.015927 | MOLINATE | . | 0.002 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94181 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1548 | 0.42236 | 1.0153 | 0.14491 | 0.10742
MOLINATE | 2033 | 82671GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 1.0752 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | MOLINATE | . | 0.003 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0752 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.96384 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | MOLINATE | . | 0.003 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96384 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.0407 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | MOLINATE | . | 0.003 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0407 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.97008 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | MOLINATE | . | 0.003 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97008 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 1.0769 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | MOLINATE | . | 0.003 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0769 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 1.1245 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | MOLINATE | . | 0.003 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1245 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0419 | 0.063885 | 1.058 | 0.10678 | 0.079151
MOLINATE | 2033 | 82671GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.94369 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | MOLINATE | . | 0.002 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94369 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0073 | 0.089912 | 1.0073 | 0.12715 | 0.094258
MOLINATE | 2033 | 82671GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.0708 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | MOLINATE | . | 0.002 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0073 | 0.089912 | 1.0073 | 0.12715 | 0.094258
MOLINATE | 2033 | 82671GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.1308 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | MOLINATE | . | 0.002 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1308 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0487 | 0.088813 | 1.0684 | 0.12799 | 0.094878
MOLINATE | 2033 | 82671GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.0946 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | MOLINATE | . | 0.002 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0946 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0487 | 0.088813 | 1.0684 | 0.12799 | 0.094878
MOLINATE | 2033 | 82671GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0423 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | MOLINATE | . | 0.002 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0487 | 0.088813 | 1.0684 | 0.12799 | 0.094878
MOLINATE | 2033 | 82671GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.92718 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | MOLINATE | . | 0.002 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0487 | 0.088813 | 1.0684 | 0.12799 | 0.094878
MOLINATE | 2033 | 82671GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0082 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | MOLINATE | . | 0.0026 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0082 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1246 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | MOLINATE | . | 0.0026 | 0.0456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1246 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.0809 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | MOLINATE | . | 0.004 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0625 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | MOLINATE | . | 0.004 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0625 |  | 1.0625 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.93286 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | MOLINATE | . | 0.003 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93286 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96192 | 0.064767 | 0.94275 | 0.083787 | 0.06211
MOLINATE | 2033 | 82671GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.9072 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | MOLINATE | . | 0.003 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9072 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96192 | 0.064767 | 0.94275 | 0.083787 | 0.06211
MOLINATE | 2033 | 82671GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 1.055 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | MOLINATE | . | 0.003 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96192 | 0.064767 | 0.94275 | 0.083787 | 0.06211
MOLINATE | 2033 | 82671GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.95265 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | MOLINATE | . | 0.002 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95265 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96192 | 0.064767 | 0.94275 | 0.083787 | 0.06211
MOLINATE | 2033 | 82671GCM35 | 2009-01-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.75697 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.027742 | MOLINATE | . | 0.002 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75697 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75464 | 0.13146 | 0.75697 | 0.094155 | 0.069796
MOLINATE | 2033 | 82671GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.8118 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.018478 | MOLINATE | . | 0.002 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8118 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75464 | 0.13146 | 0.75697 | 0.094155 | 0.069796
MOLINATE | 2033 | 82671GCM35 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.92261 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.017342 | MOLINATE | . | 0.002 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9226 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75464 | 0.13146 | 0.75697 | 0.094155 | 0.069796
MOLINATE | 2033 | 82671GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.56417 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.02836 | MOLINATE | . | 0.002 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56417 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75464 | 0.13146 | 0.75697 | 0.094155 | 0.069796
MOLINATE | 2033 | 82671GCM35 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.71764 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.027869 | MOLINATE | . | 0.002 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71764 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75464 | 0.13146 | 0.75697 | 0.094155 | 0.069796
MOLINATE | 2033 | 82671GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.95316 | Restek | A069639 | Restek A069639: 20 µl | 0.012695 | MOLINATE | . | 0.0026 | 0.0121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95316 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94836 | Restek | A069639 | Restek A069639: 20 µl | 0.012864 | MOLINATE | . | 0.0026 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94836 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.97473 | Restek | A069639 | Restek A069639: 100 µl | 0.06648 | MOLINATE | . | 0.0026 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97473 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-10-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.1004 | Restek | A069639 | Restek A069639: 40 µl | 0.025445 | MOLINATE | . | 0.004 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2007-04-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.0537 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.023725 | MOLINATE | . | 0.003 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0537 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.381 | 0.53634 | 1.0894 | 0.94627 | 0.70146
MOLINATE | 2033 | 82671GCM35 | 2007-06-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.0894 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.12025 | MOLINATE | . | 0.003 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0894 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.381 | 0.53634 | 1.0894 | 0.94627 | 0.70146
MOLINATE | 2033 | 82671GCM35 | 2007-08-31 | 2006-10-01 | 2008-09-30 | ug/L | 2.1394 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.023838 | MOLINATE | E | 0.003 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.381 | 0.53634 | 1.0894 | 0.94627 | 0.70146 | 2