## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-03-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.29217 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.16771 | PARAOXON-METHYL | E | 0.019 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29217 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38997 | 0.10963 | 0.36593 | 0.16683 | 0.12367
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-05-14 | 2006-04-01 | 2007-09-30 | ug/L | 0.53587 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.03359 | PARAOXON-METHYL | E | 0.019 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53587 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38997 | 0.10963 | 0.36593 | 0.16683 | 0.12367
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-08-01 | 2006-04-01 | 2007-09-30 | ug/L | 0.32095 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.16825 | PARAOXON-METHYL | E | 0.019 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32095 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38997 | 0.10963 | 0.36593 | 0.16683 | 0.12367
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-11-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.4109 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.034072 | PARAOXON-METHYL | E | 0.01 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4109 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.38997 | 0.10963 | 0.36593 | 0.16683 | 0.12367
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0618 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.062536 | PARAOXON-METHYL | E | 0.014 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0618 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.0618 |  | 1.0618 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.99201 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.062297 | PARAOXON-METHYL | E | 0.01 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99201 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.61163 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.029593 | PARAOXON-METHYL | E | 0.01 | 0.0181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61163 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.99275 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.030823 | PARAOXON-METHYL | E | 0.01 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99276 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.52864 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.15209 | PARAOXON-METHYL | E | 0.014 | 0.0804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52864 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.61727 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PARAOXON-METHYL | E | 0.019 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61727 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.49531 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PARAOXON-METHYL | E | 0.019 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49531 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 0.72986 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PARAOXON-METHYL | E | 0.019 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72986 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.64672 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PARAOXON-METHYL | E | 0.019 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64672 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.54859 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PARAOXON-METHYL | E | 0.01 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54859 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.65595 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PARAOXON-METHYL | E | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65595 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.61562 | 0.083207 | 0.632 | 0.10736 | 0.079585
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.80888 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PARAOXON-METHYL | E | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80888 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.93986 | 0.18524 | 0.93986 | 0.26197 | 0.19419
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0708 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PARAOXON-METHYL | E | 0.01 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.93986 | 0.18524 | 0.93986 | 0.26197 | 0.19419
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.89137 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PARAOXON-METHYL | E | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89137 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76251 | 0.11057 | 0.76355 | 0.16812 | 0.12462
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.72534 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PARAOXON-METHYL | E | 0.01 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72534 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76251 | 0.11057 | 0.76355 | 0.16812 | 0.12462
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.80176 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PARAOXON-METHYL | E | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80176 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76251 | 0.11057 | 0.76355 | 0.16812 | 0.12462
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.63155 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PARAOXON-METHYL | E | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63155 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76251 | 0.11057 | 0.76355 | 0.16812 | 0.12462
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.86638 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PARAOXON-METHYL | E | 0.01 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86638 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0753 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PARAOXON-METHYL | E | 0.01 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0753 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1972 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PARAOXON-METHYL | E | 0.014 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1972 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92349 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PARAOXON-METHYL | E | 0.014 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92349 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.92349 |  | 0.92349 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.55574 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PARAOXON-METHYL | E | 0.01 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55574 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70343 | 0.11813 | 0.71647 | 0.18426 | 0.13659
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.76608 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PARAOXON-METHYL | E | 0.01 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76608 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70343 | 0.11813 | 0.71647 | 0.18426 | 0.13659
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.82505 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PARAOXON-METHYL | E | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82505 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70343 | 0.11813 | 0.71647 | 0.18426 | 0.13659
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.66686 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PARAOXON-METHYL | E | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66686 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70343 | 0.11813 | 0.71647 | 0.18426 | 0.13659
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.65567 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.04118 | PARAOXON-METHYL | E | 0.01 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65567 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63639 | 0.082918 | 0.61762 | 0.079871 | 0.059208
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-04-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.56324 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.040835 | PARAOXON-METHYL | E | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56325 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63639 | 0.082918 | 0.61762 | 0.079871 | 0.059208
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.61762 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.040478 | PARAOXON-METHYL | E | 0.01 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61762 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63639 | 0.082918 | 0.61762 | 0.079871 | 0.059208
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-08-20 | 2007-10-01 | 2009-09-30 | ug/L | 0.76964 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.040279 | PARAOXON-METHYL | E | 0.01 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76964 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63639 | 0.082918 | 0.61762 | 0.079871 | 0.059208
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.5758 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.039945 | PARAOXON-METHYL | E | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57579 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.63639 | 0.082918 | 0.61762 | 0.079871 | 0.059208
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-02-12 | 2006-04-01 | 2007-09-30 | ug/L | 0.9981 | Restek | A046582 | Restek A046582: 50 µl | 0.17233 | PARAOXON-METHYL | E | 0.019 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9981 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8322 | 0.11032 | 0.81815 | 0.064396 | 0.047736
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-03-02 | 2006-04-01 | 2007-09-30 | ug/L | 0.69517 | Restek | A046582 | Restek A046582: 50 µl | 0.17262 | PARAOXON-METHYL | E | 0.019 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69517 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8322 | 0.11032 | 0.81815 | 0.064396 | 0.047736
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-07-23 | 2006-04-01 | 2007-09-30 | ug/L | 0.7926 | Restek | A046582 | Restek A046582: 10 µl | 0.034065 | PARAOXON-METHYL | E | 0.019 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7926 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8322 | 0.11032 | 0.81815 | 0.064396 | 0.047736
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-09-19 | 2006-04-01 | 2007-09-30 | ug/L | 0.81815 | Restek | A046582 | Restek A046582: 50 µl | 0.17112 | PARAOXON-METHYL | E | 0.019 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81815 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8322 | 0.11032 | 0.81815 | 0.064396 | 0.047736
PARAOXON-METHYL | 2033 | 61664GCM39 | 2007-10-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.85699 | Restek | A046582 | Restek A046582: 10 µl | 0.035006 | PARAOXON-METHYL | E | 0.01 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85699 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8322 | 0.11032 | 0.81815 | 0.064396 | 0.047736
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-02-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.47803 | Restek | A063025 | Restek A063025: 40 µl | 0.12133 | PARAOXON-METHYL | E | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47803 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64109 | 0.091925 | 0.67226 | 0.02202 | 0.016323
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.66827 | Restek | A063025 | Restek A063025: 25 µl | 0.080805 | PARAOXON-METHYL | E | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66827 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64109 | 0.091925 | 0.67226 | 0.02202 | 0.016323
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.67226 | Restek | A063025 | Restek A063025: 25 µl | 0.077351 | PARAOXON-METHYL | E | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67226 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64109 | 0.091925 | 0.67226 | 0.02202 | 0.016323
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.6966 | Restek | A063025 | Restek A063025: 40 µl | 0.12633 | PARAOXON-METHYL | E | 0.01 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6966 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64109 | 0.091925 | 0.67226 | 0.02202 | 0.016323
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.69029 | Restek | A063025 | Restek A063025: 25 µl | 0.078228 | PARAOXON-METHYL | E | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69029 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64109 | 0.091925 | 0.67226 | 0.02202 | 0.016323
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.063385 | PARAOXON-METHYL | E | 0.014 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.625 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.3558 | 0.38066 | 1.3558 | 0.53833 | 0.39906
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0867 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.031933 | PARAOXON-METHYL | E | 0.014 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.3558 | 0.38066 | 1.3558 | 0.53833 | 0.39906
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.51558 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.040731 | PARAOXON-METHYL | E | 0.01 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51558 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.53948 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.04078 | PARAOXON-METHYL | E | 0.01 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53948 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-01-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.83096 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.040917 | PARAOXON-METHYL | E | 0.01 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83096 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.46732 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.040657 | PARAOXON-METHYL | E | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46732 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-02-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.54149 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.040629 | PARAOXON-METHYL | E | 0.01 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54149 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-02-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.56019 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.041058 | PARAOXON-METHYL | E | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56019 | Supelco LB50306 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.57583 | 0.12903 | 0.54048 | 0.044609 | 0.033069
PARAOXON-METHYL | 2033 | 61664GCM39 | 2008-12-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.56995 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.0772 | PARAOXON-METHYL | E | 0.01 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56995 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.62207 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.12378 | PARAOXON-METHYL | E | 0.01 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62207 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-03-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.81256 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.083686 | PARAOXON-METHYL | E | 0.01 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81257 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-07-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0795 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.076885 | PARAOXON-METHYL | E | 0.01 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0795 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.36088 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.077588 | PARAOXON-METHYL | E | 0.01 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36088 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.72423 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.077324 | PARAOXON-METHYL | E | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72423 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.69487 | 0.24296 | 0.67315 | 0.24262 | 0.17985
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.44777 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.029479 | PARAOXON-METHYL | E | 0.01 | 0.0132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44777 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0434 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.029328 | PARAOXON-METHYL | E | 0.01 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0434 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.72385 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.057747 | PARAOXON-METHYL | E | 0.01 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72385 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0219 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.058912 | PARAOXON-METHYL | E | 0.01 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121