## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-03-19 | 2006-10-01 | 2007-09-30 | ug/L | 1.0038 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.20224 | PENDIMETHALIN | . | 0.02 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1615 | 0.15943 | 1.1396 | 0.24969 | 0.18509
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-05-14 | 2006-10-01 | 2007-09-30 | ug/L | 1.2097 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.040506 | PENDIMETHALIN | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2097 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1615 | 0.15943 | 1.1396 | 0.24969 | 0.18509
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-08-01 | 2006-10-01 | 2007-09-30 | ug/L | 1.0695 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.20289 | PENDIMETHALIN | . | 0.02 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0695 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1615 | 0.15943 | 1.1396 | 0.24969 | 0.18509
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-11-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.363 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.041086 | PENDIMETHALIN | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.363 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1615 | 0.15943 | 1.1396 | 0.24969 | 0.18509
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.93727 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.083541 | PENDIMETHALIN | . | 0.012 | 0.0783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93727 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93727 |  | 0.93727 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.67413 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.10369 | PENDIMETHALIN | . | 0.012 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67413 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.60298 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.049255 | PENDIMETHALIN | . | 0.012 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60298 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.83231 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.051303 | PENDIMETHALIN | . | 0.012 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83231 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.52935 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.25314 | PENDIMETHALIN | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52935 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.95578 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PENDIMETHALIN | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95578 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.8032 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PENDIMETHALIN | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8032 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 1.0542 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PENDIMETHALIN | . | 0.02 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.99703 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PENDIMETHALIN | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99703 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.85336 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PENDIMETHALIN | . | 0.012 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85336 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.91029 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PENDIMETHALIN | . | 0.012 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91029 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92898 | 0.09266 | 0.93303 | 0.14367 | 0.1065
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.93021 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PENDIMETHALIN | . | 0.012 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93021 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0547 | 0.17602 | 1.0547 | 0.24892 | 0.18452
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.1791 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PENDIMETHALIN | . | 0.012 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0547 | 0.17602 | 1.0547 | 0.24892 | 0.18452
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.2107 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PENDIMETHALIN | . | 0.012 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2107 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0587 | 0.1194 | 1.0485 | 0.17467 | 0.12948
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0814 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PENDIMETHALIN | . | 0.012 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0814 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0587 | 0.1194 | 1.0485 | 0.17467 | 0.12948
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.0156 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PENDIMETHALIN | . | 0.012 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0587 | 0.1194 | 1.0485 | 0.17467 | 0.12948
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.92718 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PENDIMETHALIN | . | 0.012 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0587 | 0.1194 | 1.0485 | 0.17467 | 0.12948
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.95147 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PENDIMETHALIN | . | 0.012 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95147 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1147 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PENDIMETHALIN | . | 0.012 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1147 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.2269 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PENDIMETHALIN | . | 0.012 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2269 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92945 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PENDIMETHALIN | . | 0.012 | 0.0936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92945 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92945 |  | 0.92945 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.9924 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PENDIMETHALIN | . | 0.012 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9924 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95984 | 0.17197 | 0.91128 | 0.26295 | 0.19492
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.82656 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PENDIMETHALIN | . | 0.012 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82656 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95984 | 0.17197 | 0.91128 | 0.26295 | 0.19492
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.1902 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PENDIMETHALIN | . | 0.012 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1902 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95984 | 0.17197 | 0.91128 | 0.26295 | 0.19492
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.83017 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PENDIMETHALIN | . | 0.012 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83017 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95984 | 0.17197 | 0.91128 | 0.26295 | 0.19492
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.86467 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19776 | PENDIMETHALIN | . | 0.012 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86467 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9809 | 0.18463 | 1.0198 | 0.19504 | 0.14458
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-04-18 | 2007-10-01 | 2009-09-30 | ug/L | 1.0198 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19611 | PENDIMETHALIN | . | 0.012 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0198 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9809 | 0.18463 | 1.0198 | 0.19504 | 0.14458
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 1.0597 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19439 | PENDIMETHALIN | E | 0.012 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | Protocol R1070723008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.9809 | 0.18463 | 1.0198 | 0.19504 | 0.14458
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-08-20 | 2007-10-01 | 2009-09-30 | ug/L | 1.22 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19344 | PENDIMETHALIN | . | 0.012 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.22 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9809 | 0.18463 | 1.0198 | 0.19504 | 0.14458
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.74023 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.19183 | PENDIMETHALIN | . | 0.012 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74023 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9809 | 0.18463 | 1.0198 | 0.19504 | 0.14458
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-02-12 | 2006-10-01 | 2007-09-30 | ug/L | 1.0542 | Restek | A046582 | Restek A046582: 50 µl | 0.20869 | PENDIMETHALIN | . | 0.02 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0453 | 0.099106 | 1.0542 | 0.14348 | 0.10636
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-03-02 | 2006-10-01 | 2007-09-30 | ug/L | 0.95197 | Restek | A046582 | Restek A046582: 50 µl | 0.20904 | PENDIMETHALIN | . | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95197 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0453 | 0.099106 | 1.0542 | 0.14348 | 0.10636
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-07-23 | 2006-10-01 | 2007-09-30 | ug/L | 0.9454 | Restek | A046582 | Restek A046582: 10 µl | 0.041252 | PENDIMETHALIN | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9454 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0453 | 0.099106 | 1.0542 | 0.14348 | 0.10636
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-09-19 | 2006-10-01 | 2007-09-30 | ug/L | 1.0955 | Restek | A046582 | Restek A046582: 50 µl | 0.20722 | PENDIMETHALIN | . | 0.02 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0955 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0453 | 0.099106 | 1.0542 | 0.14348 | 0.10636
PENDIMETHALIN | 2033 | 82683GCM35 | 2007-10-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.1795 | Restek | A046582 | Restek A046582: 10 µl | 0.042392 | PENDIMETHALIN | . | 0.012 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1795 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0453 | 0.099106 | 1.0542 | 0.14348 | 0.10636
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-02-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.85117 | Restek | A063025 | Restek A063025: 40 µl | 0.31016 | PENDIMETHALIN | . | 0.012 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85117 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88761 | 0.1101 | 0.89561 | 0.098947 | 0.073348
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.89561 | Restek | A063025 | Restek A063025: 25 µl | 0.20656 | PENDIMETHALIN | . | 0.012 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89561 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88761 | 0.1101 | 0.89561 | 0.098947 | 0.073348
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0165 | Restek | A063025 | Restek A063025: 25 µl | 0.19773 | PENDIMETHALIN | . | 0.012 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88761 | 0.1101 | 0.89561 | 0.098947 | 0.073348
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.7246 | Restek | A063025 | Restek A063025: 40 µl | 0.32294 | PENDIMETHALIN | . | 0.012 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7246 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88761 | 0.1101 | 0.89561 | 0.098947 | 0.073348
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95012 | Restek | A063025 | Restek A063025: 25 µl | 0.19997 | PENDIMETHALIN | . | 0.012 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95012 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88761 | 0.1101 | 0.89561 | 0.098947 | 0.073348
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1725 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PENDIMETHALIN | . | 0.012 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1725 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2213 | 0.069047 | 1.2213 | 0.097648 | 0.072385
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2702 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PENDIMETHALIN | . | 0.012 | 0.0507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2702 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2213 | 0.069047 | 1.2213 | 0.097648 | 0.072385
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.91255 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19615 | PENDIMETHALIN | . | 0.012 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91255 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-01-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.63139 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19639 | PENDIMETHALIN | . | 0.012 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63139 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-01-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.93379 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19705 | PENDIMETHALIN | . | 0.012 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93379 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.81717 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.1958 | PENDIMETHALIN | . | 0.012 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81717 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-02-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.82796 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19566 | PENDIMETHALIN | . | 0.012 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82796 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-02-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.67265 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.19773 | PENDIMETHALIN | . | 0.012 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67265 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79925 | 0.12352 | 0.82256 | 0.2399 | 0.17784
PENDIMETHALIN | 2033 | 82683GCM35 | 2008-12-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.70698 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19803 | PENDIMETHALIN | . | 0.012 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70698 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.75589 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.31751 | PENDIMETHALIN | . | 0.012 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75589 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-03-16 | 2007-10-01 | 2009-09-30 | ug/L | 1.1367 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.21466 | PENDIMETHALIN | . | 0.012 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-07-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.44 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19722 | PENDIMETHALIN | . | 0.012 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.44 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.84916 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19902 | PENDIMETHALIN | . | 0.012 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84916 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.88735 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19834 | PENDIMETHALIN | . | 0.012 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88735 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96268 | 0.27744 | 0.86826 | 0.38079 | 0.28227
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.71807 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.04902 | PENDIMETHALIN | . | 0.012 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71807 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2816 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.048769 | PENDIMETHALIN | . | 0.012 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2816 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.81125 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.096025 | PENDIMETHALIN | . | 0.012 | 0.0779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81125 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.91055 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.097962 | PENDIMETHALIN | . | 0.012 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91055 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566