## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE | 2033 | 82664GCM35 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.73255 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19248 | PHORATE | . | 0.02 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73255 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.90812 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19821 | PHORATE | . | 0.02 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90812 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2009-03-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.78132 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.33149 | PHORATE | . | 0.02 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78132 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.85024 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19641 | PHORATE | . | 0.02 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85024 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.84412 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.31275 | PHORATE | . | 0.02 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84412 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.97694 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19551 | PHORATE | . | 0.02 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97694 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84888 | 0.087214 | 0.84718 | 0.12681 | 0.094
PHORATE | 2033 | 82664GCM35 | 2007-02-21 | 2006-10-01 | 2007-09-30 | ug/L | 0.56901 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.070297 | PHORATE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56901 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75804 | 0.13028 | 0.80379 | 0.17059 | 0.12646
PHORATE | 2033 | 82664GCM35 | 2007-05-21 | 2006-10-01 | 2007-09-30 | ug/L | 0.85555 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.014026 | PHORATE | E | 0.02 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85555 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.75804 | 0.13028 | 0.80379 | 0.17059 | 0.12646
PHORATE | 2033 | 82664GCM35 | 2007-08-08 | 2006-10-01 | 2007-09-30 | ug/L | 0.83112 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.069786 | PHORATE | . | 0.02 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83112 | Abs 083006gc | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75804 | 0.13028 | 0.80379 | 0.17059 | 0.12646
PHORATE | 2033 | 82664GCM35 | 2007-10-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.77647 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.014167 | PHORATE | E | 0.04 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77647 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.75804 | 0.13028 | 0.80379 | 0.17059 | 0.12646
PHORATE | 2033 | 82664GCM35 | 2007-04-05 | 2006-10-01 | 2007-09-30 | ug/L | 0.87509 | Accu | B6070194 | Accu B6070194: 10 µl | 0.013713 | PHORATE | E | 0.02 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87509 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.7636 | 0.12477 | 0.77563 | 0.21188 | 0.15706
PHORATE | 2033 | 82664GCM35 | 2007-07-30 | 2006-10-01 | 2007-09-30 | ug/L | 0.68725 | Accu | B6070194 | Accu B6070194: 50 µl | 0.068388 | PHORATE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68725 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7636 | 0.12477 | 0.77563 | 0.21188 | 0.15706
PHORATE | 2033 | 82664GCM35 | 2007-10-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.864 | Accu | B6070194 | Accu B6070194: 10 µl | 0.013889 | PHORATE | E | 0.04 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.864 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.7636 | 0.12477 | 0.77563 | 0.21188 | 0.15706
PHORATE | 2033 | 82664GCM35 | 2007-12-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.62808 | Accu | B6070194 | Accu B6070194: 50 µl | 0.068463 | PHORATE | . | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62808 | Accu B6070194 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7636 | 0.12477 | 0.77563 | 0.21188 | 0.15706
PHORATE | 2033 | 82664GCM35 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.63035 | Accu | B8090098 | Accu B8090098: 40 µl | 0.31094 | PHORATE | . | 0.02 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63035 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.82932 | 0.11523 | 0.85645 | 0.056507 | 0.041888
PHORATE | 2033 | 82664GCM35 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.84338 | Accu | B8090098 | Accu B8090098: 25 µl | 0.20394 | PHORATE | . | 0.02 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84338 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.82932 | 0.11523 | 0.85645 | 0.056507 | 0.041888
PHORATE | 2033 | 82664GCM35 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.91652 | Accu | B8090098 | Accu B8090098: 40 µl | 0.30878 | PHORATE | . | 0.02 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91652 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.82932 | 0.11523 | 0.85645 | 0.056507 | 0.041888
PHORATE | 2033 | 82664GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.89989 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18891 | PHORATE | . | 0.02 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89989 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.82932 | 0.11523 | 0.85645 | 0.056507 | 0.041888
PHORATE | 2033 | 82664GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.85645 | Accu | B8090098 | Accu B8090098: 25 µl | 0.19032 | PHORATE | . | 0.02 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85645 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.82932 | 0.11523 | 0.85645 | 0.056507 | 0.041888
PHORATE | 2033 | 82664GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.87613 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PHORATE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87613 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.64256 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHORATE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64256 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 0.71635 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PHORATE | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71635 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.82187 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PHORATE | . | 0.02 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82187 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.91431 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PHORATE | E | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91431 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 1.0174 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHORATE | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83143 | 0.13598 | 0.849 | 0.19796 | 0.14675
PHORATE | 2033 | 82664GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.0246 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PHORATE | . | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0246 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98755 | 0.052364 | 0.98755 | 0.074054 | 0.054895
PHORATE | 2033 | 82664GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.95053 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PHORATE | . | 0.02 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95053 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98755 | 0.052364 | 0.98755 | 0.074054 | 0.054895
PHORATE | 2033 | 82664GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.91798 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PHORATE | . | 0.02 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91798 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87591 | 0.061038 | 0.881 | 0.10154 | 0.075274
PHORATE | 2033 | 82664GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.84403 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PHORATE | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84403 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87591 | 0.061038 | 0.881 | 0.10154 | 0.075274
PHORATE | 2033 | 82664GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.93539 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PHORATE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93539 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87591 | 0.061038 | 0.881 | 0.10154 | 0.075274
PHORATE | 2033 | 82664GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.80624 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PHORATE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80624 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87591 | 0.061038 | 0.881 | 0.10154 | 0.075274
PHORATE | 2033 | 82664GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.77355 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHORATE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77355 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.76454 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHORATE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76454 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.89046 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHORATE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89046 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.91356 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHORATE | . | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91356 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91356 |  | 0.91356 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.5359 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PHORATE | E | 0.04 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5359 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.62436 | 0.09891 | 0.60206 | 0.14834 | 0.10996
PHORATE | 2033 | 82664GCM35 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.56448 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PHORATE | E | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56448 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.62436 | 0.09891 | 0.60206 | 0.14834 | 0.10996
PHORATE | 2033 | 82664GCM35 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.75742 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PHORATE | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75742 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62436 | 0.09891 | 0.60206 | 0.14834 | 0.10996
PHORATE | 2033 | 82664GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.63964 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PHORATE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63964 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62436 | 0.09891 | 0.60206 | 0.14834 | 0.10996
PHORATE | 2033 | 82664GCM35 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.61154 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15862 | PHORATE | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61154 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63416 | 0.071324 | 0.62305 | 0.025402 | 0.01883
PHORATE | 2033 | 82664GCM35 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.62305 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15729 | PHORATE | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62305 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63416 | 0.071324 | 0.62305 | 0.025402 | 0.01883
PHORATE | 2033 | 82664GCM35 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.55159 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15591 | PHORATE | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55159 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63416 | 0.071324 | 0.62305 | 0.025402 | 0.01883
PHORATE | 2033 | 82664GCM35 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.74768 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15515 | PHORATE | . | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74768 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63416 | 0.071324 | 0.62305 | 0.025402 | 0.01883
PHORATE | 2033 | 82664GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.63694 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.15386 | PHORATE | . | 0.02 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63694 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63416 | 0.071324 | 0.62305 | 0.025402 | 0.01883
PHORATE | 2033 | 82664GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.97633 | Restek | A075606 | Restek A075606: 40 µl | 0.049164 | PHORATE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97633 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83225 | 0.20376 | 0.83225 | 0.28817 | 0.21361
PHORATE | 2033 | 82664GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.68816 | Restek | A075606 | Restek A075606: 80 µl | 0.10172 | PHORATE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68816 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83225 | 0.20376 | 0.83225 | 0.28817 | 0.21361
PHORATE | 2033 | 82664GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.2988 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.050201 | PHORATE | E | 0.02 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2988 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.76824 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.25253 | PHORATE | . | 0.02 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76824 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.4899 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.051031 | PHORATE | . | 0.02 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4899 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.72017 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.10275 | PHORATE | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72017 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.70026 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15708 | PHORATE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70026 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.62948 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15727 | PHORATE | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62948 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.87453 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.1578 | PHORATE | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87453 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.7972 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.1568 | PHORATE | . | 0.04 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7972 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 0.60629 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15669 | PHORATE | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6063 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.7389 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.15834 | PHORATE | . | 0.04 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7389 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72444 | 0.10158 | 0.71958 | 0.16772 | 0.12433
PHORATE | 2033 | 82664GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.71572 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.050299 | PHORATE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71572 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.71572 |  | 0.71572 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.46736 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.098425 | PHORATE | . | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46736 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94512 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.050787 | PHORATE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94512 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96842 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10223 | PHORATE | . | 0.02 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96842 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.57414 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.05051 | PHORATE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57414 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322