## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE OXON | 2033 | 61666GCM39 | 2008-02-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.95912 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.095921 | PHORATE_OXON | E | 0.027 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95912 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.53865 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.098395 | PHORATE_OXON | E | 0.027 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53865 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.9303 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.094593 | PHORATE_OXON | E | 0.027 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9303 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2008-07-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.78043 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.09482 | PHORATE_OXON | E | 0.027 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78043 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2008-09-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.52963 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.094405 | PHORATE_OXON | E | 0.027 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52963 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2008-11-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.85041 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.095248 | PHORATE_OXON | E | 0.027 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85042 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.76476 | 0.1893 | 0.81542 | 0.39165 | 0.29033
PHORATE OXON | 2033 | 61666GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.58959 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12042 | PHORATE_OXON | E | 0.027 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58959 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.76607 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12401 | PHORATE_OXON | E | 0.027 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76607 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.85827 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.20739 | PHORATE_OXON | E | 0.027 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85827 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 1.0742 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12288 | PHORATE_OXON | E | 0.027 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0742 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.70527 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.19567 | PHORATE_OXON | E | 0.027 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70527 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1119 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12232 | PHORATE_OXON | E | 0.027 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1119 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.85087 | 0.20722 | 0.81217 | 0.36891 | 0.27347
PHORATE OXON | 2033 | 61666GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.74859 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.084158 | PHORATE_OXON | E | 0.027 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74859 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0139 | 0.32616 | 0.90902 | 0.39471 | 0.29259
PHORATE OXON | 2033 | 61666GCM39 | 2007-05-21 | 2006-04-01 | 2009-09-30 | ug/L | 1.4888 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.016792 | PHORATE_OXON | E | 0.027 | 0.025 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4888 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0139 | 0.32616 | 0.90902 | 0.39471 | 0.29259
PHORATE OXON | 2033 | 61666GCM39 | 2007-08-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.93361 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.083546 | PHORATE_OXON | E | 0.027 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93361 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0139 | 0.32616 | 0.90902 | 0.39471 | 0.29259
PHORATE OXON | 2033 | 61666GCM39 | 2007-10-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.88443 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.01696 | PHORATE_OXON | E | 0.027 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88443 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0139 | 0.32616 | 0.90902 | 0.39471 | 0.29259
PHORATE OXON | 2033 | 61666GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.70057 | Accu | 209081187 | Accu 209081187: 100 µl | 0.43251 | PHORATE_OXON | E | 0.027 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70057 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.87031 | 0.13131 | 0.95358 | 0.21313 | 0.15799
PHORATE OXON | 2033 | 61666GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.97225 | Accu | 209081187 | Accu 209081187: 20 µl | 0.08722 | PHORATE_OXON | E | 0.027 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97225 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.87031 | 0.13131 | 0.95358 | 0.21313 | 0.15799
PHORATE OXON | 2033 | 61666GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.96914 | Accu | 209081187 | Accu 209081187: 20 µl | 0.091422 | PHORATE_OXON | E | 0.027 | 0.0886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96914 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.87031 | 0.13131 | 0.95358 | 0.21313 | 0.15799
PHORATE OXON | 2033 | 61666GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.95358 | Accu | 209081187 | Accu 209081187: 40 µl | 0.17828 | PHORATE_OXON | E | 0.027 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95358 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.87031 | 0.13131 | 0.95358 | 0.21313 | 0.15799
PHORATE OXON | 2033 | 61666GCM39 | 2010-12-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.756 | Accu | 209081187 | Accu 209081187: 40 µl | 0.17725 | PHORATE_OXON | E | 0.027 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.756 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.87031 | 0.13131 | 0.95358 | 0.21313 | 0.15799
PHORATE OXON | 2033 | 61666GCM39 | 2007-04-05 | 2006-04-01 | 2009-09-30 | ug/L | 1.2603 | Accu | B6070194 | Accu B6070194: 10 µl | 0.016663 | PHORATE_OXON | E | 0.027 | 0.021 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2602 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0632 | 0.14834 | 1.0223 | 0.22883 | 0.16963
PHORATE OXON | 2033 | 61666GCM39 | 2007-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 1.095 | Accu | B6070194 | Accu B6070194: 50 µl | 0.083103 | PHORATE_OXON | E | 0.027 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0632 | 0.14834 | 1.0223 | 0.22883 | 0.16963
PHORATE OXON | 2033 | 61666GCM39 | 2007-10-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.94802 | Accu | B6070194 | Accu B6070194: 10 µl | 0.016877 | PHORATE_OXON | E | 0.027 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94802 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0632 | 0.14834 | 1.0223 | 0.22883 | 0.16963
PHORATE OXON | 2033 | 61666GCM39 | 2007-12-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.9496 | Accu | B6070194 | Accu B6070194: 50 µl | 0.083193 | PHORATE_OXON | E | 0.027 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9496 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0632 | 0.14834 | 1.0223 | 0.22883 | 0.16963
PHORATE OXON | 2033 | 61666GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 1.3605 | Accu | B8090098 | Accu B8090098: 40 µl | 0.19773 | PHORATE_OXON | E | 0.027 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3605 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2686 | 0.21351 | 1.3055 | 0.070186 | 0.052028
PHORATE OXON | 2033 | 61666GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.90989 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12969 | PHORATE_OXON | E | 0.027 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90989 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2686 | 0.21351 | 1.3055 | 0.070186 | 0.052028
PHORATE OXON | 2033 | 61666GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.4769 | Accu | B8090098 | Accu B8090098: 40 µl | 0.19635 | PHORATE_OXON | E | 0.027 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4769 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2686 | 0.21351 | 1.3055 | 0.070186 | 0.052028
PHORATE OXON | 2033 | 61666GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 1.2903 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12013 | PHORATE_OXON | E | 0.027 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2903 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2686 | 0.21351 | 1.3055 | 0.070186 | 0.052028
PHORATE OXON | 2033 | 61666GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.3055 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12102 | PHORATE_OXON | E | 0.027 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3055 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2686 | 0.21351 | 1.3055 | 0.070186 | 0.052028
PHORATE OXON | 2033 | 61666GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.79259 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.090589 | PHORATE_OXON | E | 0.027 | 0.0718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79259 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.1025 | 0.29219 | 1.1421 | 0.58036 | 0.43022
PHORATE OXON | 2033 | 61666GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1421 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.1795 | PHORATE_OXON | E | 0.027 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1421 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.1025 | 0.29219 | 1.1421 | 0.58036 | 0.43022
PHORATE OXON | 2033 | 61666GCM39 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 1.373 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.090316 | PHORATE_OXON | E | 0.027 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.373 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.1025 | 0.29219 | 1.1421 | 0.58036 | 0.43022
PHORATE OXON | 2033 | 61666GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 1.1549 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PHORATE_OXON | E | 0.027 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1549 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.68272 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHORATE_OXON | E | 0.027 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68272 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.89206 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PHORATE_OXON | E | 0.027 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89206 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.86229 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PHORATE_OXON | E | 0.027 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86229 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.87367 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PHORATE_OXON | E | 0.027 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87367 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.0442 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHORATE_OXON | E | 0.027 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0442 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.9183 | 0.16318 | 0.88287 | 0.18187 | 0.13482
PHORATE OXON | 2033 | 61666GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.90325 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PHORATE_OXON | E | 0.027 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90325 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0592 | 0.2206 | 1.0592 | 0.31198 | 0.23127
PHORATE OXON | 2033 | 61666GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.2152 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PHORATE_OXON | E | 0.027 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2152 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0592 | 0.2206 | 1.0592 | 0.31198 | 0.23127
PHORATE OXON | 2033 | 61666GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.3836 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PHORATE_OXON | E | 0.027 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3836 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0318 | 0.25476 | 0.9508 | 0.37513 | 0.27808
PHORATE OXON | 2033 | 61666GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.055 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PHORATE_OXON | E | 0.027 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0318 | 0.25476 | 0.9508 | 0.37513 | 0.27808
PHORATE OXON | 2033 | 61666GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.84185 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PHORATE_OXON | E | 0.027 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84185 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0318 | 0.25476 | 0.9508 | 0.37513 | 0.27808
PHORATE OXON | 2033 | 61666GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.84655 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PHORATE_OXON | E | 0.027 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84655 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0318 | 0.25476 | 0.9508 | 0.37513 | 0.27808
PHORATE OXON | 2033 | 61666GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2712 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHORATE_OXON | E | 0.027 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2712 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2191 | 0.056437 | 1.2269 | 0.11206 | 0.083072
PHORATE OXON | 2033 | 61666GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1591 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHORATE_OXON | E | 0.027 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1591 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2191 | 0.056437 | 1.2269 | 0.11206 | 0.083072
PHORATE OXON | 2033 | 61666GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.2269 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHORATE_OXON | E | 0.027 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2269 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2191 | 0.056437 | 1.2269 | 0.11206 | 0.083072
PHORATE OXON | 2033 | 61666GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.1022 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHORATE_OXON | E | 0.027 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1022 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.1022 |  | 1.1022 | 0 | 0
PHORATE OXON | 2033 | 61666GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.1115 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PHORATE_OXON | E | 0.027 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1115 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0062 | 0.22539 | 1.0295 | 0.3435 | 0.25464
PHORATE OXON | 2033 | 61666GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.94752 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PHORATE_OXON | E | 0.027 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94752 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0062 | 0.22539 | 1.0295 | 0.3435 | 0.25464
PHORATE OXON | 2033 | 61666GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.2443 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PHORATE_OXON | E | 0.027 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2443 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0062 | 0.22539 | 1.0295 | 0.3435 | 0.25464
PHORATE OXON | 2033 | 61666GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.72129 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PHORATE_OXON | E | 0.027 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72129 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0062 | 0.22539 | 1.0295 | 0.3435 | 0.25464
PHORATE OXON | 2033 | 61666GCM39 | 2008-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.6348 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094518 | PHORATE_OXON | E | 0.027 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6348 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67887 | 0.08728 | 0.6348 | 0.063707 | 0.047226
PHORATE OXON | 2033 | 61666GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.69102 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.098405 | PHORATE_OXON | E | 0.027 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69102 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67887 | 0.08728 | 0.6348 | 0.063707 | 0.047226
PHORATE OXON | 2033 | 61666GCM39 | 2008-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.82606 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094424 | PHORATE_OXON | E | 0.027 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82606 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67887 | 0.08728 | 0.6348 | 0.063707 | 0.047226
PHORATE OXON | 2033 | 61666GCM39 | 2008-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.61517 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094283 | PHORATE_OXON | E | 0.027 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61517 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67887 | 0.08728 | 0.6348 | 0.063707 | 0.047226
PHORATE OXON | 2033 | 61666GCM39 | 2008-10-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.62732 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.092457 | PHORATE_OXON | E | 0.027 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62732 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67887 | 0.08728 | 0.6348 | 0.063707 | 0.047226