## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHOSMET OXON | 2033 | 61668GCM39 | 2009-01-08 | 2005-03-04 | 2009-09-30 | ug/L | 1.5297 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.18631 | PHOSMET_OXON | E | 0.0511 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5297 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2009-02-11 | 2005-03-04 | 2009-09-30 | ug/L | 1.0007 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19186 | PHOSMET_OXON | E | 0.0511 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0007 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2009-03-25 | 2005-03-04 | 2009-09-30 | ug/L | 0.80095 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.32087 | PHOSMET_OXON | E | 0.0511 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80095 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2009-06-30 | 2005-03-04 | 2009-09-30 | ug/L | 0.57859 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19012 | PHOSMET_OXON | E | 0.0511 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57859 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.7003 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.30273 | PHOSMET_OXON | E | 0.0511 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.86662 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.18924 | PHOSMET_OXON | E | 0.0511 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86662 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91282 | 0.33461 | 0.83379 | 0.30044 | 0.22271
PHOSMET OXON | 2033 | 61668GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.076211 | Accu | 209081187 | Accu 209081187: 100 µl | 0.50912 | PHOSMET_OXON | E | 0.0511 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.076211 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.076211 |  | 0.076211 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2007-04-05 | 2005-03-04 | 2009-09-30 | ug/L | 0.54011 | Accu | B6070194 | Accu B6070194: 10 µl | 0.033327 | PHOSMET_OXON | E | 0.0511 | 0.018 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.54011 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.65042 | 0.17128 | 0.64569 | 0.28673 | 0.21255
PHOSMET OXON | 2033 | 61668GCM39 | 2007-07-30 | 2005-03-04 | 2009-09-30 | ug/L | 0.83631 | Accu | B6070194 | Accu B6070194: 50 µl | 0.16621 | PHOSMET_OXON | E | 0.0511 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83631 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.65042 | 0.17128 | 0.64569 | 0.28673 | 0.21255
PHOSMET OXON | 2033 | 61668GCM39 | 2007-10-23 | 2005-03-04 | 2009-09-30 | ug/L | 0.47401 | Accu | B6070194 | Accu B6070194: 10 µl | 0.033754 | PHOSMET_OXON | E | 0.0511 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47401 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.65042 | 0.17128 | 0.64569 | 0.28673 | 0.21255
PHOSMET OXON | 2033 | 61668GCM39 | 2007-12-12 | 2005-03-04 | 2009-09-30 | ug/L | 0.75126 | Accu | B6070194 | Accu B6070194: 50 µl | 0.16639 | PHOSMET_OXON | E | 0.0511 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75126 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.65042 | 0.17128 | 0.64569 | 0.28673 | 0.21255
PHOSMET OXON | 2033 | 61668GCM39 | 2009-01-28 | 2005-03-04 | 2009-09-30 | ug/L | 1.4758 | Accu | B8090098 | Accu B8090098: 40 µl | 0.30221 | PHOSMET_OXON | E | 0.0511 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4758 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3268 | 0.42947 | 1.1996 | 0.44864 | 0.33257
PHOSMET OXON | 2033 | 61668GCM39 | 2009-03-03 | 2005-03-04 | 2009-09-30 | ug/L | 2.351 | Accu | B8090098 | Accu B8090098: 25 µl | 0.19822 | PHOSMET_OXON | E | 0.0511 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3268 | 0.42947 | 1.1996 | 0.44864 | 0.33257 | 2
PHOSMET OXON | 2033 | 61668GCM39 | 2009-05-13 | 2005-03-04 | 2009-09-30 | ug/L | 1.1996 | Accu | B8090098 | Accu B8090098: 40 µl | 0.30011 | PHOSMET_OXON | E | 0.0511 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1996 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3268 | 0.42947 | 1.1996 | 0.44864 | 0.33257
PHOSMET OXON | 2033 | 61668GCM39 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.93132 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18361 | PHOSMET_OXON | E | 0.0511 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93132 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3268 | 0.42947 | 1.1996 | 0.44864 | 0.33257
PHOSMET OXON | 2033 | 61668GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0271 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18498 | PHOSMET_OXON | E | 0.0511 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0271 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3268 | 0.42947 | 1.1996 | 0.44864 | 0.33257
PHOSMET OXON | 2033 | 61668GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.43466 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10468 | PHOSMET_OXON | E | 0.0511 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43466 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.26131 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.20742 | PHOSMET_OXON | E | 0.0511 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26131 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.29895 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10437 | PHOSMET_OXON | E | 0.0511 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29895 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2007-02-16 | 2005-03-04 | 2009-09-30 | ug/L | 0.19912 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PHOSMET_OXON | E | 0.0511 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.19912 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2007-04-09 | 2005-03-04 | 2009-09-30 | ug/L | 0.18741 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHOSMET_OXON | E | 0.0511 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18741 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2007-05-29 | 2005-03-04 | 2009-09-30 | ug/L | 0.31087 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PHOSMET_OXON | E | 0.0511 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31087 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2007-08-15 | 2005-03-04 | 2009-09-30 | ug/L | 0.16168 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PHOSMET_OXON | E | 0.0511 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16168 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2007-10-30 | 2005-03-04 | 2009-09-30 | ug/L | 0.14223 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PHOSMET_OXON | E | 0.0511 | 0.007 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.14223 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2007-12-14 | 2005-03-04 | 2009-09-30 | ug/L | 0.2008 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PHOSMET_OXON | E | 0.0511 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2008 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20035 | 0.058749 | 0.19327 | 0.03912 | 0.028999
PHOSMET OXON | 2033 | 61668GCM39 | 2009-03-04 | 2005-03-04 | 2009-09-30 | ug/L | 0.51229 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PHOSMET_OXON | E | 0.0511 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51229 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.35842 | 0.21761 | 0.35842 | 0.30775 | 0.22813
PHOSMET OXON | 2033 | 61668GCM39 | 2009-03-10 | 2005-03-04 | 2009-09-30 | ug/L | 0.20454 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PHOSMET_OXON | E | 0.0511 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20454 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.35842 | 0.21761 | 0.35842 | 0.30775 | 0.22813
PHOSMET OXON | 2033 | 61668GCM39 | 2009-04-17 | 2005-03-04 | 2009-09-30 | ug/L | 0.23947 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PHOSMET_OXON | E | 0.0511 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23947 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.23947 |  | 0.23947 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.23206 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHOSMET_OXON | E | 0.0511 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.23207 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.48832 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHOSMET_OXON | E | 0.0511 | 0.0198 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.48832 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.34382 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHOSMET_OXON | E | 0.0511 | 0.0139 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34382 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.3684 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHOSMET_OXON | E | 0.0511 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3684 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.3684 |  | 0.3684 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2008-04-15 | 2005-03-04 | 2009-09-30 | ug/L | 0.77407 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PHOSMET_OXON | E | 0.0511 | 0.039 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77407 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.57926 | 0.29802 | 0.59798 | 0.49471 | 0.36672
PHOSMET OXON | 2033 | 61668GCM39 | 2008-06-23 | 2005-03-04 | 2009-09-30 | ug/L | 0.24192 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PHOSMET_OXON | E | 0.0511 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.24192 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.57926 | 0.29802 | 0.59798 | 0.49471 | 0.36672
PHOSMET OXON | 2033 | 61668GCM39 | 2008-08-27 | 2005-03-04 | 2009-09-30 | ug/L | 0.87915 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PHOSMET_OXON | E | 0.0511 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87915 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.57926 | 0.29802 | 0.59798 | 0.49471 | 0.36672
PHOSMET OXON | 2033 | 61668GCM39 | 2008-10-24 | 2005-03-04 | 2009-09-30 | ug/L | 0.42189 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PHOSMET_OXON | E | 0.0511 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42189 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.57926 | 0.29802 | 0.59798 | 0.49471 | 0.36672