## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROMETON | 2033 | 04037GCM35 | 2008-12-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.97899 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.061288 | PROMETON | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97899 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0302 | 0.16182 | 0.97899 | 0.047783 | 0.035421
PROMETON | 2033 | 04037GCM35 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.88999 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.10225 | PROMETON | . | 0.012 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88999 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0302 | 0.16182 | 0.97899 | 0.047783 | 0.035421
PROMETON | 2033 | 04037GCM35 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0107 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.097954 | PROMETON | . | 0.012 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0302 | 0.16182 | 0.97899 | 0.047783 | 0.035421
PROMETON | 2033 | 04037GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.96289 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.062312 | PROMETON | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96289 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0302 | 0.16182 | 0.97899 | 0.047783 | 0.035421
PROMETON | 2033 | 04037GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3087 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.063423 | PROMETON | . | 0.012 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3087 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0302 | 0.16182 | 0.97899 | 0.047783 | 0.035421
PROMETON | 2033 | 04037GCM35 | 2008-02-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.83581 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.061019 | PROMETON | . | 0.01 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83581 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2008-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.64343 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.060612 | PROMETON | . | 0.01 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64343 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2008-05-07 | 2006-10-01 | 2008-09-30 | ug/L | 0.666 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.06006 | PROMETON | . | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.666 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2008-07-08 | 2006-10-01 | 2008-09-30 | ug/L | 0.68285 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.060042 | PROMETON | . | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68286 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2008-09-16 | 2006-10-01 | 2008-09-30 | ug/L | 0.90012 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.058881 | PROMETON | . | 0.01 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90012 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.94612 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.059189 | PROMETON | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94612 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77906 | 0.13131 | 0.75933 | 0.23412 | 0.17355
PROMETON | 2033 | 04037GCM35 | 2009-03-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.87371 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.066383 | PROMETON | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87371 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.98773 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.06277 | PROMETON | . | 0.012 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98773 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.919 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.063112 | PROMETON | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.919 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91761 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.10026 | PROMETON | . | 0.012 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91761 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.02 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.062745 | PROMETON | . | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.80699 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.096656 | PROMETON | . | 0.012 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80699 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92084 | 0.076819 | 0.9183 | 0.11402 | 0.084523
PROMETON | 2033 | 04037GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.96692 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.080358 | PROMETON | . | 0.012 | 0.0777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96692 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96692 |  | 0.96692 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.80744 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.16348 | PROMETON | . | 0.012 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80745 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.4932 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.077656 | PROMETON | . | 0.012 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4932 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.99276 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.080885 | PROMETON | . | 0.012 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99276 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.669 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.3991 | PROMETON | . | 0.012 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.669 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 1.0155 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PROMETON | . | 0.01 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.78981 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PROMETON | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78981 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.0137 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PROMETON | . | 0.01 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.95661 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PROMETON | . | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95661 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.93463 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PROMETON | . | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93463 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 1.0174 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PROMETON | . | 0.01 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95461 | 0.08798 | 0.98515 | 0.080883 | 0.059957
PROMETON | 2033 | 04037GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.98414 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PROMETON | . | 0.012 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98414 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1237 | 0.19744 | 1.1237 | 0.27922 | 0.20698
PROMETON | 2033 | 04037GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2634 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PROMETON | . | 0.012 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2634 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1237 | 0.19744 | 1.1237 | 0.27922 | 0.20698
PROMETON | 2033 | 04037GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.2639 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PROMETON | . | 0.012 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2639 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0983 | 0.16084 | 1.1146 | 0.25411 | 0.18837
PROMETON | 2033 | 04037GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1869 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PROMETON | . | 0.012 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1869 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0983 | 0.16084 | 1.1146 | 0.25411 | 0.18837
PROMETON | 2033 | 04037GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0423 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PROMETON | . | 0.012 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0983 | 0.16084 | 1.1146 | 0.25411 | 0.18837
PROMETON | 2033 | 04037GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.9003 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PROMETON | . | 0.012 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9003 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0983 | 0.16084 | 1.1146 | 0.25411 | 0.18837
PROMETON | 2033 | 04037GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94631 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PROMETON | . | 0.012 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94631 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2159 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PROMETON | . | 0.012 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2159 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0784 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PROMETON | . | 0.012 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0784 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0427 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PROMETON | . | 0.012 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0427 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0427 |  | 1.0427 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.81377 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PROMETON | . | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81377 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84745 | 0.097337 | 0.82016 | 0.11901 | 0.08822
PROMETON | 2033 | 04037GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.82656 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PROMETON | . | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82656 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84745 | 0.097337 | 0.82016 | 0.11901 | 0.08822
PROMETON | 2033 | 04037GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.98735 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PROMETON | . | 0.01 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98735 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84745 | 0.097337 | 0.82016 | 0.11901 | 0.08822
PROMETON | 2033 | 04037GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.76212 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PROMETON | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76212 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84745 | 0.097337 | 0.82016 | 0.11901 | 0.08822
PROMETON | 2033 | 04037GCM35 | 2007-04-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.8932 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.073892 | PROMETON | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8932 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0416 | 0.18088 | 0.98513 | 0.23148 | 0.17159
PROMETON | 2033 | 04037GCM35 | 2007-07-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.303 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.014582 | PROMETON | . | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.303 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0416 | 0.18088 | 0.98513 | 0.23148 | 0.17159
PROMETON | 2033 | 04037GCM35 | 2007-09-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.95856 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.075113 | PROMETON | . | 0.01 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95856 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0416 | 0.18088 | 0.98513 | 0.23148 | 0.17159
PROMETON | 2033 | 04037GCM35 | 2007-11-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.0117 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.074133 | PROMETON | . | 0.01 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0117 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0416 | 0.18088 | 0.98513 | 0.23148 | 0.17159
PROMETON | 2033 | 04037GCM35 | 2008-03-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.69398 | Restek | A053526 | Restek A053526: 50 µl | 0.06052 | PROMETON | . | 0.01 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69398 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2008-04-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.61747 | Restek | A053526 | Restek A053526: 50 µl | 0.059922 | PROMETON | . | 0.01 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61747 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2008-05-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.70105 | Restek | A053526 | Restek A053526: 50 µl | 0.05991 | PROMETON | . | 0.01 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70105 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.72045 | Restek | A053526 | Restek A053526: 50 µl | 0.062461 | PROMETON | . | 0.01 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72045 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 0.65838 | Restek | A053526 | Restek A053526: 50 µl | 0.059236 | PROMETON | . | 0.01 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65838 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.93408 | Restek | A053526 | Restek A053526: 50 µl | 0.059952 | PROMETON | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93408 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7209 | 0.11061 | 0.69752 | 0.062065 | 0.046008
PROMETON | 2033 | 04037GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.99582 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PROMETON | . | 0.012 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99582 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0315 | 0.050501 | 1.0315 | 0.07142 | 0.052943
PROMETON | 2033 | 04037GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0672 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PROMETON | . | 0.012 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0672 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0315 | 0.050501 | 1.0315 | 0.07142 | 0.052943
PROMETON | 2033 | 04037GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.58489 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.07745 | PROMETON | . | 0.012 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58489 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.83059 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.077053 | PROMETON | E | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83059 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.95573 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15172 | PROMETON | . | 0.012 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95573 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0208 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15478 | PROMETON | . | 0.012 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2007-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 0.82212 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.074199 | PROMETON | . | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82212 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.95618 | 0.11693 | 1.0094 | 0.21492 | 0.15932
PROMETON | 2033 | 04037GCM35 | 2007-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 1.0094 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.01486 | PROMETON | . | 0.01 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0094 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.95618 | 0.11693 | 1.0094 | 0.21492 | 0.15932
PROMETON | 2033 | 04037GCM35 | 2007-03-08 | 2006-10-01 | 2008-09-30 | ug/L | 1.037 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.07425 | PROMETON | . | 0.01 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.037 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.95618 | 0.11693 | 1.0094 | 0.21492 | 0.15932