## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPANIL | 2033 | 82679GCM35 | 2008-12-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.1608 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.04652 | PROPANIL | . | 0.014 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1608 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.179 | 0.12024 | 1.1608 | 0.12281 | 0.091037
PROPANIL | 2033 | 82679GCM35 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.0823 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.07761 | PROPANIL | . | 0.014 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.179 | 0.12024 | 1.1608 | 0.12281 | 0.091037
PROPANIL | 2033 | 82679GCM35 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.076 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.074351 | PROPANIL | . | 0.014 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.179 | 0.12024 | 1.1608 | 0.12281 | 0.091037
PROPANIL | 2033 | 82679GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.2051 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.047297 | PROPANIL | . | 0.014 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2051 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.179 | 0.12024 | 1.1608 | 0.12281 | 0.091037
PROPANIL | 2033 | 82679GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.371 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.048141 | PROPANIL | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.371 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.179 | 0.12024 | 1.1608 | 0.12281 | 0.091037
PROPANIL | 2033 | 82679GCM35 | 2008-02-28 | 2007-10-01 | 2008-09-30 | ug/L | 1.0351 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.096613 | PROPANIL | . | 0.006 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0351 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.85444 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.095969 | PROPANIL | . | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85444 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2008-05-07 | 2007-10-01 | 2008-09-30 | ug/L | 0.88333 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.095095 | PROPANIL | . | 0.006 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2008-07-08 | 2007-10-01 | 2008-09-30 | ug/L | 0.86255 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.095067 | PROPANIL | . | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86255 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2008-09-16 | 2007-10-01 | 2008-09-30 | ug/L | 1.0405 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.093229 | PROPANIL | . | 0.006 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0405 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.1631 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.093716 | PROPANIL | . | 0.014 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1631 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97315 | 0.12556 | 0.95919 | 0.1779 | 0.13187
PROPANIL | 2033 | 82679GCM35 | 2009-03-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.3211 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.050717 | PROPANIL | . | 0.014 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3211 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.3763 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.047956 | PROPANIL | . | 0.014 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3763 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.1199 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.048218 | PROPANIL | . | 0.014 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1199 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1488 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.076599 | PROPANIL | . | 0.01 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1488 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1682 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.047937 | PROPANIL | . | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1682 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1781 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.073845 | PROPANIL | . | 0.01 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1781 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2187 | 0.10405 | 1.1732 | 0.17222 | 0.12767
PROPANIL | 2033 | 82679GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.3698 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.078846 | PROPANIL | . | 0.01 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3698 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.3698 |  | 1.3698 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 1.1748 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | PROPANIL | . | 0.011 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1748 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 1.004 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PROPANIL | . | 0.011 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 1.2705 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | PROPANIL | . | 0.011 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2705 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 1.1857 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | PROPANIL | . | 0.011 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1857 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.93463 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | PROPANIL | . | 0.006 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93463 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.82997 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | PROPANIL | . | 0.006 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82997 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0666 | 0.17017 | 1.0894 | 0.25102 | 0.18608
PROPANIL | 2033 | 82679GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.2268 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | PROPANIL | . | 0.014 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2268 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.3173 | 0.12795 | 1.3173 | 0.18094 | 0.13413
PROPANIL | 2033 | 82679GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.4077 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | PROPANIL | . | 0.014 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4077 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.3173 | 0.12795 | 1.3173 | 0.18094 | 0.13413
PROPANIL | 2033 | 82679GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.5167 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | PROPANIL | . | 0.014 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5167 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1479 | 0.30138 | 1.1074 | 0.48698 | 0.361
PROPANIL | 2033 | 82679GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.266 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | PROPANIL | . | 0.014 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.266 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1479 | 0.30138 | 1.1074 | 0.48698 | 0.361
PROPANIL | 2033 | 82679GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.94875 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | PROPANIL | . | 0.014 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94875 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1479 | 0.30138 | 1.1074 | 0.48698 | 0.361
PROPANIL | 2033 | 82679GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.85999 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PROPANIL | . | 0.014 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85999 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1479 | 0.30138 | 1.1074 | 0.48698 | 0.361
PROPANIL | 2033 | 82679GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96178 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PROPANIL | . | 0.01 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96178 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.428 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PROPANIL | . | 0.01 | 0.0579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.428 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3481 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PROPANIL | . | 0.01 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3481 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PROPANIL | . | 0.01 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1717 |  | 1.1717 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 1.0122 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | PROPANIL | . | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0122 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0714 | 0.19954 | 0.99606 | 0.23554 | 0.1746
PROPANIL | 2033 | 82679GCM35 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.92736 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | PROPANIL | . | 0.006 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92736 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0714 | 0.19954 | 0.99606 | 0.23554 | 0.1746
PROPANIL | 2033 | 82679GCM35 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 1.3661 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | PROPANIL | . | 0.006 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3661 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0714 | 0.19954 | 0.99606 | 0.23554 | 0.1746
PROPANIL | 2033 | 82679GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.97987 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | PROPANIL | . | 0.014 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97987 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0714 | 0.19954 | 0.99606 | 0.23554 | 0.1746
PROPANIL | 2033 | 82679GCM35 | 2007-04-27 | 2005-03-04 | 2007-09-30 | ug/L | 0.841 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.068966 | PROPANIL | . | 0.011 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.841 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1991 | 0.2868 | 1.2061 | 0.35895 | 0.26608
PROPANIL | 2033 | 82679GCM35 | 2007-07-06 | 2005-03-04 | 2007-09-30 | ug/L | 1.5431 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.013609 | PROPANIL | . | 0.011 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5431 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1991 | 0.2868 | 1.2061 | 0.35895 | 0.26608
PROPANIL | 2033 | 82679GCM35 | 2007-09-12 | 2005-03-04 | 2007-09-30 | ug/L | 1.1982 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.070105 | PROPANIL | . | 0.011 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1982 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1991 | 0.2868 | 1.2061 | 0.35895 | 0.26608
PROPANIL | 2033 | 82679GCM35 | 2007-11-19 | 2007-10-01 | 2008-09-30 | ug/L | 1.214 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.069191 | PROPANIL | . | 0.006 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.214 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1991 | 0.2868 | 1.2061 | 0.35895 | 0.26608
PROPANIL | 2033 | 82679GCM35 | 2008-03-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.97583 | Restek | A053526 | Restek A053526: 50 µl | 0.096328 | PROPANIL | . | 0.006 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97583 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2008-04-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.88072 | Restek | A053526 | Restek A053526: 50 µl | 0.095376 | PROPANIL | . | 0.006 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88072 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2008-05-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.92285 | Restek | A053526 | Restek A053526: 50 µl | 0.095357 | PROPANIL | . | 0.006 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92285 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.96563 | Restek | A053526 | Restek A053526: 50 µl | 0.099417 | PROPANIL | . | 0.006 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96563 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.81668 | Restek | A053526 | Restek A053526: 50 µl | 0.094284 | PROPANIL | . | 0.006 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81668 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.1842 | Restek | A053526 | Restek A053526: 50 µl | 0.095424 | PROPANIL | . | 0.014 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1842 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95765 | 0.12547 | 0.94424 | 0.095104 | 0.070499
PROPANIL | 2033 | 82679GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0412 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.086345 | PROPANIL | . | 0.01 | 0.0899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0412 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93014 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.43434 | PROPANIL | . | 0.01 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93014 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2532 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.087773 | PROPANIL | . | 0.01 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2532 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84872 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.17674 | PROPANIL | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84872 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3252 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PROPANIL | . | 0.01 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3252 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2952 | 0.042483 | 1.2952 | 0.06008 | 0.044537
PROPANIL | 2033 | 82679GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2652 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PROPANIL | . | 0.01 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2652 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2952 | 0.042483 | 1.2952 | 0.06008 | 0.044537
PROPANIL | 2033 | 82679GCM35 | 2007-02-13 | 2005-03-04 | 2007-09-30 | ug/L | 1.1168 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.070736 | PROPANIL | . | 0.011 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1168 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2479 | 0.1213 | 1.2706 | 0.23939 | 0.17746
PROPANIL | 2033 | 82679GCM35 | 2007-02-27 | 2005-03-04 | 2007-09-30 | ug/L | 1.2706 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.014167 | PROPANIL | . | 0.011 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2706 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2479 | 0.1213 | 1.2706 | 0.23939 | 0.17746
PROPANIL | 2033 | 82679GCM35 | 2007-03-08 | 2005-03-04 | 2007-09-30 | ug/L | 1.3562 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.070785 | PROPANIL | . | 0.011 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3562 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2479 | 0.1213 | 1.2706 | 0.23939 | 0.17746
PROPANIL | 2033 | 82679GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.8447 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.16929 | PROPANIL | . | 0.01 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8447 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.7172 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.087354 | PROPANIL | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7172 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2739 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.17583 | PROPANIL | . | 0.01 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2739 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.87019 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.086877 | PROPANIL | E | 0.01 | 0.0756 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302