## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 0.59736 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TEBUCONAZOLE | . | 0.0136 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59736 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 0.49531 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEBUCONAZOLE | . | 0.0136 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49531 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 0.55416 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TEBUCONAZOLE | . | 0.0136 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55416 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 0.6063 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TEBUCONAZOLE | . | 0.0136 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6063 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-10-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.48763 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TEBUCONAZOLE | . | 0.018 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48763 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-12-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.48192 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEBUCONAZOLE | . | 0.018 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48192 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.53711 | 0.056479 | 0.52473 | 0.10973 | 0.08134
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.59318 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TEBUCONAZOLE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59318 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.58536 | 0.011061 | 0.58536 | 0.015643 | 0.011596
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.57754 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TEBUCONAZOLE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57754 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.58536 | 0.011061 | 0.58536 | 0.015643 | 0.011596
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.59868 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TEBUCONAZOLE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59868 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67234 | 0.098746 | 0.63652 | 0.11796 | 0.087444
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.81766 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TEBUCONAZOLE | . | 0.02 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81766 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67234 | 0.098746 | 0.63652 | 0.11796 | 0.087444
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.62805 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TEBUCONAZOLE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62805 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67234 | 0.098746 | 0.63652 | 0.11796 | 0.087444
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.64499 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TEBUCONAZOLE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64499 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67234 | 0.098746 | 0.63652 | 0.11796 | 0.087444
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.54664 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TEBUCONAZOLE | . | 0.02 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54664 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.67195 | 0.16452 | 0.61096 | 0.31161 | 0.23099
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.85825 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TEBUCONAZOLE | . | 0.02 | 0.0348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85825 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.67195 | 0.16452 | 0.61096 | 0.31161 | 0.23099
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.61095 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TEBUCONAZOLE | . | 0.02 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61096 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.67195 | 0.16452 | 0.61096 | 0.31161 | 0.23099
TEBUCONAZOLE | 2033 | 62852GCM14 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TEBUCONAZOLE | . | 0.02 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0724 |  | 1.0724 | 0 | 0
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-04-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.4565 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TEBUCONAZOLE | . | 0.018 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4565 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.50452 | 0.093701 | 0.48025 | 0.13065 | 0.096849
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.504 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TEBUCONAZOLE | . | 0.018 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.504 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.50452 | 0.093701 | 0.48025 | 0.13065 | 0.096849
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.63569 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TEBUCONAZOLE | . | 0.018 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63569 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.50452 | 0.093701 | 0.48025 | 0.13065 | 0.096849
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.42189 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TEBUCONAZOLE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42189 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.50452 | 0.093701 | 0.48025 | 0.13065 | 0.096849
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-04-27 | 2005-03-04 | 2007-09-30 | ug/L | 0.33081 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.133 | TEBUCONAZOLE | . | 0.0136 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33081 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53853 | 0.13904 | 0.60065 | 0.15454 | 0.11456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-07-06 | 2005-03-04 | 2007-09-30 | ug/L | 0.6096 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.026247 | TEBUCONAZOLE | . | 0.0136 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6096 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53853 | 0.13904 | 0.60065 | 0.15454 | 0.11456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-09-12 | 2005-03-04 | 2007-09-30 | ug/L | 0.5917 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.1352 | TEBUCONAZOLE | . | 0.0136 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5917 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53853 | 0.13904 | 0.60065 | 0.15454 | 0.11456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-11-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.62201 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.13344 | TEBUCONAZOLE | . | 0.018 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62201 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53853 | 0.13904 | 0.60065 | 0.15454 | 0.11456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-04-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.51763 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.18353 | TEBUCONAZOLE | . | 0.018 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51763 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53384 | 0.20519 | 0.43814 | 0.083547 | 0.061933
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-04-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.43408 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.18199 | TEBUCONAZOLE | . | 0.018 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43408 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53384 | 0.20519 | 0.43814 | 0.083547 | 0.061933
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-05-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.38803 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.1804 | TEBUCONAZOLE | . | 0.018 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38802 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53384 | 0.20519 | 0.43814 | 0.083547 | 0.061933
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.8913 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.17951 | TEBUCONAZOLE | . | 0.018 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8913 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53384 | 0.20519 | 0.43814 | 0.083547 | 0.061933
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.43814 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.17803 | TEBUCONAZOLE | . | 0.02 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43814 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53384 | 0.20519 | 0.43814 | 0.083547 | 0.061933
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.46305 | Restek | A063025 | Restek A063025: 40 µl | 0.30235 | TEBUCONAZOLE | . | 0.02 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46305 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.52584 | 0.090599 | 0.46683 | 0.14369 | 0.10652
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.46683 | Restek | A063025 | Restek A063025: 25 µl | 0.20136 | TEBUCONAZOLE | . | 0.02 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46683 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.52584 | 0.090599 | 0.46683 | 0.14369 | 0.10652
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.45136 | Restek | A063025 | Restek A063025: 25 µl | 0.19275 | TEBUCONAZOLE | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45136 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.52584 | 0.090599 | 0.46683 | 0.14369 | 0.10652
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.60674 | Restek | A063025 | Restek A063025: 40 µl | 0.3148 | TEBUCONAZOLE | . | 0.02 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60674 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.52584 | 0.090599 | 0.46683 | 0.14369 | 0.10652
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.64123 | Restek | A063025 | Restek A063025: 25 µl | 0.19494 | TEBUCONAZOLE | . | 0.02 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64123 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.52584 | 0.090599 | 0.46683 | 0.14369 | 0.10652
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.55435 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.076305 | TEBUCONAZOLE | . | 0.02 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55435 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54625 | 0.022811 | 0.54513 | 0.035549 | 0.026352
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.52105 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.38384 | TEBUCONAZOLE | . | 0.02 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52105 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54625 | 0.022811 | 0.54513 | 0.035549 | 0.026352
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.5737 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.077567 | TEBUCONAZOLE | . | 0.02 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5737 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54625 | 0.022811 | 0.54513 | 0.035549 | 0.026352
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.5359 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.15619 | TEBUCONAZOLE | E | 0.02 | 0.0837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5359 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.54625 | 0.022811 | 0.54513 | 0.035549 | 0.026352
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.43918 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18216 | TEBUCONAZOLE | . | 0.018 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43918 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-01-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.3564 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18238 | TEBUCONAZOLE | . | 0.018 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3564 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-01-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.58474 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18299 | TEBUCONAZOLE | . | 0.018 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58474 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-02-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.43998 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18183 | TEBUCONAZOLE | . | 0.018 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43998 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-02-13 | 2007-10-01 | 2008-09-30 | ug/L | 0.38525 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.1817 | TEBUCONAZOLE | . | 0.018 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38525 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-02-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.34855 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.18362 | TEBUCONAZOLE | . | 0.018 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34855 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.42568 | 0.087259 | 0.41222 | 0.083574 | 0.061953
TEBUCONAZOLE | 2033 | 62852GCM14 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.45089 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19295 | TEBUCONAZOLE | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45089 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.42667 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.30937 | TEBUCONAZOLE | . | 0.02 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42667 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.62153 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.20916 | TEBUCONAZOLE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62153 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.0668 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19216 | TEBUCONAZOLE | . | 0.02 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0668 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.44864 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19392 | TEBUCONAZOLE | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44864 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.58988 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19326 | TEBUCONAZOLE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58988 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.60074 | 0.24235 | 0.52039 | 0.17289 | 0.12816
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-02-13 | 2005-03-04 | 2007-09-30 | ug/L | 0.36073 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.13306 | TEBUCONAZOLE | . | 0.0136 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36073 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.4681 | 0.09899 | 0.48781 | 0.19501 | 0.14456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-02-27 | 2005-03-04 | 2007-09-30 | ug/L | 0.48781 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.026649 | TEBUCONAZOLE | E | 0.0136 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48781 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.4681 | 0.09899 | 0.48781 | 0.19501 | 0.14456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2007-03-08 | 2005-03-04 | 2007-09-30 | ug/L | 0.55574 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.13316 | TEBUCONAZOLE | . | 0.0136 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55574 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.4681 | 0.09899 | 0.48781 | 0.19501 | 0.14456
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.54409 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.14961 | TEBUCONAZOLE | . | 0.02 | 0.0814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54409 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53139 | 0.17359 | 0.47737 | 0.25358 | 0.18797
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.41064 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.077197 | TEBUCONAZOLE | . | 0.02 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41064 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53139 | 0.17359 | 0.47737 | 0.25358 | 0.18797
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.77226 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.15539 | TEBUCONAZOLE | . | 0.02 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77226 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53139 | 0.17359 | 0.47737 | 0.25358 | 0.18797
TEBUCONAZOLE | 2033 | 62852GCM14 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.39857 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.076775 | TEBUCONAZOLE | . | 0.02 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39857 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53139 | 0.17359 | 0.47737 | 0.25358 | 0.18797