## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUTHIURON | 2033 | 82670GCM35 | 2007-03-19 | 2005-03-04 | 2008-09-30 | ug/L | 1.0064 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.13811 | TEBUTHIURON | . | 0.016 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0064 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.4612 | 0.42744 | 1.4193 | 0.65084 | 0.48246
TEBUTHIURON | 2033 | 82670GCM35 | 2007-05-14 | 2005-03-04 | 2008-09-30 | ug/L | 1.2652 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.027662 | TEBUTHIURON | . | 0.016 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2653 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.4612 | 0.42744 | 1.4193 | 0.65084 | 0.48246
TEBUTHIURON | 2033 | 82670GCM35 | 2007-08-01 | 2005-03-04 | 2008-09-30 | ug/L | 1.5733 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.13856 | TEBUTHIURON | . | 0.016 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5733 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.4612 | 0.42744 | 1.4193 | 0.65084 | 0.48246
TEBUTHIURON | 2033 | 82670GCM35 | 2007-11-29 | 2005-03-04 | 2008-09-30 | ug/L | 2.3166 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.028059 | TEBUTHIURON | . | 0.016 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.4612 | 0.42744 | 1.4193 | 0.65084 | 0.48246 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2007-02-16 | 2005-03-04 | 2008-09-30 | ug/L | 1.0553 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TEBUTHIURON | . | 0.016 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2007-04-09 | 2005-03-04 | 2008-09-30 | ug/L | 0.8032 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEBUTHIURON | . | 0.016 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8032 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2007-05-29 | 2005-03-04 | 2008-09-30 | ug/L | 1.2975 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TEBUTHIURON | . | 0.016 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2975 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2007-08-15 | 2005-03-04 | 2008-09-30 | ug/L | 1.1857 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TEBUTHIURON | . | 0.016 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1857 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2007-10-30 | 2005-03-04 | 2008-09-30 | ug/L | 1.0972 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TEBUTHIURON | . | 0.016 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0972 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2007-12-14 | 2005-03-04 | 2008-09-30 | ug/L | 1.0308 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEBUTHIURON | . | 0.016 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0783 | 0.16638 | 1.0763 | 0.15488 | 0.11481
TEBUTHIURON | 2033 | 82670GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.2538 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TEBUTHIURON | . | 0.02 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2538 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2706 | 0.023801 | 1.2706 | 0.033659 | 0.024951
TEBUTHIURON | 2033 | 82670GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2874 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TEBUTHIURON | . | 0.02 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2874 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2706 | 0.023801 | 1.2706 | 0.033659 | 0.024951
TEBUTHIURON | 2033 | 82670GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.663 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TEBUTHIURON | . | 0.02 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.663 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3553 | 0.25957 | 1.3646 | 0.33647 | 0.24942
TEBUTHIURON | 2033 | 82670GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.3452 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TEBUTHIURON | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3452 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3553 | 0.25957 | 1.3646 | 0.33647 | 0.24942
TEBUTHIURON | 2033 | 82670GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0289 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TEBUTHIURON | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0289 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3553 | 0.25957 | 1.3646 | 0.33647 | 0.24942
TEBUTHIURON | 2033 | 82670GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.384 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TEBUTHIURON | . | 0.02 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.384 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3553 | 0.25957 | 1.3646 | 0.33647 | 0.24942
TEBUTHIURON | 2033 | 82670GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 2.1969 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TEBUTHIURON | . | 0.028 | 0.0852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.6844 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TEBUTHIURON | . | 0.028 | 0.0683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6844 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.8428 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TEBUTHIURON | . | 0.028 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8428 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.6782 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TEBUTHIURON | E | 0.028 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6782 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.6782 |  | 1.6782 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2008-04-15 | 2005-03-04 | 2008-09-30 | ug/L | 1.5084 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TEBUTHIURON | . | 0.016 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5084 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2549 | 0.3395 | 1.2918 | 0.56769 | 0.42082
TEBUTHIURON | 2033 | 82670GCM35 | 2008-06-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.86688 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TEBUTHIURON | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86688 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2549 | 0.3395 | 1.2918 | 0.56769 | 0.42082
TEBUTHIURON | 2033 | 82670GCM35 | 2008-08-27 | 2005-03-04 | 2008-09-30 | ug/L | 1.5689 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TEBUTHIURON | . | 0.016 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5689 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2549 | 0.3395 | 1.2918 | 0.56769 | 0.42082
TEBUTHIURON | 2033 | 82670GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.0751 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TEBUTHIURON | . | 0.02 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0751 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2549 | 0.3395 | 1.2918 | 0.56769 | 0.42082
TEBUTHIURON | 2033 | 82670GCM35 | 2008-04-03 | 2005-03-04 | 2008-09-30 | ug/L | 1.5151 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.075242 | TEBUTHIURON | . | 0.016 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5151 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2227 | 0.31963 | 1.192 | 0.53672 | 0.39787
TEBUTHIURON | 2033 | 82670GCM35 | 2008-04-18 | 2005-03-04 | 2008-09-30 | ug/L | 0.9784 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.074612 | TEBUTHIURON | . | 0.016 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9784 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2227 | 0.31963 | 1.192 | 0.53672 | 0.39787
TEBUTHIURON | 2033 | 82670GCM35 | 2008-05-28 | 2005-03-04 | 2008-09-30 | ug/L | 0.85182 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.073959 | TEBUTHIURON | . | 0.016 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85182 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2227 | 0.31963 | 1.192 | 0.53672 | 0.39787
TEBUTHIURON | 2033 | 82670GCM35 | 2008-08-20 | 2005-03-04 | 2008-09-30 | ug/L | 1.5762 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.073595 | TEBUTHIURON | . | 0.016 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5762 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2227 | 0.31963 | 1.192 | 0.53672 | 0.39787
TEBUTHIURON | 2033 | 82670GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.192 | Protocol | R1070723008 | Protocol R1070723008: 50 µl | 0.072985 | TEBUTHIURON | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.192 | Protocol R1070723008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2227 | 0.31963 | 1.192 | 0.53672 | 0.39787
TEBUTHIURON | 2033 | 82670GCM35 | 2007-02-12 | 2005-03-04 | 2008-09-30 | ug/L | 1.3433 | Restek | A046582 | Restek A046582: 50 µl | 0.13846 | TEBUTHIURON | . | 0.016 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3433 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.243 | 0.13942 | 1.2257 | 0.21073 | 0.15621
TEBUTHIURON | 2033 | 82670GCM35 | 2007-03-02 | 2005-03-04 | 2008-09-30 | ug/L | 1.2257 | Restek | A046582 | Restek A046582: 50 µl | 0.13869 | TEBUTHIURON | . | 0.016 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2257 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.243 | 0.13942 | 1.2257 | 0.21073 | 0.15621
TEBUTHIURON | 2033 | 82670GCM35 | 2007-07-23 | 2005-03-04 | 2008-09-30 | ug/L | 1.1326 | Restek | A046582 | Restek A046582: 10 µl | 0.02737 | TEBUTHIURON | . | 0.016 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1326 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.243 | 0.13942 | 1.2257 | 0.21073 | 0.15621
TEBUTHIURON | 2033 | 82670GCM35 | 2007-09-19 | 2005-03-04 | 2008-09-30 | ug/L | 1.091 | Restek | A046582 | Restek A046582: 50 µl | 0.13749 | TEBUTHIURON | . | 0.016 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.091 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.243 | 0.13942 | 1.2257 | 0.21073 | 0.15621
TEBUTHIURON | 2033 | 82670GCM35 | 2007-10-11 | 2005-03-04 | 2008-09-30 | ug/L | 1.4222 | Restek | A046582 | Restek A046582: 10 µl | 0.028126 | TEBUTHIURON | . | 0.016 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4222 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.243 | 0.13942 | 1.2257 | 0.21073 | 0.15621
TEBUTHIURON | 2033 | 82670GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.0008 | Restek | A063025 | Restek A063025: 40 µl | 0.2458 | TEBUTHIURON | . | 0.02 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0008 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1458 | 0.17095 | 1.0996 | 0.31988 | 0.23713
TEBUTHIURON | 2033 | 82670GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.0996 | Restek | A063025 | Restek A063025: 25 µl | 0.1637 | TEBUTHIURON | . | 0.02 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0996 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1458 | 0.17095 | 1.0996 | 0.31988 | 0.23713
TEBUTHIURON | 2033 | 82670GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.97636 | Restek | A063025 | Restek A063025: 25 µl | 0.1567 | TEBUTHIURON | . | 0.02 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97636 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1458 | 0.17095 | 1.0996 | 0.31988 | 0.23713
TEBUTHIURON | 2033 | 82670GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.3207 | Restek | A063025 | Restek A063025: 40 µl | 0.25593 | TEBUTHIURON | . | 0.02 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3207 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1458 | 0.17095 | 1.0996 | 0.31988 | 0.23713
TEBUTHIURON | 2033 | 82670GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.3314 | Restek | A063025 | Restek A063025: 25 µl | 0.15848 | TEBUTHIURON | . | 0.028 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3314 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1458 | 0.17095 | 1.0996 | 0.31988 | 0.23713
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.6834 | Restek | A075606 | Restek A075606: 40 µl | 0.065344 | TEBUTHIURON | . | 0.028 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6834 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.4593 | 0.3169 | 1.4593 | 0.44817 | 0.33222
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2352 | Restek | A075606 | Restek A075606: 80 µl | 0.1352 | TEBUTHIURON | . | 0.028 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2352 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.4593 | 0.3169 | 1.4593 | 0.44817 | 0.33222
TEBUTHIURON | 2033 | 82670GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.5574 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.11044 | TEBUTHIURON | . | 0.028 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5574 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.2852 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.55556 | TEBUTHIURON | . | 0.028 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2852 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.4163 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.11227 | TEBUTHIURON | . | 0.028 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4163 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95993 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.22606 | TEBUTHIURON | . | 0.028 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95993 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2008-01-24 | 2005-03-04 | 2008-09-30 | ug/L | 0.88574 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.074514 | TEBUTHIURON | . | 0.016 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88574 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-01-24 | 2005-03-04 | 2008-09-30 | ug/L | 0.80424 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.074604 | TEBUTHIURON | . | 0.016 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80424 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-01-25 | 2005-03-04 | 2008-09-30 | ug/L | 1.5631 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.074853 | TEBUTHIURON | . | 0.016 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5631 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-02-06 | 2005-03-04 | 2008-09-30 | ug/L | 1.0621 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.074379 | TEBUTHIURON | . | 0.016 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0621 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-02-13 | 2005-03-04 | 2008-09-30 | ug/L | 1.157 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.074327 | TEBUTHIURON | . | 0.016 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.157 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-02-19 | 2005-03-04 | 2008-09-30 | ug/L | 0.58579 | Supelco | LB50306 | Supelco LB50306: 50 µl | 0.075112 | TEBUTHIURON | . | 0.016 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5858 | Supelco LB50306 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0097 | 0.33703 | 0.97393 | 0.35281 | 0.26153
TEBUTHIURON | 2033 | 82670GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.95162 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15657 | TEBUTHIURON | . | 0.02 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95162 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426
TEBUTHIURON | 2033 | 82670GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.90023 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.25105 | TEBUTHIURON | . | 0.02 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90023 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426
TEBUTHIURON | 2033 | 82670GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.6674 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.16973 | TEBUTHIURON | . | 0.02 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6674 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426
TEBUTHIURON | 2033 | 82670GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 2.2253 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15594 | TEBUTHIURON | . | 0.02 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.29 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15736 | TEBUTHIURON | . | 0.02 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.29 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426
TEBUTHIURON | 2033 | 82670GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.8747 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15683 | TEBUTHIURON | . | 0.028 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8747 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4473 | 0.47038 | 1.4787 | 0.92307 | 0.68426
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.537 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.067012 | TEBUTHIURON | . | 0.028 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.537 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.537 |  | 1.537 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0391 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.21654 | TEBUTHIURON | . | 0.028 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0391 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345
TEBUTHIURON | 2033 | 82670GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 2.8908 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.11173 | TEBUTHIURON | . | 0.028 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.3784 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.2249 | TEBUTHIURON | . | 0.028 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3784 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0889 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.11112 | TEBUTHIURON | E | 0.028 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0889 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345