## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-01-07 | 2006-04-01 | 2008-09-30 | ug/L | 0.55597 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025181 | TEFLUTHRIN | E | 0.0033 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55597 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-01-22 | 2006-04-01 | 2008-09-30 | ug/L | 0.63283 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025283 | TEFLUTHRIN | E | 0.0033 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63283 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-01-28 | 2006-04-01 | 2008-09-30 | ug/L | 0.74336 | Accu | B7070106 | Accu B7070106: 50 µl | 0.02556 | TEFLUTHRIN | E | 0.0033 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74335 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-02-05 | 2006-04-01 | 2008-09-30 | ug/L | 0.59688 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025131 | TEFLUTHRIN | E | 0.0033 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59688 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-02-07 | 2006-04-01 | 2008-09-30 | ug/L | 0.62413 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025636 | TEFLUTHRIN | E | 0.0033 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62413 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-02-13 | 2006-04-01 | 2008-09-30 | ug/L | 0.7527 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025242 | TEFLUTHRIN | E | 0.0033 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7527 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.65098 | 0.079857 | 0.62848 | 0.14648 | 0.10858
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-02-13 | 2006-04-01 | 2008-09-30 | ug/L | 0.80608 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0074434 | TEFLUTHRIN | E | 0.0033 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80608 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79112 | 0.16468 | 0.80608 | 0.32834 | 0.24339
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-02-21 | 2006-04-01 | 2008-09-30 | ug/L | 0.61947 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.037129 | TEFLUTHRIN | E | 0.0033 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61947 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79112 | 0.16468 | 0.80608 | 0.32834 | 0.24339
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-03-05 | 2006-04-01 | 2008-09-30 | ug/L | 0.9478 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0073855 | TEFLUTHRIN | E | 0.0033 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9478 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79112 | 0.16468 | 0.80608 | 0.32834 | 0.24339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-12-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.6798 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.0073551 | TEFLUTHRIN | E | 0.01 | 0.005 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6798 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.66993 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.011942 | TEFLUTHRIN | E | 0.01 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66993 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.89751 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.012256 | TEFLUTHRIN | E | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-01-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.314 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.0076104 | TEFLUTHRIN | E | 0.01 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.314 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.79808 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.007518 | TEFLUTHRIN | E | 0.01 | 0.006 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79808 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.9108 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.012077 | TEFLUTHRIN | E | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9108 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87835 | 0.23686 | 0.84779 | 0.231 | 0.17124
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-03-01 | 2006-04-01 | 2008-09-30 | ug/L | 0.56577 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.024745 | TEFLUTHRIN | E | 0.0033 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56577 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-04-10 | 2006-04-01 | 2008-09-30 | ug/L | 0.56783 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.024655 | TEFLUTHRIN | E | 0.0033 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56783 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-05-12 | 2006-04-01 | 2008-09-30 | ug/L | 0.53714 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.024202 | TEFLUTHRIN | E | 0.0033 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53714 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-07-18 | 2006-04-01 | 2008-09-30 | ug/L | 0.58211 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.02405 | TEFLUTHRIN | E | 0.0033 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58211 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-09-26 | 2006-04-01 | 2008-09-30 | ug/L | 0.58446 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.023954 | TEFLUTHRIN | E | 0.0033 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58446 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.53305 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.024388 | TEFLUTHRIN | E | 0.01 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53305 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.56173 | 0.021966 | 0.5668 | 0.044974 | 0.033339
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.70599 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.037394 | TEFLUTHRIN | E | 0.01 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70599 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.70599 |  | 0.70599 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.37668 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.12 | TEFLUTHRIN | E | 0.01 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37668 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.35964 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.057001 | TEFLUTHRIN | E | 0.01 | 0.0205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35964 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.5693 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.059371 | TEFLUTHRIN | E | 0.01 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5693 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.41646 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.29295 | TEFLUTHRIN | E | 0.01 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41646 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-02-16 | 2006-04-01 | 2008-09-30 | ug/L | 0.57745 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TEFLUTHRIN | E | 0.0033 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57745 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-04-09 | 2006-04-01 | 2008-09-30 | ug/L | 0.53547 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEFLUTHRIN | E | 0.0033 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53547 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-05-29 | 2006-04-01 | 2008-09-30 | ug/L | 0.68932 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TEFLUTHRIN | E | 0.0033 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68932 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-08-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.6063 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TEFLUTHRIN | E | 0.0033 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6063 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-10-30 | 2006-04-01 | 2008-09-30 | ug/L | 0.54859 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TEFLUTHRIN | E | 0.0033 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54859 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-12-14 | 2006-04-01 | 2008-09-30 | ug/L | 0.56224 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TEFLUTHRIN | E | 0.0033 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56224 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58656 | 0.055992 | 0.56984 | 0.057713 | 0.042782
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.63362 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TEFLUTHRIN | E | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63362 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.66574 | 0.04542 | 0.66574 | 0.064233 | 0.047615
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.69786 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TEFLUTHRIN | E | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69786 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.66574 | 0.04542 | 0.66574 | 0.064233 | 0.047615
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.61198 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TEFLUTHRIN | E | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61198 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62916 | 0.063096 | 0.63338 | 0.09541 | 0.070726
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.69896 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TEFLUTHRIN | E | 0.01 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69896 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62916 | 0.063096 | 0.63338 | 0.09541 | 0.070726
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.65477 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TEFLUTHRIN | E | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65477 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62916 | 0.063096 | 0.63338 | 0.09541 | 0.070726
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TEFLUTHRIN | E | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.62916 | 0.063096 | 0.63338 | 0.09541 | 0.070726
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.63947 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TEFLUTHRIN | E | 0.01 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63947 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.75714 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TEFLUTHRIN | E | 0.01 | 0.0307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75714 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.72226 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TEFLUTHRIN | E | 0.01 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72226 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.70702 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TEFLUTHRIN | E | 0.01 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70702 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.70702 |  | 0.70702 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-04-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.51605 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TEFLUTHRIN | E | 0.0033 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51605 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5347 | 0.10695 | 0.49994 | 0.13645 | 0.10115
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-06-23 | 2006-04-01 | 2008-09-30 | ug/L | 0.48384 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TEFLUTHRIN | E | 0.0033 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48384 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5347 | 0.10695 | 0.49994 | 0.13645 | 0.10115
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-08-27 | 2006-04-01 | 2008-09-30 | ug/L | 0.68979 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TEFLUTHRIN | E | 0.0033 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68979 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5347 | 0.10695 | 0.49994 | 0.13645 | 0.10115
TEFLUTHRIN | 2033 | 61606GCM39 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.44911 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TEFLUTHRIN | E | 0.01 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44911 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5347 | 0.10695 | 0.49994 | 0.13645 | 0.10115
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-01-10 | 2008-10-01 | 2009-09-30 | ug/L | 18.5879 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.011889 | TEFLUTHRIN | E | 0.01 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 2 | 0 | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 17.1741 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.0079189 | TEFLUTHRIN | E | 0.01 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 2 | 0 | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 20.7202 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.0074324 | TEFLUTHRIN | E | 0.01 | 0.154 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 2 | 0 | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 11.4362 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.012154 | TEFLUTHRIN | E | 0.01 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 2 | 0 | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 19.5917 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.011944 | TEFLUTHRIN | E | 0.01 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 2 | 0 | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.5932 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | TEFLUTHRIN | E | 0.01 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5932 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.77009 | 0.25016 | 0.77009 | 0.35378 | 0.26226
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.94698 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | TEFLUTHRIN | E | 0.01 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94698 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.77009 | 0.25016 | 0.77009 | 0.35378 | 0.26226
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-04-19 | 2006-04-01 | 2008-09-30 | ug/L | 0.98015 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0081621 | TEFLUTHRIN | E | 0.0033 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98014 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90846 | 0.13833 | 0.97637 | 0.14045 | 0.10412
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-06-13 | 2006-04-01 | 2008-09-30 | ug/L | 0.70099 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.04137 | TEFLUTHRIN | E | 0.0033 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70099 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90846 | 0.13833 | 0.97637 | 0.14045 | 0.10412
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-08-31 | 2006-04-01 | 2008-09-30 | ug/L | 0.9755 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.008201 | TEFLUTHRIN | E | 0.0033 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97549 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90846 | 0.13833 | 0.97637 | 0.14045 | 0.10412
TEFLUTHRIN | 2033 | 61606GCM39 | 2007-11-13 | 2006-04-01 | 2008-09-30 | ug/L | 0.97724 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0081863 | TEFLUTHRIN | E | 0.0033 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97724 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90846 | 0.13833 | 0.97637 | 0.14045 | 0.10412
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.45822 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.056959 | TEFLUTHRIN | E | 0.01 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45822 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.50646 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.056667 | TEFLUTHRIN | E | 0.01 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50646 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.50907 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.11158 | TEFLUTHRIN | E | 0.01 | 0.0568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50907 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.7116 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.11383 | TEFLUTHRIN | E | 0.01 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7116 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877