## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.59736 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59736 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.57563 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57563 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.83799 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83799 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.70061 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70061 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.5689 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5689 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.54885 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54885 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63822 | 0.11152 | 0.58649 | 0.13171 | 0.097634
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 1.0381 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0381 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1868 | 0.21036 | 1.1868 | 0.29749 | 0.22053
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.3356 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3356 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1868 | 0.21036 | 1.1868 | 0.29749 | 0.22053
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.4102 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4102 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1185 | 0.2208 | 1.0952 | 0.26897 | 0.19938
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.0946 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0946 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1185 | 0.2208 | 1.0952 | 0.26897 | 0.19938
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.0957 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0957 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1185 | 0.2208 | 1.0952 | 0.26897 | 0.19938
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.87343 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1185 | 0.2208 | 1.0952 | 0.26897 | 0.19938
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72456 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.0281 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72456 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1394 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0462 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1394 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.0611 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0429 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0611 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.91555 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91555 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91555 |  | 0.91555 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.9527 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9527 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92935 | 0.076694 | 0.9565 | 0.089437 | 0.066299
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.98784 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98784 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92935 | 0.076694 | 0.9565 | 0.089437 | 0.066299
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.9603 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9603 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92935 | 0.076694 | 0.9565 | 0.089437 | 0.066299
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.81656 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81656 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92935 | 0.076694 | 0.9565 | 0.089437 | 0.066299