## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERBUFOS | 2033 | 82675GCM35 | 2007-03-19 | 2006-10-01 | 2007-09-30 | ug/L | 0.8733 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.064125 | TERBUFOS | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8733 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0847 | 0.26614 | 1.0036 | 0.37905 | 0.28098
TERBUFOS | 2033 | 82675GCM35 | 2007-05-14 | 2006-10-01 | 2007-09-30 | ug/L | 1.0901 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.012843 | TERBUFOS | E | 0.012 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0901 | Crescent 07FF061 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0847 | 0.26614 | 1.0036 | 0.37905 | 0.28098
TERBUFOS | 2033 | 82675GCM35 | 2007-08-01 | 2006-10-01 | 2007-09-30 | ug/L | 0.91713 | Crescent | 07FF061 | Crescent 07FF061: 50 µl | 0.064331 | TERBUFOS | . | 0.012 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91713 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0847 | 0.26614 | 1.0036 | 0.37905 | 0.28098
TERBUFOS | 2033 | 82675GCM35 | 2007-11-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.4585 | Crescent | 07FF061 | Crescent 07FF061: 10 µl | 0.013027 | TERBUFOS | . | 0.018 | 0.019 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4585 | Crescent 07FF061 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.0847 | 0.26614 | 1.0036 | 0.37905 | 0.28098
TERBUFOS | 2033 | 82675GCM35 | 2008-02-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.88497 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.061019 | TERBUFOS | . | 0.018 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88497 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.61044 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.060612 | TERBUFOS | . | 0.018 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61044 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2008-05-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.61605 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.06006 | TERBUFOS | . | 0.018 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61605 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2008-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.71616 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.060042 | TERBUFOS | . | 0.018 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71617 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2008-09-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.6114 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.058881 | TERBUFOS | . | 0.018 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6114 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2008-11-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.50685 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.059189 | TERBUFOS | . | 0.018 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50685 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65765 | 0.12957 | 0.61372 | 0.10573 | 0.078374
TERBUFOS | 2033 | 82675GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.70901 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.046544 | TERBUFOS | . | 0.018 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70901 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.70901 |  | 0.70901 | 0 | 0
TERBUFOS | 2033 | 82675GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.9956 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TERBUFOS | . | 0.012 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9956 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.88352 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TERBUFOS | . | 0.012 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88352 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 0.94612 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TERBUFOS | . | 0.012 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94612 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.94313 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TERBUFOS | . | 0.012 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94313 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TERBUFOS | . | 0.018 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.0977 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TERBUFOS | . | 0.018 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0977 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97694 | 0.07225 | 0.97085 | 0.052466 | 0.038893
TERBUFOS | 2033 | 82675GCM35 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.7954 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TERBUFOS | . | 0.018 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7954 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92109 | 0.17776 | 0.92109 | 0.25138 | 0.18635
TERBUFOS | 2033 | 82675GCM35 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0468 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TERBUFOS | . | 0.018 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0468 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92109 | 0.17776 | 0.92109 | 0.25138 | 0.18635
TERBUFOS | 2033 | 82675GCM35 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0111 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TERBUFOS | . | 0.018 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95877 | 0.082295 | 0.97993 | 0.12223 | 0.09061
TERBUFOS | 2033 | 82675GCM35 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0287 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TERBUFOS | . | 0.018 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0287 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95877 | 0.082295 | 0.97993 | 0.12223 | 0.09061
TERBUFOS | 2033 | 82675GCM35 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.94875 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TERBUFOS | . | 0.018 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94875 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95877 | 0.082295 | 0.97993 | 0.12223 | 0.09061
TERBUFOS | 2033 | 82675GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.84655 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TERBUFOS | . | 0.018 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84655 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95877 | 0.082295 | 0.97993 | 0.12223 | 0.09061
TERBUFOS | 2033 | 82675GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.66783 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TERBUFOS | . | 0.018 | 0.0259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66783 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.8327 | 0.14694 | 0.88045 | 0.28199 | 0.20904
TERBUFOS | 2033 | 82675GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.88045 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TERBUFOS | . | 0.018 | 0.0357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88045 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.8327 | 0.14694 | 0.88045 | 0.28199 | 0.20904
TERBUFOS | 2033 | 82675GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.94982 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TERBUFOS | . | 0.018 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94982 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.8327 | 0.14694 | 0.88045 | 0.28199 | 0.20904
TERBUFOS | 2033 | 82675GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89668 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TERBUFOS | . | 0.018 | 0.0903 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89668 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89668 |  | 0.89668 | 0 | 0
TERBUFOS | 2033 | 82675GCM35 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.71453 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TERBUFOS | . | 0.018 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71453 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71129 | 0.1241 | 0.69069 | 0.17109 | 0.12683
TERBUFOS | 2033 | 82675GCM35 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.58464 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TERBUFOS | . | 0.018 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58464 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71129 | 0.1241 | 0.69069 | 0.17109 | 0.12683
TERBUFOS | 2033 | 82675GCM35 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.87915 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TERBUFOS | . | 0.018 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87915 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71129 | 0.1241 | 0.69069 | 0.17109 | 0.12683
TERBUFOS | 2033 | 82675GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.66686 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TERBUFOS | . | 0.018 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66686 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71129 | 0.1241 | 0.69069 | 0.17109 | 0.12683
TERBUFOS | 2033 | 82675GCM35 | 2007-02-12 | 2006-10-01 | 2007-09-30 | ug/L | 1.2321 | Restek | A046582 | Restek A046582: 50 µl | 0.065744 | TERBUFOS | . | 0.012 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2321 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0927 | 0.11293 | 1.1237 | 0.17384 | 0.12886
TERBUFOS | 2033 | 82675GCM35 | 2007-03-02 | 2006-10-01 | 2007-09-30 | ug/L | 1.1237 | Restek | A046582 | Restek A046582: 50 µl | 0.065855 | TERBUFOS | . | 0.012 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1237 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0927 | 0.11293 | 1.1237 | 0.17384 | 0.12886
TERBUFOS | 2033 | 82675GCM35 | 2007-07-23 | 2006-10-01 | 2007-09-30 | ug/L | 1.1542 | Restek | A046582 | Restek A046582: 10 µl | 0.012996 | TERBUFOS | E | 0.012 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1542 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0927 | 0.11293 | 1.1237 | 0.17384 | 0.12886
TERBUFOS | 2033 | 82675GCM35 | 2007-09-19 | 2006-10-01 | 2007-09-30 | ug/L | 0.98036 | Restek | A046582 | Restek A046582: 50 µl | 0.065282 | TERBUFOS | . | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98036 | Restek A046582 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0927 | 0.11293 | 1.1237 | 0.17384 | 0.12886
TERBUFOS | 2033 | 82675GCM35 | 2007-10-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.97342 | Restek | A046582 | Restek A046582: 10 µl | 0.013355 | TERBUFOS | E | 0.018 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97343 | Restek A046582 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.0927 | 0.11293 | 1.1237 | 0.17384 | 0.12886
TERBUFOS | 2033 | 82675GCM35 | 2008-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.52008 | Restek | A053526 | Restek A053526: 50 µl | 0.061529 | TERBUFOS | . | 0.018 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52008 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2008-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.59093 | Restek | A053526 | Restek A053526: 50 µl | 0.060921 | TERBUFOS | . | 0.018 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59093 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2008-05-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.67314 | Restek | A053526 | Restek A053526: 50 µl | 0.060909 | TERBUFOS | . | 0.018 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67314 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.58266 | Restek | A053526 | Restek A053526: 50 µl | 0.063502 | TERBUFOS | . | 0.018 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58266 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.53136 | Restek | A053526 | Restek A053526: 50 µl | 0.060223 | TERBUFOS | . | 0.018 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53136 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2008-10-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.85314 | Restek | A053526 | Restek A053526: 50 µl | 0.060951 | TERBUFOS | . | 0.018 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85314 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62522 | 0.12417 | 0.58679 | 0.14178 | 0.1051
TERBUFOS | 2033 | 82675GCM35 | 2009-02-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.48254 | Restek | A063025 | Restek A063025: 40 µl | 0.11191 | TERBUFOS | . | 0.018 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48254 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68626 | 0.12483 | 0.72888 | 0.11496 | 0.08522
TERBUFOS | 2033 | 82675GCM35 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.65746 | Restek | A063025 | Restek A063025: 25 µl | 0.074529 | TERBUFOS | . | 0.018 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65746 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68626 | 0.12483 | 0.72888 | 0.11496 | 0.08522
TERBUFOS | 2033 | 82675GCM35 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.72888 | Restek | A063025 | Restek A063025: 25 µl | 0.071343 | TERBUFOS | . | 0.018 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72888 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68626 | 0.12483 | 0.72888 | 0.11496 | 0.08522
TERBUFOS | 2033 | 82675GCM35 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.77242 | Restek | A063025 | Restek A063025: 40 µl | 0.11652 | TERBUFOS | . | 0.018 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77242 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68626 | 0.12483 | 0.72888 | 0.11496 | 0.08522
TERBUFOS | 2033 | 82675GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.79 | Restek | A063025 | Restek A063025: 25 µl | 0.072152 | TERBUFOS | . | 0.018 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68626 | 0.12483 | 0.72888 | 0.11496 | 0.08522
TERBUFOS | 2033 | 82675GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.57436 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.03012 | TERBUFOS | E | 0.018 | 0.0173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57436 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.63924 | 0.070285 | 0.62169 | 0.083574 | 0.061953
TERBUFOS | 2033 | 82675GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.7392 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.15152 | TERBUFOS | . | 0.018 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7392 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63924 | 0.070285 | 0.62169 | 0.083574 | 0.061953
TERBUFOS | 2033 | 82675GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.62054 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.030618 | TERBUFOS | . | 0.018 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62054 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63924 | 0.070285 | 0.62169 | 0.083574 | 0.061953
TERBUFOS | 2033 | 82675GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.62285 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.061652 | TERBUFOS | . | 0.018 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62285 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63924 | 0.070285 | 0.62169 | 0.083574 | 0.061953
TERBUFOS | 2033 | 82675GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.45647 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.047539 | TERBUFOS | . | 0.018 | 0.0217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45647 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.5915 | 0.19096 | 0.5915 | 0.27005 | 0.20019
TERBUFOS | 2033 | 82675GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.72652 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02395 | TERBUFOS | . | 0.018 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72652 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.5915 | 0.19096 | 0.5915 | 0.27005 | 0.20019
TERBUFOS | 2033 | 82675GCM35 | 2008-12-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.61863 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.071125 | TERBUFOS | . | 0.018 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61863 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.72782 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.11404 | TERBUFOS | . | 0.018 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72782 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2009-03-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.76524 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.0771 | TERBUFOS | . | 0.018 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76524 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2009-07-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.3694 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.070835 | TERBUFOS | . | 0.018 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3694 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.62953 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.071482 | TERBUFOS | . | 0.018 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62953 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.53342 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.071239 | TERBUFOS | . | 0.018 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53342 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.774 | 0.30318 | 0.67867 | 0.14661 | 0.10868
TERBUFOS | 2033 | 82675GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.53509 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.059055 | TERBUFOS | . | 0.018 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53509 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74269 | 0.26432 | 0.65339 | 0.32336 | 0.2397
TERBUFOS | 2033 | 82675GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1289 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.030472 | TERBUFOS | . | 0.018 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1289 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74269 | 0.26432 | 0.65339 | 0.32336 | 0.2397
TERBUFOS | 2033 | 82675GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.67985 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.061337 | TERBUFOS | . | 0.018 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67985 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74269 | 0.26432 | 0.65339 | 0.32336 | 0.2397
TERBUFOS | 2033 | 82675GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.62694 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.030306 | TERBUFOS | . | 0.018 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62694 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74269 | 0.26432 | 0.65339 | 0.32336 | 0.2397