## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
THIOBENCARB | 2033 | 82681GCM35 | 2008-02-28 | 2005-03-04 | 2008-09-30 | ug/L | 1.1867 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.14746 | THIOBENCARB | . | 0.01 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1867 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2008-04-09 | 2005-03-04 | 2008-09-30 | ug/L | 0.9148 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.14648 | THIOBENCARB | . | 0.01 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9148 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2008-05-07 | 2005-03-04 | 2008-09-30 | ug/L | 0.95766 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.14515 | THIOBENCARB | . | 0.01 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95766 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2008-07-08 | 2005-03-04 | 2008-09-30 | ug/L | 0.85457 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.1451 | THIOBENCARB | . | 0.01 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85457 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2008-09-16 | 2005-03-04 | 2008-09-30 | ug/L | 1.0331 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.1423 | THIOBENCARB | . | 0.01 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0331 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0347 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.14304 | THIOBENCARB | . | 0.016 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0347 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99692 | 0.11603 | 0.99536 | 0.11987 | 0.088858
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.049 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.085132 | THIOBENCARB | . | 0.016 | 0.0893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.049 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.049 |  | 1.049 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2007-02-16 | 2005-03-04 | 2008-09-30 | ug/L | 1.1947 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | THIOBENCARB | . | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1947 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2007-04-09 | 2005-03-04 | 2008-09-30 | ug/L | 1.2316 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | THIOBENCARB | . | 0.01 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2316 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2007-05-29 | 2005-03-04 | 2008-09-30 | ug/L | 1.2705 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | THIOBENCARB | . | 0.01 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2705 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2007-08-15 | 2005-03-04 | 2008-09-30 | ug/L | 1.2126 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | THIOBENCARB | . | 0.01 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2126 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2007-10-30 | 2005-03-04 | 2008-09-30 | ug/L | 1.3004 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | THIOBENCARB | . | 0.01 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3004 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2007-12-14 | 2005-03-04 | 2008-09-30 | ug/L | 1.2583 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | THIOBENCARB | . | 0.01 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2583 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2447 | 0.039116 | 1.245 | 0.057904 | 0.042924
THIOBENCARB | 2033 | 82681GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.2538 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | THIOBENCARB | . | 0.016 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2538 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2706 | 0.023801 | 1.2706 | 0.033659 | 0.024951
THIOBENCARB | 2033 | 82681GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2874 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | THIOBENCARB | . | 0.016 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2874 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2706 | 0.023801 | 1.2706 | 0.033659 | 0.024951
THIOBENCARB | 2033 | 82681GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.3836 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | THIOBENCARB | . | 0.016 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3836 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2185 | 0.13531 | 1.2076 | 0.21274 | 0.1577
THIOBENCARB | 2033 | 82681GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.266 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | THIOBENCARB | . | 0.016 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.266 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2185 | 0.13531 | 1.2076 | 0.21274 | 0.1577
THIOBENCARB | 2033 | 82681GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.1492 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | THIOBENCARB | . | 0.016 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1492 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2185 | 0.13531 | 1.2076 | 0.21274 | 0.1577
THIOBENCARB | 2033 | 82681GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.075 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | THIOBENCARB | . | 0.016 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2185 | 0.13531 | 1.2076 | 0.21274 | 0.1577
THIOBENCARB | 2033 | 82681GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81996 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | THIOBENCARB | . | 0.016 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81996 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1123 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | THIOBENCARB | . | 0.016 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1123 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.95972 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | THIOBENCARB | . | 0.016 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95972 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | THIOBENCARB | . | 0.016 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0724 |  | 1.0724 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2008-04-15 | 2005-03-04 | 2008-09-30 | ug/L | 0.9924 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | THIOBENCARB | . | 0.01 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9924 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99722 | 0.11003 | 0.99294 | 0.13516 | 0.1002
THIOBENCARB | 2033 | 82681GCM35 | 2008-06-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.86688 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | THIOBENCARB | . | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86688 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99722 | 0.11003 | 0.99294 | 0.13516 | 0.1002
THIOBENCARB | 2033 | 82681GCM35 | 2008-08-27 | 2005-03-04 | 2008-09-30 | ug/L | 1.1361 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | THIOBENCARB | . | 0.01 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99722 | 0.11003 | 0.99294 | 0.13516 | 0.1002
THIOBENCARB | 2033 | 82681GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.99348 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | THIOBENCARB | . | 0.016 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99348 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99722 | 0.11003 | 0.99294 | 0.13516 | 0.1002
THIOBENCARB | 2033 | 82681GCM35 | 2007-04-27 | 2005-03-04 | 2008-09-30 | ug/L | 1.0488 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.029557 | THIOBENCARB | . | 0.01 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0488 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.278 | 0.40728 | 1.0902 | 0.46167 | 0.34223
THIOBENCARB | 2033 | 82681GCM35 | 2007-07-06 | 2005-03-04 | 2008-09-30 | ug/L | 1.886 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.0058326 | THIOBENCARB | . | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.886 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.278 | 0.40728 | 1.0902 | 0.46167 | 0.34223
THIOBENCARB | 2033 | 82681GCM35 | 2007-09-12 | 2005-03-04 | 2008-09-30 | ug/L | 1.1316 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.030045 | THIOBENCARB | . | 0.01 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1316 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.278 | 0.40728 | 1.0902 | 0.46167 | 0.34223
THIOBENCARB | 2033 | 82681GCM35 | 2007-11-19 | 2005-03-04 | 2008-09-30 | ug/L | 1.0454 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.029653 | THIOBENCARB | . | 0.01 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0454 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.278 | 0.40728 | 1.0902 | 0.46167 | 0.34223
THIOBENCARB | 2033 | 82681GCM35 | 2008-03-10 | 2005-03-04 | 2008-09-30 | ug/L | 0.98461 | Restek | A053526 | Restek A053526: 50 µl | 0.14727 | THIOBENCARB | . | 0.01 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98461 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2008-04-28 | 2005-03-04 | 2008-09-30 | ug/L | 0.85728 | Restek | A053526 | Restek A053526: 50 µl | 0.14581 | THIOBENCARB | . | 0.01 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85728 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2008-05-14 | 2005-03-04 | 2008-09-30 | ug/L | 1.0221 | Restek | A053526 | Restek A053526: 50 µl | 0.14578 | THIOBENCARB | . | 0.01 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0221 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2008-06-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.95402 | Restek | A053526 | Restek A053526: 50 µl | 0.15199 | THIOBENCARB | . | 0.01 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95402 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2008-08-19 | 2005-03-04 | 2008-09-30 | ug/L | 0.9019 | Restek | A053526 | Restek A053526: 50 µl | 0.14414 | THIOBENCARB | . | 0.01 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9019 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2008-10-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.1448 | Restek | A053526 | Restek A053526: 50 µl | 0.14588 | THIOBENCARB | . | 0.016 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1448 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97744 | 0.10073 | 0.96932 | 0.12018 | 0.08909
THIOBENCARB | 2033 | 82681GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.67587 | Restek | A063025 | Restek A063025: 40 µl | 0.17163 | THIOBENCARB | . | 0.016 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67587 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0655 | 0.23168 | 1.115 | 0.17254 | 0.1279
THIOBENCARB | 2033 | 82681GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.0586 | Restek | A063025 | Restek A063025: 25 µl | 0.1143 | THIOBENCARB | . | 0.016 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0586 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0655 | 0.23168 | 1.115 | 0.17254 | 0.1279
THIOBENCARB | 2033 | 82681GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.115 | Restek | A063025 | Restek A063025: 25 µl | 0.10942 | THIOBENCARB | . | 0.016 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.115 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0655 | 0.23168 | 1.115 | 0.17254 | 0.1279
THIOBENCARB | 2033 | 82681GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.2311 | Restek | A063025 | Restek A063025: 40 µl | 0.1787 | THIOBENCARB | . | 0.016 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2311 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0655 | 0.23168 | 1.115 | 0.17254 | 0.1279
THIOBENCARB | 2033 | 82681GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2471 | Restek | A063025 | Restek A063025: 25 µl | 0.11066 | THIOBENCARB | . | 0.016 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2471 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0655 | 0.23168 | 1.115 | 0.17254 | 0.1279
THIOBENCARB | 2033 | 82681GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.91466 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.060241 | THIOBENCARB | . | 0.016 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91466 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.9669 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.30303 | THIOBENCARB | . | 0.016 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9669 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.67116 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.061237 | THIOBENCARB | . | 0.016 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67116 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.78829 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.1233 | THIOBENCARB | . | 0.016 | 0.0972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78829 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0923 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.087155 | THIOBENCARB | . | 0.016 | 0.0952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0381 | 0.076673 | 1.0381 | 0.10843 | 0.08038
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.98388 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.043908 | THIOBENCARB | . | 0.016 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98388 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0381 | 0.076673 | 1.0381 | 0.10843 | 0.08038
THIOBENCARB | 2033 | 82681GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.86041 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.10925 | THIOBENCARB | . | 0.016 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86041 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534
THIOBENCARB | 2033 | 82681GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.88487 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.17517 | THIOBENCARB | . | 0.016 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88487 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534
THIOBENCARB | 2033 | 82681GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.1484 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.11843 | THIOBENCARB | . | 0.016 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1484 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534
THIOBENCARB | 2033 | 82681GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 2.0128 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1088 | THIOBENCARB | . | 0.016 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534 | 2
THIOBENCARB | 2033 | 82681GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.1111 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1098 | THIOBENCARB | . | 0.016 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534
THIOBENCARB | 2033 | 82681GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.93214 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.10943 | THIOBENCARB | . | 0.016 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93214 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1562 | 0.43021 | 1.0216 | 0.26351 | 0.19534
THIOBENCARB | 2033 | 82681GCM35 | 2007-02-13 | 2005-03-04 | 2008-09-30 | ug/L | 1.083 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.027701 | THIOBENCARB | . | 0.01 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1728 | 0.12701 | 1.1728 | 0.17963 | 0.13315
THIOBENCARB | 2033 | 82681GCM35 | 2007-03-08 | 2005-03-04 | 2008-09-30 | ug/L | 1.2626 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.02772 | THIOBENCARB | . | 0.01 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2626 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1728 | 0.12701 | 1.1728 | 0.17963 | 0.13315
THIOBENCARB | 2033 | 82681GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.9398 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11811 | THIOBENCARB | . | 0.016 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9398 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.5391 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060945 | THIOBENCARB | . | 0.016 | 0.0938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5391 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.95374 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.12267 | THIOBENCARB | . | 0.016 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95374 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.72593 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060612 | THIOBENCARB | . | 0.016 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72593 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657