## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-02-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.96933 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.094911 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96933 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.41085 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.097359 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41085 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.67309 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.093598 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67309 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-07-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.47963 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.093822 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47963 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-09-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.3961 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.093411 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3961 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-11-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.58359 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.094245 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58359 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58543 | 0.21568 | 0.53161 | 0.26224 | 0.1944
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.56388 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13301 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56388 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.68629 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13697 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68629 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.61117 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.22907 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61117 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.55995 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.13573 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55995 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.59227 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.21612 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59227 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.49592 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.1351 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49592 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58491 | 0.063253 | 0.57807 | 0.051222 | 0.03797
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.63253 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.09802 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63253 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70458 | 0.079558 | 0.68697 | 0.11853 | 0.087868
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-05-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.71584 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.019558 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.014 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.71584 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.70458 | 0.079558 | 0.68697 | 0.11853 | 0.087868
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-08-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.81186 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.097307 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81186 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.70458 | 0.079558 | 0.68697 | 0.11853 | 0.087868
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-10-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.65811 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.019754 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65811 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.70458 | 0.079558 | 0.68697 | 0.11853 | 0.087868
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-04-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.65454 | Accu | B6070194 | Accu B6070194: 10 µl | 0.019861 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65454 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.78894 | 0.1416 | 0.75647 | 0.17769 | 0.13172
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.76727 | Accu | B6070194 | Accu B6070194: 50 µl | 0.099052 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76727 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78894 | 0.1416 | 0.75647 | 0.17769 | 0.13172
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-10-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.74566 | Accu | B6070194 | Accu B6070194: 10 µl | 0.020116 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74566 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.78894 | 0.1416 | 0.75647 | 0.17769 | 0.13172
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-12-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.98831 | Accu | B6070194 | Accu B6070194: 50 µl | 0.09916 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9883 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78894 | 0.1416 | 0.75647 | 0.17769 | 0.13172
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.84276 | Accu | B8090098 | Accu B8090098: 40 µl | 0.2207 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84276 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.73501 | 0.16388 | 0.78468 | 0.24175 | 0.17921
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.60102 | Accu | B8090098 | Accu B8090098: 25 µl | 0.14476 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60102 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.73501 | 0.16388 | 0.78468 | 0.24175 | 0.17921
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.91711 | Accu | B8090098 | Accu B8090098: 40 µl | 0.21917 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91711 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.73501 | 0.16388 | 0.78468 | 0.24175 | 0.17921
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.5295 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13409 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5295 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.73501 | 0.16388 | 0.78468 | 0.24175 | 0.17921
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.78468 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13509 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78468 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.73501 | 0.16388 | 0.78468 | 0.24175 | 0.17921
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.69692 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69692 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.82997 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82997 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.91909 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91909 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.75451 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75451 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.60954 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60954 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.91029 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91029 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78672 | 0.1226 | 0.79224 | 0.21337 | 0.15817
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.67407 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67407 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.92059 | 0.34863 | 0.92059 | 0.49304 | 0.36548
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 1.1671 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1671 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.92059 | 0.34863 | 0.92059 | 0.49304 | 0.36548
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.81154 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81154 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76539 | 0.16344 | 0.82779 | 0.19518 | 0.14469
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.84403 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84403 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76539 | 0.16344 | 0.82779 | 0.19518 | 0.14469
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.88194 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88194 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76539 | 0.16344 | 0.82779 | 0.19518 | 0.14469
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.52406 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52406 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.76539 | 0.16344 | 0.82779 | 0.19518 | 0.14469
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.58274 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58274 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.7744 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7744 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.74947 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74947 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.80334 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80334 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.80334 |  | 0.80334 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.69468 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69468 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.59794 | 0.066577 | 0.57635 | 0.083441 | 0.061854
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.58464 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58464 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.59794 | 0.066577 | 0.57635 | 0.083441 | 0.061854
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.56806 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56806 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.59794 | 0.066577 | 0.57635 | 0.083441 | 0.061854
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.54437 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54437 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.59794 | 0.066577 | 0.57635 | 0.083441 | 0.061854
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.77914 | Restek | A075606 | Restek A075606: 40 µl | 0.062505 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77914 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.73135 | 0.067585 | 0.73135 | 0.095579 | 0.070852
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.68356 | Restek | A075606 | Restek A075606: 80 µl | 0.12932 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68356 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.73135 | 0.067585 | 0.73135 | 0.095579 | 0.070852
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.57679 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.13454 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57679 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.73881 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.67677 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73881 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96518 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.13676 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96518 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.44666 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.27538 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44666 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.42666 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.06422 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42666 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.42666 |  | 0.42666 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.50784 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094518 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50784 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.53577 | 0.11965 | 0.50784 | 0.085545 | 0.063414
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.73167 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.098405 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73167 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.53577 | 0.11965 | 0.50784 | 0.085545 | 0.063414
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.46598 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094424 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46598 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.53577 | 0.11965 | 0.50784 | 0.085545 | 0.063414
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.55153 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.094283 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55153 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.53577 | 0.11965 | 0.50784 | 0.085545 | 0.063414
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2008-10-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.42182 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.092457 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42182 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.53577 | 0.11965 | 0.50784 | 0.085545 | 0.063414
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.44734 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.26378 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44734 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.88164 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.13611 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88164 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.511 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.27397 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.511 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.4329 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.13537 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4329 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992