## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIFLURALIN | 2033 | 82661GCM35 | 2008-01-07 | 2007-10-01 | 2008-02-29 | ug/L | 0.76139 | Accu | B7070106 | Accu B7070106: 50 µl | 0.18387 | TRIFLURALIN | . | 0.006 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76139 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-01-22 | 2007-10-01 | 2008-02-29 | ug/L | 0.77457 | Accu | B7070106 | Accu B7070106: 50 µl | 0.18462 | TRIFLURALIN | . | 0.006 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77457 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-01-28 | 2007-10-01 | 2008-02-29 | ug/L | 0.92693 | Accu | B7070106 | Accu B7070106: 50 µl | 0.18664 | TRIFLURALIN | . | 0.006 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92693 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-02-05 | 2007-10-01 | 2008-02-29 | ug/L | 0.77927 | Accu | B7070106 | Accu B7070106: 50 µl | 0.1835 | TRIFLURALIN | . | 0.006 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77927 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-02-07 | 2007-10-01 | 2008-02-29 | ug/L | 0.57695 | Accu | B7070106 | Accu B7070106: 50 µl | 0.18719 | TRIFLURALIN | . | 0.006 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57695 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-02-13 | 2007-10-01 | 2008-02-29 | ug/L | 0.8138 | Accu | B7070106 | Accu B7070106: 50 µl | 0.18432 | TRIFLURALIN | . | 0.006 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8138 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77215 | 0.11311 | 0.77692 | 0.052413 | 0.038853
TRIFLURALIN | 2033 | 82661GCM35 | 2008-12-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.108 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.01083 | TRIFLURALIN | . | 0.012 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.108 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.2129 | 0.1005 | 1.2492 | 0.16342 | 0.12114
TRIFLURALIN | 2033 | 82661GCM35 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.1069 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.018068 | TRIFLURALIN | . | 0.012 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1069 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2129 | 0.1005 | 1.2492 | 0.16342 | 0.12114
TRIFLURALIN | 2033 | 82661GCM35 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.3288 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.017309 | TRIFLURALIN | . | 0.012 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3288 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2129 | 0.1005 | 1.2492 | 0.16342 | 0.12114
TRIFLURALIN | 2033 | 82661GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.2715 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.011011 | TRIFLURALIN | E | 0.012 | 0.014 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2715 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.2129 | 0.1005 | 1.2492 | 0.16342 | 0.12114
TRIFLURALIN | 2033 | 82661GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.2492 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.011207 | TRIFLURALIN | . | 0.018 | 0.014 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2492 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.2129 | 0.1005 | 1.2492 | 0.16342 | 0.12114
TRIFLURALIN | 2033 | 82661GCM35 | 2008-03-01 | 2008-03-01 | 2008-09-30 | ug/L | 0.72394 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18786 | TRIFLURALIN | . | 0.009 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72394 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2008-04-10 | 2008-03-01 | 2008-09-30 | ug/L | 0.50753 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18718 | TRIFLURALIN | . | 0.009 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50754 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2008-05-12 | 2008-03-01 | 2008-09-30 | ug/L | 0.71841 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18374 | TRIFLURALIN | . | 0.009 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71841 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2008-07-18 | 2008-03-01 | 2008-09-30 | ug/L | 0.56412 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18259 | TRIFLURALIN | . | 0.009 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56412 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2008-09-26 | 2008-03-01 | 2008-09-30 | ug/L | 0.68187 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18185 | TRIFLURALIN | . | 0.009 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68187 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69674 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.18515 | TRIFLURALIN | . | 0.012 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69674 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64877 | 0.090565 | 0.6893 | 0.15429 | 0.11437
TRIFLURALIN | 2033 | 82661GCM35 | 2009-03-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.1875 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.01179 | TRIFLURALIN | . | 0.012 | 0.014 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1875 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.3455 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.011148 | TRIFLURALIN | . | 0.012 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3455 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.6059 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.011209 | TRIFLURALIN | . | 0.012 | 0.018 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.6059 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2355 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.017806 | TRIFLURALIN | . | 0.018 | 0.022 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2355 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.4358 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.011144 | TRIFLURALIN | . | 0.018 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4358 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0486 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.017166 | TRIFLURALIN | . | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0486 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.3098 | 0.19675 | 1.2905 | 0.24834 | 0.18409
TRIFLURALIN | 2033 | 82661GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0567 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.059433 | TRIFLURALIN | . | 0.018 | 0.0628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0567 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0567 |  | 1.0567 | 0 | 0
TRIFLURALIN | 2033 | 82661GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.75154 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.091147 | TRIFLURALIN | . | 0.018 | 0.0685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75154 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74805 | 0.13535 | 0.70608 | 0.1934 | 0.14337
TRIFLURALIN | 2033 | 82661GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.64208 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.043297 | TRIFLURALIN | . | 0.018 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64208 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74805 | 0.13535 | 0.70608 | 0.1934 | 0.14337
TRIFLURALIN | 2033 | 82661GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.93797 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.045097 | TRIFLURALIN | . | 0.018 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93797 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74805 | 0.13535 | 0.70608 | 0.1934 | 0.14337
TRIFLURALIN | 2033 | 82661GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.66062 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.22252 | TRIFLURALIN | . | 0.018 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66062 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74805 | 0.13535 | 0.70608 | 0.1934 | 0.14337
TRIFLURALIN | 2033 | 82661GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.8363 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | TRIFLURALIN | . | 0.009 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8363 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.6024 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TRIFLURALIN | . | 0.009 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6024 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 0.90557 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | TRIFLURALIN | . | 0.009 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90557 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.87577 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | TRIFLURALIN | . | 0.009 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87577 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2007-10-30 | 2007-10-01 | 2008-02-29 | ug/L | 0.77208 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | TRIFLURALIN | . | 0.006 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77208 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2007-12-14 | 2007-10-01 | 2008-02-29 | ug/L | 0.84336 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | TRIFLURALIN | . | 0.006 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84336 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80591 | 0.10927 | 0.83983 | 0.10368 | 0.076858
TRIFLURALIN | 2033 | 82661GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.87629 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | TRIFLURALIN | . | 0.012 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87629 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0458 | 0.23967 | 1.0458 | 0.33894 | 0.25126
TRIFLURALIN | 2033 | 82661GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2152 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | TRIFLURALIN | . | 0.012 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2152 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0458 | 0.23967 | 1.0458 | 0.33894 | 0.25126
TRIFLURALIN | 2033 | 82661GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.1308 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | TRIFLURALIN | . | 0.012 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1308 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98539 | 0.13394 | 1.0022 | 0.16234 | 0.12034
TRIFLURALIN | 2033 | 82661GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.0023 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | TRIFLURALIN | . | 0.012 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0023 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98539 | 0.13394 | 1.0022 | 0.16234 | 0.12034
TRIFLURALIN | 2033 | 82661GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0022 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | TRIFLURALIN | . | 0.012 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98539 | 0.13394 | 1.0022 | 0.16234 | 0.12034
TRIFLURALIN | 2033 | 82661GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.80624 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TRIFLURALIN | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80624 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98539 | 0.13394 | 1.0022 | 0.16234 | 0.12034
TRIFLURALIN | 2033 | 82661GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.97983 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TRIFLURALIN | . | 0.018 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0421 | 0.064233 | 1.0383 | 0.1283 | 0.095106
TRIFLURALIN | 2033 | 82661GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0383 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TRIFLURALIN | . | 0.018 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0383 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0421 | 0.064233 | 1.0383 | 0.1283 | 0.095106
TRIFLURALIN | 2033 | 82661GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1081 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TRIFLURALIN | . | 0.018 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1081 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0421 | 0.064233 | 1.0383 | 0.1283 | 0.095106
TRIFLURALIN | 2033 | 82661GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93938 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TRIFLURALIN | . | 0.018 | 0.0946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93938 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93938 |  | 0.93938 | 0 | 0
TRIFLURALIN | 2033 | 82661GCM35 | 2008-04-15 | 2008-03-01 | 2008-09-30 | ug/L | 0.9527 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | TRIFLURALIN | . | 0.009 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9527 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79612 | 0.12001 | 0.77317 | 0.18551 | 0.13752
TRIFLURALIN | 2033 | 82661GCM35 | 2008-06-23 | 2008-03-01 | 2008-09-30 | ug/L | 0.68544 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | TRIFLURALIN | . | 0.009 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68544 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79612 | 0.12001 | 0.77317 | 0.18551 | 0.13752
TRIFLURALIN | 2033 | 82661GCM35 | 2008-08-27 | 2008-03-01 | 2008-09-30 | ug/L | 0.82505 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | TRIFLURALIN | . | 0.009 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82505 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79612 | 0.12001 | 0.77317 | 0.18551 | 0.13752
TRIFLURALIN | 2033 | 82661GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.72129 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | TRIFLURALIN | . | 0.012 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72129 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79612 | 0.12001 | 0.77317 | 0.18551 | 0.13752
TRIFLURALIN | 2033 | 82661GCM35 | 2007-04-27 | 2006-10-01 | 2007-09-30 | ug/L | 0.81707 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.19704 | TRIFLURALIN | . | 0.009 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81708 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92742 | 0.091566 | 0.93195 | 0.14241 | 0.10557
TRIFLURALIN | 2033 | 82661GCM35 | 2007-07-06 | 2006-10-01 | 2007-09-30 | ug/L | 1.0287 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.038884 | TRIFLURALIN | . | 0.009 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0287 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92742 | 0.091566 | 0.93195 | 0.14241 | 0.10557
TRIFLURALIN | 2033 | 82661GCM35 | 2007-09-12 | 2006-10-01 | 2007-09-30 | ug/L | 0.96854 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.2003 | TRIFLURALIN | . | 0.009 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96854 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92742 | 0.091566 | 0.93195 | 0.14241 | 0.10557
TRIFLURALIN | 2033 | 82661GCM35 | 2007-11-19 | 2007-10-01 | 2008-02-29 | ug/L | 0.89535 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.19769 | TRIFLURALIN | . | 0.006 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89535 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92742 | 0.091566 | 0.93195 | 0.14241 | 0.10557
TRIFLURALIN | 2033 | 82661GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0674 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.055462 | TRIFLURALIN | . | 0.018 | 0.0592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0674 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2065 | 0.19677 | 1.2065 | 0.27828 | 0.20629
TRIFLURALIN | 2033 | 82661GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3457 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.027941 | TRIFLURALIN | . | 0.018 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3457 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2065 | 0.19677 | 1.2065 | 0.27828 | 0.20629
TRIFLURALIN | 2033 | 82661GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.69151 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.043239 | TRIFLURALIN | . | 0.018 | 0.0299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69151 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99834 | 0.27594 | 0.9826 | 0.42088 | 0.312
TRIFLURALIN | 2033 | 82661GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.3367 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.043018 | TRIFLURALIN | E | 0.018 | 0.0575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3367 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.99834 | 0.27594 | 0.9826 | 0.42088 | 0.312
TRIFLURALIN | 2033 | 82661GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.88429 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.0847 | TRIFLURALIN | . | 0.018 | 0.0749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88429 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99834 | 0.27594 | 0.9826 | 0.42088 | 0.312
TRIFLURALIN | 2033 | 82661GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0809 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.08641 | TRIFLURALIN | . | 0.018 | 0.0934 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99834 | 0.27594 | 0.9826 | 0.42088 | 0.312
TRIFLURALIN | 2033 | 82661GCM35 | 2007-02-13 | 2006-10-01 | 2007-09-30 | ug/L | 0.80657 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.19341 | TRIFLURALIN | . | 0.009 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80657 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84906 | 0.057517 | 0.82611 | 0.10794 | 0.080017
TRIFLURALIN | 2033 | 82661GCM35 | 2007-02-27 | 2006-10-01 | 2007-09-30 | ug/L | 0.82611 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.038736 | TRIFLURALIN | E | 0.009 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82611 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.84906 | 0.057517 | 0.82611 | 0.10794 | 0.080017
TRIFLURALIN | 2033 | 82661GCM35 | 2007-03-08 | 2006-10-01 | 2007-09-30 | ug/L | 0.91451 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.19355 | TRIFLURALIN | . | 0.009 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91452 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84906 | 0.057517 | 0.82611 | 0.10794 | 0.080017