## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81609 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.74 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81609 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81609 |  | 0.81609 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0029 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.7 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0029 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0029 |  | 1.0029 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.8592 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.696 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8592 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85201 | 0.01016 | 0.85201 | 0.014368 | 0.010651
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.84483 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.74 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84483 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85201 | 0.01016 | 0.85201 | 0.014368 | 0.010651
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.8071 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.41879 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8071 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.0095 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.41408 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0095 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.93535 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.6678 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93535 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.7969 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.67261 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7969 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.90594 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.42497 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90594 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.96577 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.672 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96577 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.92381 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.42 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92381 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.91369 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.672 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91369 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.99762 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.42 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99762 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.91729 | 0.074538 | 0.92381 | 0.059832 | 0.044353
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.79598 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.696 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79598 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79598 |  | 0.79598 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.76571 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.7 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76571 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76571 |  | 0.76571 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.61779 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.67822 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61779 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.93431 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4324 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93431 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.85932 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.43639 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85932 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.86527 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.722 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86527 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.91754 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6888 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91754 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.78688 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6888 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78688 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.94077 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.722 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94077 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0244 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4305 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.9338 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4305 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9338 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.82695 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4305 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82695 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8707 | 0.11146 | 0.89141 | 0.10737 | 0.079592
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.92862 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.40275 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92862 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74086 | 0.37667 | 0.89328 | 0.44168 | 0.32741
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.18211 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 0.60404 | 1,2,4-TRICHLOROBENZENE | E | 0.2 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18211 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.74086 | 0.37667 | 0.89328 | 0.44168 | 0.32741
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-07-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.99478 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.37697 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99478 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74086 | 0.37667 | 0.89328 | 0.44168 | 0.32741
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.85794 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.37415 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85794 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74086 | 0.37667 | 0.89328 | 0.44168 | 0.32741
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.785 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.785 |  | 0.785 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77625 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.8 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77625 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77625 |  | 0.77625 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.028284 | 0.78 | 0.04 | 0.029652
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 4 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.028284 | 0.78 | 0.04 | 0.029652
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.87613 | Restek | A062189 | Restek A062189: 25 µl | 0.40519 | 1,2,4-TRICHLOROBENZENE | E | 0.2 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87613 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82673 | 0.12076 | 0.88273 | 0.13134 | 0.097357
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.89546 | Restek | A062189 | Restek A062189: 25 µl | 0.38193 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89546 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82673 | 0.12076 | 0.88273 | 0.13134 | 0.097357
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.88933 | Restek | A062189 | Restek A062189: 40 µl | 0.61507 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88933 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82673 | 0.12076 | 0.88273 | 0.13134 | 0.097357
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.64599 | Restek | A062189 | Restek A062189: 25 µl | 0.38855 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64599 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82673 | 0.12076 | 0.88273 | 0.13134 | 0.097357
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.915 | Restek | A088363 | Restek A088363: 20 µl | 0.8 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.915 |  | 0.915 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.8 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88875 | 0.012374 | 0.88875 | 0.0175 | 0.012973
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8975 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 4 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 3.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88875 | 0.012374 | 0.88875 | 0.0175 | 0.012973
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77375 | 0.072478 | 0.77375 | 0.1025 | 0.075982
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7225 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.8 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7225 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77375 | 0.072478 | 0.77375 | 0.1025 | 0.075982
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.90625 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.8 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90625 |  | 0.90625 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.94286 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.75 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94286 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94286 |  | 0.94286 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.90429 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.7 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.633 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90429 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90429 |  | 0.90429 | 0 | 0
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.8104 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.3203 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8104 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8408 | 0.042851 | 0.82428 | 0.049385 | 0.036609
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.82182 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.6656 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82182 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8408 | 0.042851 | 0.82428 | 0.049385 | 0.036609
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.82673 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.67132 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82673 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8408 | 0.042851 | 0.82428 | 0.049385 | 0.036609
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.90425 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.3492 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90425 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8408 | 0.042851 | 0.82428 | 0.049385 | 0.036609
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.51116 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2931 | 1,2,4-TRICHLOROBENZENE | E | 0.2 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51116 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.86083 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2546 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86083 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.98794 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2754 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98794 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.87895 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.0024 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87895 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.90695 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2459 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90695 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.98475 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2389 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98475 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.98508 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.2385 | 1,2,4-TRICHLOROBENZENE | . | 0.2 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98508 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87367 | 0.16858 | 0.90695 | 0.12425 | 0.092104
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.69566 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.65406 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69566 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77982 | 0.090051 | 0.76659 | 0.14564 | 0.10796
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.81483 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.3132 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81483 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77982 | 0.090051 | 0.76659 | 0.14564 | 0.10796
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.71836 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.6668 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71836 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77982 | 0.090051 | 0.76659 | 0.14564 | 0.10796
1,2,4-TRICHLOROBENZENE | 1383 | 34551GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.89046 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.67493 | 1,2,4-TRICHLOROBENZENE | . | 0.26 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89046 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77982 | 0.090051 | 0.76659 | 0.14564 | 0.10796