## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.79109 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.235 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79109 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79109 |  | 0.79109 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.022 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.5 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.022 |  | 1.022 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8006 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.998 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8006 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68838 | 0.15871 | 0.68838 | 0.22445 | 0.16638
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.57615 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.998 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57615 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68838 | 0.15871 | 0.68838 | 0.22445 | 0.16638
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.86842 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.494 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86842 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85931 | 0.012883 | 0.85931 | 0.018219 | 0.013505
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.8502 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.235 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8502 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85931 | 0.012883 | 0.85931 | 0.018219 | 0.013505
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.85624 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.46366 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85624 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.93577 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.45844 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93577 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.9044 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.8465 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9044 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.7547 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.74467 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7547 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.8374 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.4705 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8374 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.94489 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.744 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94489 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.88387 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.465 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88387 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.88978 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.744 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88978 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.92043 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.465 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92043 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88083 | 0.058882 | 0.88978 | 0.064191 | 0.047584
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.81377 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.494 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81377 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81377 |  | 0.81377 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.858 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.5 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.858 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.858 |  | 0.858 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.5 | 1,2-DICHLOROBENZENE | . | 0.2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.867 | 0.074953 | 0.867 | 0.106 | 0.078577
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.814 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5 | 1,2-DICHLOROBENZENE | E | 0.2 | 4.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.814 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.867 | 0.074953 | 0.867 | 0.106 | 0.078577
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.819 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.819 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.819 |  | 0.819 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.60134 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.74833 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60134 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.89499 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4771 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89499 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.80581 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4815 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80581 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.8 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.9 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88158 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.76 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88158 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.72368 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.76 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72368 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.88947 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.9 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88947 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.95368 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.475 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95368 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.85474 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.475 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85474 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.475 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80053 | 0.12276 | 0.83028 | 0.16579 | 0.1229
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.93627 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.79678 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93627 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7197 | 0.38733 | 0.90097 | 0.43014 | 0.31886
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.14059 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 1.195 | 1,2-DICHLOROBENZENE | E | 0.2 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14059 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7197 | 0.38733 | 0.90097 | 0.43014 | 0.31886
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-07-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.93326 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.74577 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93326 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7197 | 0.38733 | 0.90097 | 0.43014 | 0.31886
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.86868 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.7402 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86868 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7197 | 0.38733 | 0.90097 | 0.43014 | 0.31886
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80561 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.495 | 1,2-DICHLOROBENZENE | . | 0.2 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80561 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80561 |  | 0.80561 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.84444 | Restek | A062189 | Restek A062189: 25 µl | 0.79579 | 1,2-DICHLOROBENZENE | E | 0.2 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84444 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.77599 | 0.08692 | 0.80542 | 0.10208 | 0.075672
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.80123 | Restek | A062189 | Restek A062189: 25 µl | 0.7501 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80123 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77599 | 0.08692 | 0.80542 | 0.10208 | 0.075672
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.80961 | Restek | A062189 | Restek A062189: 40 µl | 1.208 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80961 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77599 | 0.08692 | 0.80542 | 0.10208 | 0.075672
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.64866 | Restek | A062189 | Restek A062189: 25 µl | 0.76311 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64866 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77599 | 0.08692 | 0.80542 | 0.10208 | 0.075672
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.85772 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.998 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85772 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85972 | 0.0028341 | 0.85972 | 0.004008 | 0.0029711
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.86172 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 4.99 | 1,2-DICHLOROBENZENE | . | 0.2 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86172 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85972 | 0.0028341 | 0.85972 | 0.004008 | 0.0029711
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.828 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | 1,2-DICHLOROBENZENE | . | 0.2 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.828 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7875 | 0.057276 | 0.7875 | 0.081 | 0.060044
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.747 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.747 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.747 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7875 | 0.057276 | 0.7875 | 0.081 | 0.060044
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.992 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.25 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.992 |  | 0.992 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.922 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.922 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.922 |  | 0.922 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.79918 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.026 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79918 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83995 | 0.045962 | 0.82774 | 0.060986 | 0.045208
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.81973 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.51724 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81973 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83995 | 0.045962 | 0.82774 | 0.060986 | 0.045208
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.83575 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.52169 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83575 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83995 | 0.045962 | 0.82774 | 0.060986 | 0.045208
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.90514 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.0485 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90514 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83995 | 0.045962 | 0.82774 | 0.060986 | 0.045208
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.93788 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.495 | 1,2-DICHLOROBENZENE | . | 0.2 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93788 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93788 |  | 0.93788 | 0 | 0
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.53496 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.8693 | 1,2-DICHLOROBENZENE | E | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53496 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.86018 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.8136 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86018 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0035 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.8436 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.90861 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.8945 | 1,2-DICHLOROBENZENE | E | 0.2 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90861 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.89392 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.801 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89392 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.97717 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7909 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97717 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.92165 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7903 | 1,2-DICHLOROBENZENE | . | 0.2 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92165 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87142 | 0.15619 | 0.90861 | 0.11699 | 0.086724
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.665 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.50827 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.665 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77921 | 0.12042 | 0.75786 | 0.18518 | 0.13727
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.80747 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.0205 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80747 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77921 | 0.12042 | 0.75786 | 0.18518 | 0.13727
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.70825 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.51818 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70825 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77921 | 0.12042 | 0.75786 | 0.18518 | 0.13727
1,2-DICHLOROBENZENE | 1383 | 34536GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.93614 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.5245 | 1,2-DICHLOROBENZENE | . | 0.2 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93614 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77921 | 0.12042 | 0.75786 | 0.18518 | 0.13727