## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.95485 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95485 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86204 | 0.13125 | 0.86204 | 0.18562 | 0.1376
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.76923 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86204 | 0.13125 | 0.86204 | 0.18562 | 0.1376
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 1.0524 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.40383 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0524 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.93666 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.39929 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93666 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.82076 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.6083 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82076 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.66761 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.64858 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66761 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.80772 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.40979 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80772 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.93364 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.648 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93364 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.95556 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.405 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Crescent 06MM151 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.81944 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.648 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81944 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.94815 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.405 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94815 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.04 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95167 | 0.12492 | 0.95167 | 0.17667 | 0.13096
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86333 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 3 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86333 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95167 | 0.12492 | 0.95167 | 0.17667 | 0.13096
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.91 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91 |  | 0.91 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.61666 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.63568 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61666 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.74022 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.40528 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74022 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.86059 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.40902 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86059 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.70012 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.614 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70012 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86741 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6456 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86741 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.79616 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6456 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79616 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84882 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.614 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84882 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.81289 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81289 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.82528 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82528 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88724 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88724 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.93954 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.82 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93954 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.57882 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 2.7297 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57882 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.96271 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.7035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96271 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.78069 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.6908 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78069 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87625 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.495 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87625 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87625 |  | 0.87625 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.84783 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84783 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86538 | 0.024832 | 0.86538 | 0.035117 | 0.026032
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.88294 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 2.99 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88294 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86538 | 0.024832 | 0.86538 | 0.035117 | 0.026032
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.88667 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84583 | 0.057747 | 0.84583 | 0.081667 | 0.060539
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.805 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.805 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84583 | 0.057747 | 0.84583 | 0.081667 | 0.060539
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.89167 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89167 |  | 0.89167 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.75715 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.1396 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75715 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.82052 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.0786 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82052 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.82731 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.0879 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82731 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.85989 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.1863 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85989 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0502 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 1.495 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0502 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0502 |  | 1.0502 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.94333 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94333 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94333 |  | 0.94333 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-02-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.56448 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.7893 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56448 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.893 | Supelco | LB50016 | Supelco LB50016: 40 µl | 2.7436 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.893 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.1588 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.7086 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1588 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.0896 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.7163 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0896 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.0666 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.7064 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0666 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.88834 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.6885 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88834 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.93538 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.6999 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93538 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.94231 | 0.19671 | 0.93538 | 0.20123 | 0.14917
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.768 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0599 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.7143 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 2.128 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7143 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.68114 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0805 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68114 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.94174 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0937 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94174 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649