## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.8495 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.495 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8495 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8495 |  | 0.8495 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.01 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.6 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78062 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.486 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78062 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68674 | 0.13276 | 0.68674 | 0.18775 | 0.13918
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.59287 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.486 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.881 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59287 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68674 | 0.13276 | 0.68674 | 0.18775 | 0.13918
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.87458 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.598 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87458 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88211 | 0.010642 | 0.88211 | 0.01505 | 0.011157
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.88963 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.495 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88963 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88211 | 0.010642 | 0.88211 | 0.01505 | 0.011157
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.88536 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.92731 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88536 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.96086 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.91689 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.881 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96086 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.92065 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.693 | 1,3-DICHLOROBENZENE | . | 0.22 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92065 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.75872 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.4893 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75872 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.85334 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.94101 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85334 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.93414 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.488 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93414 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.91935 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.93 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91935 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.90054 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.488 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90054 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.91828 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.93 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.854 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91828 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89458 | 0.059257 | 0.91828 | 0.035295 | 0.026164
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8796 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.598 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8796 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8796 |  | 0.8796 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.95167 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.6 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95167 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95167 |  | 0.95167 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.88086 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.735 | 1,3-DICHLOROBENZENE | . | 0.22 | 3.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88086 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86078 | 0.028398 | 0.86078 | 0.040161 | 0.029771
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8407 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.47 | 1,3-DICHLOROBENZENE | . | 0.22 | 6.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8407 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86078 | 0.028398 | 0.86078 | 0.040161 | 0.029771
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.76305 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.494 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76305 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76305 |  | 0.76305 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.63878 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.4888 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.951 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63878 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.93133 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94918 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93133 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.81947 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.95793 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81947 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.86243 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.78 | 1,3-DICHLOROBENZENE | . | 0.22 | 3.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86243 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.91931 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.512 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91931 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.76058 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.512 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76058 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.89418 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.78 | 1,3-DICHLOROBENZENE | . | 0.22 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89418 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.9873 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.933 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9873 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84127 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84127 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.72169 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72169 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83764 | 0.1059 | 0.85185 | 0.15873 | 0.11767
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.94855 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.58721 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94855 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72468 | 0.40077 | 0.91056 | 0.45076 | 0.33414
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.12604 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 0.8807 | 1,3-DICHLOROBENZENE | E | 0.2 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12604 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72468 | 0.40077 | 0.91056 | 0.45076 | 0.33414
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-07-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.95157 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.54962 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95157 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72468 | 0.40077 | 0.91056 | 0.45076 | 0.33414
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.87257 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.54552 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87257 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72468 | 0.40077 | 0.91056 | 0.45076 | 0.33414
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77793 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.715 | 1,3-DICHLOROBENZENE | . | 0.22 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77793 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77793 |  | 0.77793 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.84508 | Restek | A062189 | Restek A062189: 25 µl | 0.58693 | 1,3-DICHLOROBENZENE | E | 0.2 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84508 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.78776 | 0.10721 | 0.83895 | 0.1155 | 0.085617
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.84594 | Restek | A062189 | Restek A062189: 25 µl | 0.55323 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84594 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78776 | 0.10721 | 0.83895 | 0.1155 | 0.085617
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.83283 | Restek | A062189 | Restek A062189: 40 µl | 0.89094 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83283 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78776 | 0.10721 | 0.83895 | 0.1155 | 0.085617
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.6272 | Restek | A062189 | Restek A062189: 25 µl | 0.56282 | 1,3-DICHLOROBENZENE | . | 0.2 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6272 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78776 | 0.10721 | 0.83895 | 0.1155 | 0.085617
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.82773 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.486 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82773 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85801 | 0.042826 | 0.85801 | 0.060565 | 0.044896
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.88829 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.43 | 1,3-DICHLOROBENZENE | . | 0.22 | 6.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88829 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85801 | 0.042826 | 0.85801 | 0.060565 | 0.044896
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.80054 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.735 | 1,3-DICHLOROBENZENE | . | 0.22 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80054 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75502 | 0.064368 | 0.75502 | 0.091031 | 0.06748
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7095 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.494 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7095 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75502 | 0.064368 | 0.75502 | 0.091031 | 0.06748
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.5 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.91 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.6 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91 |  | 0.91 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.81351 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.1635 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81351 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84882 | 0.042001 | 0.83627 | 0.054313 | 0.040262
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.82981 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.0906 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8298 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84882 | 0.042001 | 0.83627 | 0.054313 | 0.040262
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.84274 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.1 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84273 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84882 | 0.042001 | 0.83627 | 0.054313 | 0.040262
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.90921 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.2107 | 1,3-DICHLOROBENZENE | . | 0.22 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90921 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84882 | 0.042001 | 0.83627 | 0.054313 | 0.040262
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9179 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.715 | 1,3-DICHLOROBENZENE | . | 0.22 | 3.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9179 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9179 |  | 0.9179 | 0 | 0
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.51777 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.279 | 1,3-DICHLOROBENZENE | E | 0.2 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51777 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.89097 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2111 | 1,3-DICHLOROBENZENE | . | 0.2 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89097 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0188 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2477 | 1,3-DICHLOROBENZENE | . | 0.2 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0188 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.93512 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 3.5289 | 1,3-DICHLOROBENZENE | . | 0.2 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93512 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.90628 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.1958 | 1,3-DICHLOROBENZENE | . | 0.2 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90628 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.98928 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.1834 | 1,3-DICHLOROBENZENE | . | 0.2 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98928 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.9209 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.1827 | 1,3-DICHLOROBENZENE | . | 0.2 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9209 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88273 | 0.16728 | 0.9209 | 0.098309 | 0.072875
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.67742 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0717 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67742 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78759 | 0.12982 | 0.75724 | 0.20126 | 0.14919
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.81796 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 2.1517 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81796 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78759 | 0.12982 | 0.75724 | 0.20126 | 0.14919
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.69651 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0926 | 1,3-DICHLOROBENZENE | . | 0.22 | 0.761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69651 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78759 | 0.12982 | 0.75724 | 0.20126 | 0.14919
1,3-DICHLOROBENZENE | 1383 | 34566GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.95848 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.1059 | 1,3-DICHLOROBENZENE | . | 0.22 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95848 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78759 | 0.12982 | 0.75724 | 0.20126 | 0.14919