## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.88145 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.105 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.974 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88145 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88145 |  | 0.88145 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.97045 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.44 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97045 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97045 |  | 0.97045 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77823 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.496 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77823 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68649 | 0.12973 | 0.68649 | 0.18347 | 0.136
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.59476 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.496 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59476 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68649 | 0.12973 | 0.68649 | 0.18347 | 0.136
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.90724 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.442 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90724 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89118 | 0.022717 | 0.89118 | 0.032127 | 0.023815
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.87511 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.105 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.967 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87511 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89118 | 0.022717 | 0.89118 | 0.032127 | 0.023815
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.85033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.93728 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85033 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.91071 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.92675 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.844 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91071 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.87335 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.7328 | 1,4-DICHLOROBENZENE | . | 0.22 | 3.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87335 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.74401 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.5054 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74401 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.82849 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.95113 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82849 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.9109 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.504 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9109 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.87872 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.94 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87872 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.86436 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.504 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86436 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.85319 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.94 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.802 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85319 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85712 | 0.050277 | 0.86436 | 0.028392 | 0.021047
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92534 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.442 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92534 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92534 |  | 0.92534 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.80455 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.44 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80455 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80455 |  | 0.80455 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93701 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 1.27 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93701 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91339 | 0.033407 | 0.91339 | 0.047244 | 0.035022
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.88976 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 2.54 | 1,4-DICHLOROBENZENE | . | 0.22 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88976 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91339 | 0.033407 | 0.91339 | 0.047244 | 0.035022
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.82087 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.508 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82087 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82087 |  | 0.82087 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.60031 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.4809 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60031 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.92781 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94415 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.876 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92781 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.7913 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.95286 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7913 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.82181 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.76 | 1,4-DICHLOROBENZENE | . | 0.22 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82181 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88431 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.504 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88431 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.73803 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.504 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73803 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8617 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.76 | 1,4-DICHLOROBENZENE | . | 0.22 | 3.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8617 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.94255 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94255 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77766 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77766 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.74362 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74362 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80891 | 0.10259 | 0.80655 | 0.14069 | 0.10429
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.95198 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 2.0063 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95198 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72754 | 0.40464 | 0.9052 | 0.47138 | 0.34943
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.12529 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 3.0091 | 1,4-DICHLOROBENZENE | E | 0.2 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12529 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72754 | 0.40464 | 0.9052 | 0.47138 | 0.34943
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-07-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.97449 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8779 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97449 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72754 | 0.40464 | 0.9052 | 0.47138 | 0.34943
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.85842 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8639 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85842 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72754 | 0.40464 | 0.9052 | 0.47138 | 0.34943
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77823 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.24 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.965 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77823 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77823 |  | 0.77823 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.85104 | Restek | A062189 | Restek A062189: 25 µl | 2.0093 | 1,4-DICHLOROBENZENE | E | 0.2 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85104 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.79823 | 0.11784 | 0.84682 | 0.13106 | 0.097152
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.87648 | Restek | A062189 | Restek A062189: 25 µl | 1.8939 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87648 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79823 | 0.11784 | 0.84682 | 0.13106 | 0.097152
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.8426 | Restek | A062189 | Restek A062189: 40 µl | 3.0501 | 1,4-DICHLOROBENZENE | . | 0.2 | 2.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8426 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79823 | 0.11784 | 0.84682 | 0.13106 | 0.097152
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.6228 | Restek | A062189 | Restek A062189: 25 µl | 1.9268 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6228 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79823 | 0.11784 | 0.84682 | 0.13106 | 0.097152
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.81452 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.496 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81452 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81452 | 0 | 0.81452 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.81452 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 2.48 | 1,4-DICHLOROBENZENE | . | 0.22 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81452 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81452 | 0 | 0.81452 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.82677 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.27 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82677 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79134 | 0.05011 | 0.79134 | 0.070866 | 0.052532
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75591 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.508 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75591 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79134 | 0.05011 | 0.79134 | 0.070866 | 0.052532
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.95455 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.1 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95455 |  | 0.95455 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.88182 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.44 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88182 |  | 0.88182 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.7783 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.6703 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7783 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80929 | 0.035972 | 0.79881 | 0.041944 | 0.031092
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.79927 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.84202 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79927 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80929 | 0.035972 | 0.79881 | 0.041944 | 0.031092
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.79834 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.84926 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79835 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80929 | 0.035972 | 0.79881 | 0.041944 | 0.031092
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.86126 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.7068 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86126 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80929 | 0.035972 | 0.79881 | 0.041944 | 0.031092
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.90323 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 1.24 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90323 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90323 |  | 0.90323 | 0 | 0
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.50899 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.1395 | 1,4-DICHLOROBENZENE | E | 0.2 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50899 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.88012 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.1055 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.973 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88012 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0055 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.1239 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0055 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.87278 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 1.7645 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87278 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.91083 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.0979 | 1,4-DICHLOROBENZENE | . | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91083 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.0168 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.0917 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0168 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.96213 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.0913 | 1,4-DICHLOROBENZENE | . | 0.2 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96213 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.87958 | 0.17313 | 0.91083 | 0.13269 | 0.098361
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.67438 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.82742 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67438 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77531 | 0.1136 | 0.75549 | 0.18392 | 0.13634
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.81867 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.6612 | 1,4-DICHLOROBENZENE | . | 0.22 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81867 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77531 | 0.1136 | 0.75549 | 0.18392 | 0.13634
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.69232 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.84354 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69232 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77531 | 0.1136 | 0.75549 | 0.18392 | 0.13634
1,4-DICHLOROBENZENE | 1383 | 34571GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.91587 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.85383 | 1,4-DICHLOROBENZENE | . | 0.22 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91587 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77531 | 0.1136 | 0.75549 | 0.18392 | 0.13634