## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.6822 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.4808 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6822 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6822 |  | 0.6822 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68843 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.21 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68843 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68843 |  | 0.68843 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.90991 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.0222 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90991 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75735 | 0.12642 | 0.75881 | 0.16978 | 0.12585
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-07-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.60188 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.8774 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60188 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75735 | 0.12642 | 0.75881 | 0.16978 | 0.12585
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.74305 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.8707 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74305 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75735 | 0.12642 | 0.75881 | 0.16978 | 0.12585
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.77457 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 3.021 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77457 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75735 | 0.12642 | 0.75881 | 0.16978 | 0.12585
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.84859 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.202 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84859 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84859 |  | 0.84859 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0857 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.4808 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0857 |  | 1.0857 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.5499 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.0731 | 2,4,6-TRICHLOROPHENOL | E | 0.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5499 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.60918 | 0.24838 | 0.65834 | 0.38402 | 0.28467
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.8356 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 3.0637 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8356 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60918 | 0.24838 | 0.65834 | 0.38402 | 0.28467
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.28443 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.9161 | 2,4,6-TRICHLOROPHENOL | E | 0.6 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28443 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.60918 | 0.24838 | 0.65834 | 0.38402 | 0.28467
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2009-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.76677 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.878 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76677 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60918 | 0.24838 | 0.65834 | 0.38402 | 0.28467
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.97314 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.484 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97314 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97314 |  | 0.97314 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.66116 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.484 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66116 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.66116 |  | 0.66116 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.82843 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.91378 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82843 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81938 | 0.049343 | 0.80597 | 0.075262 | 0.055791
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.88559 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.89319 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88559 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81938 | 0.049343 | 0.80597 | 0.075262 | 0.055791
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.78351 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.8123 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78351 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81938 | 0.049343 | 0.80597 | 0.075262 | 0.055791
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.77998 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.91028 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77998 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81938 | 0.049343 | 0.80597 | 0.075262 | 0.055791
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94983 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.495 | 2,4,6-TRICHLOROPHENOL | E | 0.34 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94983 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.94983 |  | 0.94983 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8612 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.598 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8612 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8612 |  | 0.8612 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.79599 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 1.495 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79599 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76087 | 0.049663 | 0.76087 | 0.070234 | 0.052064
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.72575 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 2.99 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72575 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76087 | 0.049663 | 0.76087 | 0.070234 | 0.052064
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.92308 | Restek | A088363 | Restek A088363: 20 µl | 0.598 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92308 |  | 0.92308 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.95167 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.6 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95167 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90583 | 0.064818 | 0.90583 | 0.091667 | 0.067952
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 3 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90583 | 0.064818 | 0.90583 | 0.091667 | 0.067952
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.5 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8575 | 0.081317 | 0.8575 | 0.115 | 0.085248
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.915 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.6 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8575 | 0.081317 | 0.8575 | 0.115 | 0.085248
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.67333 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 1.5 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67333 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67333 |  | 0.67333 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93667 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.6 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93667 |  | 0.93667 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.89025 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.4378 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89025 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.82832 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.5856 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82832 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.71084 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.88909 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71084 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.73181 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.4348 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73181 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.8011 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.62 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8011 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.78232 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.905 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78232 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.62762 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.905 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62762 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.36878 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.448 | 2,4,6-TRICHLOROPHENOL | E | 0.34 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36878 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.74807 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.905 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74807 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72101 | 0.15169 | 0.74807 | 0.090262 | 0.06691
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.84859 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.202 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84859 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84859 |  | 0.84859 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.89463 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.484 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89463 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89463 |  | 0.89463 | 0 | 0
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-02-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.3073 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5057 | 2,4,6-TRICHLOROPHENOL | E | 0.6 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3073 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-04-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.79384 | Supelco | LB50016 | Supelco LB50016: 40 µl | 3.8421 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79384 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.87765 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3927 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87765 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-05-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.89454 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.4035 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89454 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.77835 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3897 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77835 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.70201 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3646 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70201 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2008-08-20 | 2007-10-01 | 2009-09-30 | ug/L | 0.62172 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3805 | 2,4,6-TRICHLOROPHENOL | . | 0.6 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62172 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71077 | 0.20161 | 0.77835 | 0.25593 | 0.18972
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.74894 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.7759 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74894 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90494 | 0.16681 | 0.86503 | 0.20894 | 0.15489
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.852 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.91549 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90494 | 0.16681 | 0.86503 | 0.20894 | 0.15489
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.1408 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.92044 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1408 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90494 | 0.16681 | 0.86503 | 0.20894 | 0.15489
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.87806 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.7766 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87806 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90494 | 0.16681 | 0.86503 | 0.20894 | 0.15489
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.84736 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.88983 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84736 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.87389 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.4418 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87389 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.62625 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.6407 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62625 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.76295 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.907 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76295 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.77398 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.907 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77398 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.543 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.628 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.543 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.50579 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.4512 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50579 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757
2,4,6-TRICHLOROPHENOL | 1383 | 34621GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.76626 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.907 | 2,4,6-TRICHLOROPHENOL | . | 0.34 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76626 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71243 | 0.1375 | 0.76461 | 0.22605 | 0.16757