## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72284 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.7014 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72284 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.72284 |  | 0.72284 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.62857 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.75 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62857 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.62857 |  | 0.62857 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.95267 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.81561 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95267 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80496 | 0.1216 | 0.80411 | 0.17163 | 0.12723
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.65898 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.75724 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65898 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80496 | 0.1216 | 0.80411 | 0.17163 | 0.12723
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.77932 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.75451 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77932 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80496 | 0.1216 | 0.80411 | 0.17163 | 0.12723
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.8289 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.2185 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8289 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80496 | 0.1216 | 0.80411 | 0.17163 | 0.12723
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.78129 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.7535 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78129 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78129 |  | 0.78129 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.99943 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.7014 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99943 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99943 |  | 0.99943 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.62549 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.83135 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62549 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64873 | 0.25403 | 0.7164 | 0.37264 | 0.27624
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.86278 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.2286 | 2,4-DICHLOROPHENOL | . | 0.39 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86278 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64873 | 0.25403 | 0.7164 | 0.37264 | 0.27624
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.29932 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.7684 | 2,4-DICHLOROPHENOL | E | 0.39 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29932 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.64873 | 0.25403 | 0.7164 | 0.37264 | 0.27624
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2009-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.80732 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.75311 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80732 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64873 | 0.25403 | 0.7164 | 0.37264 | 0.27624
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87286 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.7 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87286 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87286 |  | 0.87286 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.59429 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.7 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59429 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.59429 |  | 0.59429 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.82768 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.81674 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82768 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81196 | 0.042257 | 0.80893 | 0.066798 | 0.049517
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.86304 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.79834 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86304 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81196 | 0.042257 | 0.80893 | 0.066798 | 0.049517
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.79018 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.6199 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79018 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81196 | 0.042257 | 0.80893 | 0.066798 | 0.049517
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.76695 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.81361 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76695 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81196 | 0.042257 | 0.80893 | 0.066798 | 0.049517
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.5 | 2,4-DICHLOROPHENOL | E | 0.36 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77167 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.6 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77167 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77167 |  | 0.77167 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77333 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 1.5 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75833 | 0.021213 | 0.75833 | 0.03 | 0.022239
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.74333 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 3 | 2,4-DICHLOROPHENOL | . | 0.36 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74333 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75833 | 0.021213 | 0.75833 | 0.03 | 0.022239
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.89333 | Restek | A088363 | Restek A088363: 20 µl | 0.6 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89333 |  | 0.89333 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.90667 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.6 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.905 | 0.002357 | 0.905 | 0.0033333 | 0.002471
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.90333 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 3 | 2,4-DICHLOROPHENOL | . | 0.36 | 2.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90333 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.905 | 0.002357 | 0.905 | 0.0033333 | 0.002471
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.76667 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.5 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8125 | 0.064818 | 0.8125 | 0.091667 | 0.067952
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.85833 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.6 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8125 | 0.064818 | 0.8125 | 0.091667 | 0.067952
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.65667 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 1.5 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.985 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65667 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.65667 |  | 0.65667 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93833 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.6 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93833 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93833 |  | 0.93833 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.9116 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.69109 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9116 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.056 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 1.7235 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.84708 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.42735 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84708 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.87 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.68966 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.97701 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 1.74 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97701 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.88966 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.435 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88966 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.7908 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.435 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7908 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.4569 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.696 | 2,4-DICHLOROPHENOL | E | 0.36 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4569 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.92184 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.435 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92184 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.85788 | 0.16844 | 0.88966 | 0.074759 | 0.055418
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.82692 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.7535 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82692 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82692 |  | 0.82692 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.83 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.7 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83 |  | 0.83 | 0 | 0
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.7421 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.5901 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7421 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87997 | 0.14324 | 0.84834 | 0.17609 | 0.13054
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.84175 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.81972 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84175 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87997 | 0.14324 | 0.84834 | 0.17609 | 0.13054
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.0811 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.82415 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.891 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0811 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87997 | 0.14324 | 0.84834 | 0.17609 | 0.13054
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.85492 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.5908 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85492 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87997 | 0.14324 | 0.84834 | 0.17609 | 0.13054
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.86734 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.42774 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86734 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 1.1528 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.69309 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1528 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.77709 | Supelco | LB77169 | Supelco LB77169: 200 µl | 1.7501 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77709 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.94954 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.436 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94954 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8555 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.436 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8555 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.65367 | Supelco | LB77169 | Supelco LB77169: 200 µl | 1.744 | 2,4-DICHLOROPHENOL | . | 0.36 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65367 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.668 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.6976 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.668 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.94954 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.436 | 2,4-DICHLOROPHENOL | . | 0.36 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94954 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85919 | 0.16394 | 0.86142 | 0.227 | 0.16827
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.61119 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.80662 | 2,4-DICHLOROPHENOL | E | 0.39 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61119 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.99033 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.78257 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99033 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.0974 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.79553 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.873 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0974 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-06-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.97677 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 1.249 | 2,4-DICHLOROPHENOL | . | 0.39 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97677 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.0062 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.77716 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.97052 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.77278 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97052 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348
2,4-DICHLOROPHENOL | 1383 | 34601GCM56 | 2008-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 1.0317 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.77251 | 2,4-DICHLOROPHENOL | . | 0.39 | 0.797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0317 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95487 | 0.15756 | 0.99033 | 0.061174 | 0.045348