## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72549 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.53 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72549 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.72549 |  | 0.72549 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.42799 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.715 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42799 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.42799 |  | 0.42799 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.68888 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.5678 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68888 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72077 | 0.061213 | 0.71677 | 0.09725 | 0.072091
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-07-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.65542 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.4556 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.954 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65542 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72077 | 0.061213 | 0.71677 | 0.09725 | 0.072091
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.74467 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.4503 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74466 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72077 | 0.061213 | 0.71677 | 0.09725 | 0.072091
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.79413 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 2.3422 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79413 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72077 | 0.061213 | 0.71677 | 0.09725 | 0.072091
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.57778 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 3.825 | 2,4-DIMETHYLPHENOL | . | 0.8 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57778 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.57778 |  | 0.57778 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.53 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.9 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.52222 | 0.29856 | 0.52222 | 0.42222 | 0.31299
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.31111 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.9 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31111 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.52222 | 0.29856 | 0.52222 | 0.42222 | 0.31299
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.43322 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.6043 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43322 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.48793 | 0.25189 | 0.54772 | 0.38821 | 0.28778
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.66222 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.3708 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66222 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.48793 | 0.25189 | 0.54772 | 0.38821 | 0.28778
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.15444 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.4828 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15444 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.48793 | 0.25189 | 0.54772 | 0.38821 | 0.28778
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.70186 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.4533 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70186 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.48793 | 0.25189 | 0.54772 | 0.38821 | 0.28778
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.67968 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.486 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67968 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.67968 |  | 0.67968 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.37685 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.486 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37685 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.37685 |  | 0.37685 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.76889 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.25 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76889 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76222 | 0.0094281 | 0.76222 | 0.013333 | 0.0098839
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.75556 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 4.5 | 2,4-DIMETHYLPHENOL | . | 0.8 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75556 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76222 | 0.0094281 | 0.76222 | 0.013333 | 0.0098839
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.6103 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.9012 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6103 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6103 |  | 0.6103 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.78499 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.92995 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78499 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.6763 | 0.11055 | 0.69715 | 0.15562 | 0.11536
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.67107 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.909 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67107 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.6763 | 0.11055 | 0.69715 | 0.15562 | 0.11536
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.52591 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.8444 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52591 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6763 | 0.11055 | 0.69715 | 0.15562 | 0.11536
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.72324 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.92639 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72324 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.6763 | 0.11055 | 0.69715 | 0.15562 | 0.11536
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.18889 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.9 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18889 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.18889 |  | 0.18889 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.6569 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.253 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6569 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.65801 | 0.0015693 | 0.65801 | 0.0022193 | 0.0016451
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.65912 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 4.506 | 2,4-DIMETHYLPHENOL | . | 0.8 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65912 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.65801 | 0.0015693 | 0.65801 | 0.0022193 | 0.0016451
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.41333 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.25 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41333 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.41333 |  | 0.41333 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.22193 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.9012 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22193 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.22193 |  | 0.22193 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.50355 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.4625 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50355 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.84839 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 6.141 | 2,4-DIMETHYLPHENOL | E | 0.8 | 5.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.72238 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.5227 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72238 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.53715 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.4574 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53715 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.93548 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 6.2 | 2,4-DIMETHYLPHENOL | . | 0.8 | 5.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93548 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.83871 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.55 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83871 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.42581 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.55 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42581 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.375 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.48 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.375 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.4129 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.55 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4129 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.62215 | 0.21535 | 0.53715 | 0.4129 | 0.30608
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.55038 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.253 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55038 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.55038 |  | 0.55038 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.79216 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.825 | 2,4-DIMETHYLPHENOL | . | 0.8 | 3.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79216 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79216 |  | 0.79216 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.53836 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.486 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53836 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.53836 |  | 0.53836 | 0 | 0
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.87421 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.8073 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87421 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70118 | 0.15216 | 0.70231 | 0.24045 | 0.17824
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.52591 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.93172 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52591 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.70118 | 0.15216 | 0.70231 | 0.24045 | 0.17824
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.76861 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.93676 | 2,4-DIMETHYLPHENOL | E | 0.8 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76861 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.70118 | 0.15216 | 0.70231 | 0.24045 | 0.17824
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.63601 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.8081 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63601 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70118 | 0.15216 | 0.70231 | 0.24045 | 0.17824
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.33517 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.5216 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33517 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.9004 | Supelco | LB77169 | Supelco LB77169: 80 µl | 2.4656 | 2,4-DIMETHYLPHENOL | E | 0.8 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9004 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.7485 | Supelco | LB77169 | Supelco LB77169: 200 µl | 6.2258 | 2,4-DIMETHYLPHENOL | . | 0.8 | 4.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.65764 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.551 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65764 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.70277 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.551 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70277 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.58349 | Supelco | LB77169 | Supelco LB77169: 200 µl | 6.204 | 2,4-DIMETHYLPHENOL | . | 0.8 | 3.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58349 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.51983 | Supelco | LB77169 | Supelco LB77169: 80 µl | 2.4816 | 2,4-DIMETHYLPHENOL | . | 0.8 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51983 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.5029 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.551 | 2,4-DIMETHYLPHENOL | . | 0.8 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5029 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.61884 | 0.17304 | 0.62057 | 0.21427 | 0.15884
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-02-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.47315 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7669 | 2,4-DIMETHYLPHENOL | E | 0.6 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47315 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 0.5787 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7142 | 2,4-DIMETHYLPHENOL | . | 0.6 | 0.992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5787 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 0.90669 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7426 | 2,4-DIMETHYLPHENOL | . | 0.6 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90669 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.78219 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.7359 | 2,4-DIMETHYLPHENOL | . | 0.6 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78219 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-07-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.41002 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7024 | 2,4-DIMETHYLPHENOL | . | 0.6 | 0.698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41002 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.66164 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.6928 | 2,4-DIMETHYLPHENOL | . | 0.6 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66164 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322
2,4-DIMETHYLPHENOL | 1383 | 34606GCM56 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.86871 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.6922 | 2,4-DIMETHYLPHENOL | . | 0.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86871 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66873 | 0.19271 | 0.66164 | 0.39555 | 0.29322