## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.24851 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 4.024 | 2,4-DINITROPHENOL | E | 2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24851 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.24851 |  | 0.24851 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.43216 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 9.95 | 2,4-DINITROPHENOL | E | 2 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43216 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.43216 |  | 0.43216 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.83584 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.7756 | 2,4-DINITROPHENOL | E | 1.4 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83584 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.21731 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.5677 | 2,4-DINITROPHENOL | E | 1.4 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21731 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.26286 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 4.1467 | 2,4-DINITROPHENOL | E | 1.4 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26286 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.53678 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 10.06 | 2,4-DINITROPHENOL | E | 2 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53678 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.53678 |  | 0.53678 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.67097 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 4.024 | 2,4-DINITROPHENOL | E | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67097 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 1 | 0.67097 |  | 0.67097 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.96667 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.8 | 0.2357 | 0.8 | 0.33333 | 0.2471
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.63333 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.8 | 0.2357 | 0.8 | 0.33333 | 0.2471
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.74092 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 4.1975 | 2,4-DINITROPHENOL | E | 1.4 | 3.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74092 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.22512 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.6253 | 2,4-DINITROPHENOL | E | 1.4 | 0.591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22512 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.34706 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.573 | 2,4-DINITROPHENOL | E | 1.4 | 0.893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34706 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.45226 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45226 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.45226 |  | 0.45226 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.40201 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40201 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 1 | 0.40201 |  | 0.40201 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.08 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 7.5 | 2,4-DINITROPHENOL | E | 2 | 8.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0867 | 0.0094281 | 1.0867 | 0.013333 | 0.0098839
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0933 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 15 | 2,4-DINITROPHENOL | E | 2 | 16.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0867 | 0.0094281 | 1.0867 | 0.013333 | 0.0098839
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.76616 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 3.002 | 2,4-DINITROPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76616 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.76616 |  | 0.76616 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-02-22 | 2006-04-01 | 2008-09-30 | ug/L | 1.1009 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.7077 | 2,4-DINITROPHENOL | E | 0.8 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1009 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-05-08 | 2006-04-01 | 2008-09-30 | ug/L | 0.78913 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.7107 | 2,4-DINITROPHENOL | E | 0.8 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78913 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-05-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.83758 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.7192 | 2,4-DINITROPHENOL | E | 0.8 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83758 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-06-09 | 2006-04-01 | 2008-09-30 | ug/L | 0.87707 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.733 | 2,4-DINITROPHENOL | E | 0.8 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87707 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-08-16 | 2006-04-01 | 2008-09-30 | ug/L | 0.90294 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.6945 | 2,4-DINITROPHENOL | E | 0.8 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90294 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-08-20 | 2006-04-01 | 2008-09-30 | ug/L | 0.47457 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 2.7393 | 2,4-DINITROPHENOL | E | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47457 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2008-09-21 | 2006-04-01 | 2008-09-30 | ug/L | 0.70195 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.6953 | 2,4-DINITROPHENOL | E | 0.8 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70195 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.81202 | 0.19284 | 0.83758 | 0.201 | 0.149
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.68305 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.24 | 2,4-DINITROPHENOL | E | 1.4 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68305 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.73533 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.1895 | 2,4-DINITROPHENOL | E | 1.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73533 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.0062 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 4.4427 | 2,4-DINITROPHENOL | E | 1.4 | 4.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.51985 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.2314 | 2,4-DINITROPHENOL | E | 2 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51985 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.93333 |  | 0.93333 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.71952 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 7.505 | 2,4-DINITROPHENOL | E | 2 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71952 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.68621 | 0.047109 | 0.68621 | 0.066622 | 0.049386
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.6529 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 15.01 | 2,4-DINITROPHENOL | E | 2 | 9.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6529 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.68621 | 0.047109 | 0.68621 | 0.066622 | 0.049386
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.78667 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 7.5 | 2,4-DINITROPHENOL | E | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.78667 |  | 0.78667 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.76616 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 3.002 | 2,4-DINITROPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76616 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.76616 |  | 0.76616 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.66257 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.7732 | 2,4-DINITROPHENOL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66257 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.74392 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 9.4097 | 2,4-DINITROPHENOL | E | 2 | 7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74392 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.64288 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.3332 | 2,4-DINITROPHENOL | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64288 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.77018 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.7654 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77018 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.62105 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 9.5 | 2,4-DINITROPHENOL | E | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62105 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.63158 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63158 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.50526 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50526 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.18421 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.8 | 2,4-DINITROPHENOL | E | 2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18421 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.88421 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88421 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.98601 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 7.505 | 2,4-DINITROPHENOL | E | 2 | 7.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98601 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.98601 |  | 0.98601 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.57654 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 10.06 | 2,4-DINITROPHENOL | E | 2 | 5.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57654 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.57654 |  | 0.57654 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.62814 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62814 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.62814 |  | 0.62814 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.41246 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.3641 | 2,4-DINITROPHENOL | E | 1.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41246 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.5482 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.2619 | 2,4-DINITROPHENOL | E | 1.4 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5482 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.53825 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.366 | 2,4-DINITROPHENOL | E | 2 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53825 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.6864 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.331 | 2,4-DINITROPHENOL | E | 2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6864 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.7678 | Supelco | LB77169 | Supelco LB77169: 80 µl | 3.777 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7678 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.67104 | Supelco | LB77169 | Supelco LB77169: 200 µl | 9.5374 | 2,4-DINITROPHENOL | E | 2 | 6.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67104 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.3367 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3367 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.3367 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3367 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.52609 | Supelco | LB77169 | Supelco LB77169: 200 µl | 9.504 | 2,4-DINITROPHENOL | E | 2 | 5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52609 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.47348 | Supelco | LB77169 | Supelco LB77169: 80 µl | 3.8016 | 2,4-DINITROPHENOL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47348 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.79966 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79966 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387