## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.69627 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.824 | 2,4-DINITROTOLUENE | . | 0.56 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69627 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.69627 |  | 0.69627 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.82943 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 4.485 | 2,4-DINITROTOLUENE | . | 0.56 | 3.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82943 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82943 |  | 0.82943 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 1.0016 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.78875 | 2,4-DINITROTOLUENE | . | 0.6 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75883 | 0.19176 | 0.74102 | 0.28758 | 0.21318
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-07-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.55168 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.7323 | 2,4-DINITROTOLUENE | E | 0.6 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55168 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.75883 | 0.19176 | 0.74102 | 0.28758 | 0.21318
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.67839 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.72966 | 2,4-DINITROTOLUENE | E | 0.6 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67839 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.75883 | 0.19176 | 0.74102 | 0.28758 | 0.21318
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.80365 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.1784 | 2,4-DINITROTOLUENE | . | 0.56 | 0.947 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80365 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75883 | 0.19176 | 0.74102 | 0.28758 | 0.21318
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.85526 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 4.56 | 2,4-DINITROTOLUENE | . | 0.56 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85526 |  | 0.85526 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93202 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.824 | 2,4-DINITROTOLUENE | E | 0.56 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93202 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 0.93202 |  | 0.93202 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.92857 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.7 | 2,4-DINITROTOLUENE | E | 0.56 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.76714 | 0.22829 | 0.76714 | 0.32286 | 0.23933
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.60571 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.7 | 2,4-DINITROTOLUENE | . | 0.56 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60571 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76714 | 0.22829 | 0.76714 | 0.32286 | 0.23933
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.80721 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.72719 | 2,4-DINITROTOLUENE | E | 0.6 | 0.587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80721 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.74336 | 0.27169 | 0.8165 | 0.32542 | 0.24123
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.98636 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.0747 | 2,4-DINITROTOLUENE | . | 0.6 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98636 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74336 | 0.27169 | 0.8165 | 0.32542 | 0.24123
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.3541 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.67213 | 2,4-DINITROTOLUENE | E | 0.6 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3541 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.74336 | 0.27169 | 0.8165 | 0.32542 | 0.24123
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.8258 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.65876 | 2,4-DINITROTOLUENE | E | 0.6 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8258 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.74336 | 0.27169 | 0.8165 | 0.32542 | 0.24123
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.75808 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.794 | 2,4-DINITROTOLUENE | . | 0.56 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75808 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75808 |  | 0.75808 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.69119 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.794 | 2,4-DINITROTOLUENE | . | 0.56 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69119 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.69119 |  | 0.69119 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0743 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 1.75 | 2,4-DINITROTOLUENE | . | 0.56 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0743 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97143 | 0.14546 | 0.97143 | 0.20571 | 0.15249
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86857 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 3.5 | 2,4-DINITROTOLUENE | E | 0.56 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86857 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.97143 | 0.14546 | 0.97143 | 0.20571 | 0.15249
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0842 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.701 | 2,4-DINITROTOLUENE | E | 0.56 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0842 |  | 1.0842 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.87624 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.9906 | 2,4-DINITROTOLUENE | . | 0.56 | 0.868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87624 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91118 | 0.087473 | 0.92403 | 0.14194 | 0.10522
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.99248 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.96828 | 2,4-DINITROTOLUENE | . | 0.56 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99248 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91118 | 0.087473 | 0.92403 | 0.14194 | 0.10522
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.80419 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.9647 | 2,4-DINITROTOLUENE | . | 0.56 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80419 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91118 | 0.087473 | 0.92403 | 0.14194 | 0.10522
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.97182 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.98681 | 2,4-DINITROTOLUENE | E | 0.56 | 0.959 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97182 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.91118 | 0.087473 | 0.92403 | 0.14194 | 0.10522
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89143 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.7 | 2,4-DINITROTOLUENE | E | 0.56 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89143 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.89143 |  | 0.89143 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.98716 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 1.7525 | 2,4-DINITROTOLUENE | E | 0.56 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98716 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.83595 | 0.21385 | 0.83595 | 0.30243 | 0.22418
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.68474 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 3.505 | 2,4-DINITROTOLUENE | . | 0.56 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68474 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83595 | 0.21385 | 0.83595 | 0.30243 | 0.22418
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.62857 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 1.75 | 2,4-DINITROTOLUENE | . | 0.56 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62857 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.62857 |  | 0.62857 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0585 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.701 | 2,4-DINITROTOLUENE | . | 0.56 | 0.742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0585 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0585 |  | 1.0585 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.99729 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2233 | 2,4-DINITROTOLUENE | . | 0.56 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99729 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.86209 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.0507 | 2,4-DINITROTOLUENE | . | 0.56 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86209 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.75483 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.75646 | 2,4-DINITROTOLUENE | . | 0.56 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75483 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.89288 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2208 | 2,4-DINITROTOLUENE | E | 0.56 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89288 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.75325 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.08 | 2,4-DINITROTOLUENE | . | 0.56 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75325 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.91039 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.77 | 2,4-DINITROTOLUENE | . | 0.56 | 0.701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91039 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.83766 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.77 | 2,4-DINITROTOLUENE | . | 0.56 | 0.645 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83766 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.35958 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.232 | 2,4-DINITROTOLUENE | E | 0.56 | 0.443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35958 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.84675 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.77 | 2,4-DINITROTOLUENE | . | 0.56 | 0.652 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84675 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80164 | 0.18213 | 0.84675 | 0.13805 | 0.10233
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.99287 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 1.7525 | 2,4-DINITROTOLUENE | . | 0.56 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99287 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99287 |  | 0.99287 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.91667 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 4.56 | 2,4-DINITROTOLUENE | . | 0.56 | 4.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91667 |  | 0.91667 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.86957 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.794 | 2,4-DINITROTOLUENE | . | 0.56 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86957 |  | 0.86957 | 0 | 0
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.86074 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.9286 | 2,4-DINITROTOLUENE | E | 0.56 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86074 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.93947 | 0.14145 | 0.89683 | 0.19444 | 0.14414
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.82376 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.99422 | 2,4-DINITROTOLUENE | . | 0.56 | 0.819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82376 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93947 | 0.14145 | 0.89683 | 0.19444 | 0.14414
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.1405 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.99959 | 2,4-DINITROTOLUENE | . | 0.56 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1405 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93947 | 0.14145 | 0.89683 | 0.19444 | 0.14414
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.93292 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.9294 | 2,4-DINITROTOLUENE | . | 0.56 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93292 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93947 | 0.14145 | 0.89683 | 0.19444 | 0.14414
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.93744 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.75738 | 2,4-DINITROTOLUENE | . | 0.56 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93744 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.92893 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2272 | 2,4-DINITROTOLUENE | . | 0.56 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92893 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.69058 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.0988 | 2,4-DINITROTOLUENE | . | 0.56 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69058 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.7785 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.772 | 2,4-DINITROTOLUENE | . | 0.56 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7785 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.78368 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.772 | 2,4-DINITROTOLUENE | . | 0.56 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78368 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.81606 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.088 | 2,4-DINITROTOLUENE | E | 0.56 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81606 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.82578 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2352 | 2,4-DINITROTOLUENE | . | 0.56 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82578 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86269 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.772 | 2,4-DINITROTOLUENE | . | 0.56 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86269 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82796 | 0.081778 | 0.82092 | 0.11472 | 0.085042
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-02-11 | 2006-04-01 | 2008-09-30 | ug/L | 0.56642 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.5236 | 2,4-DINITROTOLUENE | E | 0.43 | 0.863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56642 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-05-08 | 2006-04-01 | 2008-09-30 | ug/L | 0.89299 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4782 | 2,4-DINITROTOLUENE | . | 0.43 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89299 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-05-08 | 2006-04-01 | 2008-09-30 | ug/L | 0.92502 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.5027 | 2,4-DINITROTOLUENE | . | 0.43 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92502 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-06-09 | 2006-04-01 | 2008-09-30 | ug/L | 1.0173 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.3592 | 2,4-DINITROTOLUENE | . | 0.43 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0173 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-07-14 | 2006-04-01 | 2008-09-30 | ug/L | 0.8447 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.468 | 2,4-DINITROTOLUENE | . | 0.43 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8447 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-08-19 | 2006-04-01 | 2008-09-30 | ug/L | 1.0071 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4597 | 2,4-DINITROTOLUENE | . | 0.43 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0071 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036
2,4-DINITROTOLUENE | 1383 | 34611GCM57 | 2008-09-21 | 2006-04-01 | 2008-09-30 | ug/L | 0.92517 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4592 | 2,4-DINITROTOLUENE | E | 0.43 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92517 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.88266 | 0.15207 | 0.92502 | 0.16236 | 0.12036