## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.67397 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.6024 | 2-CHLOROPHENOL | . | 0.26 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67397 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67397 |  | 0.67397 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.58194 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.495 | 2-CHLOROPHENOL | . | 0.26 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58194 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.58194 |  | 0.58194 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.83396 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.8299 | 2-CHLOROPHENOL | . | 0.42 | 2.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83396 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75258 | 0.085867 | 0.77227 | 0.10936 | 0.08107
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.63182 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.6273 | 2-CHLOROPHENOL | . | 0.42 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63182 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75258 | 0.085867 | 0.77227 | 0.10936 | 0.08107
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.76398 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.6179 | 2-CHLOROPHENOL | . | 0.42 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76398 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75258 | 0.085867 | 0.77227 | 0.10936 | 0.08107
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.78056 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 4.2277 | 2-CHLOROPHENOL | . | 0.26 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78056 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75258 | 0.085867 | 0.77227 | 0.10936 | 0.08107
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72377 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.506 | 2-CHLOROPHENOL | . | 0.26 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72377 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72377 |  | 0.72377 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93792 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.6024 | 2-CHLOROPHENOL | . | 0.26 | 0.565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93792 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93792 |  | 0.93792 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.39847 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.8861 | 2-CHLOROPHENOL | . | 0.42 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39847 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56407 | 0.29228 | 0.59702 | 0.49275 | 0.36527
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.82531 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 4.2651 | 2-CHLOROPHENOL | . | 0.42 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82531 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56407 | 0.29228 | 0.59702 | 0.49275 | 0.36527
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.23692 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.6675 | 2-CHLOROPHENOL | E | 0.42 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23692 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.56407 | 0.29228 | 0.59702 | 0.49275 | 0.36527
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2009-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.79558 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.6145 | 2-CHLOROPHENOL | . | 0.42 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79558 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56407 | 0.29228 | 0.59702 | 0.49275 | 0.36527
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88629 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.598 | 2-CHLOROPHENOL | . | 0.26 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88629 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88629 |  | 0.88629 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.57692 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.598 | 2-CHLOROPHENOL | . | 0.26 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57692 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.57692 |  | 0.57692 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.82236 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.6173 | 2-CHLOROPHENOL | . | 0.26 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82236 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77888 | 0.037144 | 0.77417 | 0.061621 | 0.045679
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.79703 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.5809 | 2-CHLOROPHENOL | . | 0.26 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79703 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77888 | 0.037144 | 0.77417 | 0.061621 | 0.045679
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.75132 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 3.2077 | 2-CHLOROPHENOL | . | 0.26 | 2.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75132 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77888 | 0.037144 | 0.77417 | 0.061621 | 0.045679
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74483 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.6111 | 2-CHLOROPHENOL | . | 0.26 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74482 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77888 | 0.037144 | 0.77417 | 0.061621 | 0.045679
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.5 | 2-CHLOROPHENOL | . | 0.26 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.805 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 0.6 | 2-CHLOROPHENOL | . | 0.26 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.805 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.805 |  | 0.805 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.79333 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 1.5 | 2-CHLOROPHENOL | . | 0.26 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77333 | 0.028284 | 0.77333 | 0.04 | 0.029652
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.75333 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 3 | 2-CHLOROPHENOL | . | 0.26 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77333 | 0.028284 | 0.77333 | 0.04 | 0.029652
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.88333 | Restek | A088363 | Restek A088363: 20 µl | 0.6 | 2-CHLOROPHENOL | . | 0.26 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88333 |  | 0.88333 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.87333 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.6 | 2-CHLOROPHENOL | . | 0.26 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90833 | 0.049497 | 0.90833 | 0.07 | 0.05189
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.94333 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 3 | 2-CHLOROPHENOL | . | 0.26 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94333 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90833 | 0.049497 | 0.90833 | 0.07 | 0.05189
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.5 | 2-CHLOROPHENOL | . | 0.26 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7925 | 0.017678 | 0.7925 | 0.025 | 0.018532
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.805 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.6 | 2-CHLOROPHENOL | . | 0.26 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.805 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7925 | 0.017678 | 0.7925 | 0.025 | 0.018532
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.64467 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 1.5 | 2-CHLOROPHENOL | . | 0.26 | 0.967 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64467 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.64467 |  | 0.64467 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.96833 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 0.6 | 2-CHLOROPHENOL | . | 0.26 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96833 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96833 |  | 0.96833 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.89728 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.4934 | 2-CHLOROPHENOL | . | 0.26 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89728 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.99617 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.7242 | 2-CHLOROPHENOL | . | 0.26 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99617 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.86088 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.92347 | 2-CHLOROPHENOL | . | 0.26 | 0.795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86088 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.80521 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.4903 | 2-CHLOROPHENOL | . | 0.26 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80521 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.94149 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.76 | 2-CHLOROPHENOL | . | 0.26 | 3.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94149 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.88298 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88298 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.73085 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73085 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.41556 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.504 | 2-CHLOROPHENOL | E | 0.26 | 0.625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41556 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.87766 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87766 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82312 | 0.17043 | 0.87766 | 0.09207 | 0.068251
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.73041 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.506 | 2-CHLOROPHENOL | . | 0.26 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73041 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73041 |  | 0.73041 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.82107 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.598 | 2-CHLOROPHENOL | . | 0.26 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82107 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82107 |  | 0.82107 | 0 | 0
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.72094 | Supelco | LB69646 | Supelco LB69646: 80 µl | 3.1487 | 2-CHLOROPHENOL | . | 0.26 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72094 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87348 | 0.13801 | 0.85952 | 0.18794 | 0.13932
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.88097 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.6232 | 2-CHLOROPHENOL | . | 0.26 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88097 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87348 | 0.13801 | 0.85952 | 0.18794 | 0.13932
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.0539 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.632 | 2-CHLOROPHENOL | . | 0.26 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0539 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87348 | 0.13801 | 0.85952 | 0.18794 | 0.13932
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.83808 | Supelco | LB69646 | Supelco LB69646: 80 µl | 3.1501 | 2-CHLOROPHENOL | . | 0.26 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83808 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87348 | 0.13801 | 0.85952 | 0.18794 | 0.13932
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.79809 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.9222 | 2-CHLOROPHENOL | . | 0.26 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79809 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.9369 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.4943 | 2-CHLOROPHENOL | . | 0.26 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9369 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.68907 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.7732 | 2-CHLOROPHENOL | . | 0.26 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68907 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.78404 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.737 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78404 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.81596 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81596 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.58777 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.76 | 2-CHLOROPHENOL | . | 0.26 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58777 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.57114 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.504 | 2-CHLOROPHENOL | . | 0.26 | 0.859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57114 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.81915 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.94 | 2-CHLOROPHENOL | . | 0.26 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81915 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75026 | 0.1251 | 0.79107 | 0.17914 | 0.13279
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.53111 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.0243 | 2-CHLOROPHENOL | E | 0.42 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53111 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.88454 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.99374 | 2-CHLOROPHENOL | . | 0.42 | 0.879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88454 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.0097 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.0102 | 2-CHLOROPHENOL | . | 0.42 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0097 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-06-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.91422 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 1.586 | 2-CHLOROPHENOL | . | 0.42 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91422 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.86637 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.98687 | 2-CHLOROPHENOL | . | 0.42 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86637 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.91205 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.98131 | 2-CHLOROPHENOL | . | 0.42 | 0.895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91205 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961
2-CHLOROPHENOL | 1383 | 34586GCM56 | 2008-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.96027 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 0.98097 | 2-CHLOROPHENOL | . | 0.42 | 0.942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96027 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86832 | 0.15623 | 0.91205 | 0.093903 | 0.06961