## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.74747 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0074 | 2-NITROPHENOL | . | 0.4 | 0.753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74747 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.74747 |  | 0.74747 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.61942 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61942 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.61942 |  | 0.61942 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.84202 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.8289 | 2-NITROPHENOL | . | 0.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84202 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-07-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.5471 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.698 | 2-NITROPHENOL | . | 0.4 | 0.929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5471 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.73881 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.6919 | 2-NITROPHENOL | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73881 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.75027 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 2.7324 | 2-NITROPHENOL | . | 0.4 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75027 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.52217 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.8691 | 2-NITROPHENOL | . | 0.4 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52217 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.80732 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.7622 | 2-NITROPHENOL | . | 0.4 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80732 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.26684 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.7276 | 2-NITROPHENOL | E | 0.4 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26684 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.75005 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.6932 | 2-NITROPHENOL | . | 0.4 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75005 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.99265 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.0074 | 2-NITROPHENOL | . | 0.4 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99265 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93707 | 0.078614 | 0.93707 | 0.11118 | 0.082415
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.88148 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88148 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93707 | 0.078614 | 0.93707 | 0.11118 | 0.082415
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.82418 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2.002 | 2-NITROPHENOL | . | 0.4 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82418 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82418 |  | 0.82418 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.83054 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.5984 | 2-NITROPHENOL | . | 0.4 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83054 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.91807 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.58492 | 2-NITROPHENOL | . | 0.4 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91807 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.83583 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.1868 | 2-NITROPHENOL | . | 0.4 | 0.992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83583 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.85051 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.59611 | 2-NITROPHENOL | . | 0.4 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85051 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.80919 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5.005 | 2-NITROPHENOL | . | 0.4 | 4.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80919 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75475 | 0.076998 | 0.75475 | 0.10889 | 0.08072
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.7003 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10.01 | 2-NITROPHENOL | . | 0.4 | 7.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75475 | 0.076998 | 0.75475 | 0.10889 | 0.08072
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8991 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2.002 | 2-NITROPHENOL | . | 0.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8991 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8991 |  | 0.8991 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.91324 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91324 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91324 |  | 0.91324 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.9278 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0088 | 2-NITROPHENOL | . | 0.4 | 0.936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9278 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.0374 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.5158 | 2-NITROPHENOL | . | 0.4 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.68608 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.62383 | 2-NITROPHENOL | . | 0.4 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68608 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.88007 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0067 | 2-NITROPHENOL | E | 0.4 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88007 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.9252 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.54 | 2-NITROPHENOL | . | 0.4 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9252 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.88189 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88189 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.74646 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74646 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.45472 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.016 | 2-NITROPHENOL | E | 0.4 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45472 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.9748 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9748 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0629 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5.005 | 2-NITROPHENOL | . | 0.4 | 5.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0629 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0629 |  | 1.0629 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.812 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.5 | 2-NITROPHENOL | . | 0.4 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.812 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.812 |  | 0.812 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79 |  | 0.79 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-02-01 | 2007-10-01 | 2008-09-30 | ug/L | 0.37298 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.472 | 2-NITROPHENOL | E | 0.6 | 0.922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37298 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-04-07 | 2007-10-01 | 2008-09-30 | ug/L | 0.78884 | Supelco | LB50016 | Supelco LB50016: 40 µl | 3.7904 | 2-NITROPHENOL | . | 0.6 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78884 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 0.98282 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3605 | 2-NITROPHENOL | . | 0.6 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98282 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.9447 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3711 | 2-NITROPHENOL | . | 0.6 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9447 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-07-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.89925 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3575 | 2-NITROPHENOL | . | 0.6 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89925 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.67301 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3328 | 2-NITROPHENOL | . | 0.6 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67301 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.69408 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.3484 | 2-NITROPHENOL | . | 0.6 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69408 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.7651 | 0.21036 | 0.78884 | 0.27169 | 0.2014
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.77947 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.1713 | 2-NITROPHENOL | E | 0.4 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77947 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.82638 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.60383 | 2-NITROPHENOL | . | 0.4 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82638 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.1118 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.6071 | 2-NITROPHENOL | . | 0.4 | 0.675 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1118 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.8875 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.1718 | 2-NITROPHENOL | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 1.0241 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.62494 | 2-NITROPHENOL | . | 0.4 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0241 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 1.0468 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0126 | 2-NITROPHENOL | . | 0.4 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0468 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.81347 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5569 | 2-NITROPHENOL | . | 0.4 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81347 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.8697 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8697 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.97017 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97017 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.75353 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.548 | 2-NITROPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75353 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.68878 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0192 | 2-NITROPHENOL | . | 0.4 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68878 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0078 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0078 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233