## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.37864 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 5.018 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37864 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.37864 |  | 0.37864 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.42063 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 12.6 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 5.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42063 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.42063 |  | 0.42063 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-04-07 | 2009-01-01 | 2009-09-30 | ug/L | 1.2136 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.1041 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2136 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.7434 | 0.40735 | 0.51888 | 0.71589 | 0.53069
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-09-01 | 2009-01-01 | 2009-09-30 | ug/L | 0.51888 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.0214 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51888 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.7434 | 0.40735 | 0.51888 | 0.71589 | 0.53069
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.49771 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.6496 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.76 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49771 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.7434 | 0.40735 | 0.51888 | 0.71589 | 0.53069
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.59785 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 12.545 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 7.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59785 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.59785 |  | 0.59785 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.71742 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 5.018 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71742 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.71742 |  | 0.71742 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.70352 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.98 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70352 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.6407 | 0.088833 | 0.6407 | 0.12563 | 0.093127
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.57789 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.98 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57789 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.6407 | 0.088833 | 0.6407 | 0.12563 | 0.093127
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-03-10 | 2009-01-01 | 2009-09-30 | ug/L | 0.15545 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.1322 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15545 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47194 | 0.28891 | 0.44779 | 0.43008 | 0.31882
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-04-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.83674 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.6732 | 4,6-DINITRO-2-METHYLPHENOL | . | 0.77 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83674 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.47194 | 0.28891 | 0.44779 | 0.43008 | 0.31882
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-08-25 | 2009-01-01 | 2009-09-30 | ug/L | 0.35835 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.0465 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35835 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47194 | 0.28891 | 0.44779 | 0.43008 | 0.31882
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2009-09-21 | 2009-01-01 | 2009-09-30 | ug/L | 0.53723 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.0256 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 0.551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53723 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.47194 | 0.28891 | 0.44779 | 0.43008 | 0.31882
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.45635 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 5.04 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45635 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.45635 |  | 0.45635 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.37698 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 5.04 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37698 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.37698 |  | 0.37698 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.77387 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 9.95 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 7.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77387 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.71106 | 0.088833 | 0.71106 | 0.12563 | 0.093127
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.64824 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 19.9 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 12.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64824 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.71106 | 0.088833 | 0.71106 | 0.12563 | 0.093127
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.72464 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 4.002 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72464 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.72464 |  | 0.72464 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-02-22 | 2006-04-01 | 2008-12-31 | ug/L | 0.9383 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2168 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9383 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-05-08 | 2006-04-01 | 2008-12-31 | ug/L | 0.93212 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2207 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93212 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-05-15 | 2006-04-01 | 2008-12-31 | ug/L | 0.88718 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2318 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88718 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-06-09 | 2006-04-01 | 2008-12-31 | ug/L | 0.97346 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2497 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97346 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-08-16 | 2006-04-01 | 2008-12-31 | ug/L | 0.90471 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.1996 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90471 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-08-20 | 2006-04-01 | 2008-12-31 | ug/L | 0.71147 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 3.556 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.77 | 2.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71147 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2008-09-21 | 2006-04-01 | 2008-12-31 | ug/L | 0.78157 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2007 | 4,6-DINITRO-2-METHYLPHENOL | . | 0.77 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78157 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 0.87555 | 0.094395 | 0.90471 | 0.15672 | 0.11618
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.67372 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.2561 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.76 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67372 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67808 | 0.071725 | 0.68148 | 0.095133 | 0.070521
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.68924 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.2053 | 4,6-DINITRO-2-METHYLPHENOL | . | 0.76 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68924 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.67808 | 0.071725 | 0.68148 | 0.095133 | 0.070521
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.76206 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 4.4747 | 4,6-DINITRO-2-METHYLPHENOL | . | 0.76 | 3.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76206 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.67808 | 0.071725 | 0.68148 | 0.095133 | 0.070521
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.58732 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.2475 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58732 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67808 | 0.071725 | 0.68148 | 0.095133 | 0.070521
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72864 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3.98 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72864 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.72864 |  | 0.72864 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.65967 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 10.005 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 6.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65967 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.65717 | 0.0035338 | 0.65717 | 0.0049975 | 0.0037046
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.65467 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 20.01 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 13.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65467 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65717 | 0.0035338 | 0.65717 | 0.0049975 | 0.0037046
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.57286 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 9.95 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57286 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.57286 |  | 0.57286 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77461 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 4.002 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77461 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.77461 |  | 0.77461 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.71799 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.1783 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71799 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.89252 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.42 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 9.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89252 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.77407 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.5838 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77407 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.76745 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.1696 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76745 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.84601 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.52 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 8.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84601 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.79848 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.63 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79848 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.64639 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.63 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64639 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.28517 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.208 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28517 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.8365 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.63 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8365 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7294 | 0.18175 | 0.77407 | 0.11851 | 0.087852
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.84958 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 10.005 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 8.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84958 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.84958 |  | 0.84958 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.58191 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 12.545 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 7.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58191 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.58191 |  | 0.58191 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.63492 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 5.04 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63492 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.63492 |  | 0.63492 | 0 | 0
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.62336 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.3956 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.76 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62336 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63037 | 0.27618 | 0.68462 | 0.38495 | 0.28536
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.25243 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.266 | 4,6-DINITRO-2-METHYLPHENOL | E | 0.76 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25243 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63037 | 0.27618 | 0.68462 | 0.38495 | 0.28536
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.89981 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.2783 | 4,6-DINITRO-2-METHYLPHENOL | . | 0.76 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89981 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.63037 | 0.27618 | 0.68462 | 0.38495 | 0.28536
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.74588 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.3975 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74588 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.63037 | 0.27618 | 0.68462 | 0.38495 | 0.28536
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.69775 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.5797 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69775 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.74162 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.18 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74162 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.63477 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.5549 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 6.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63477 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.53242 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.6295 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53242 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.49439 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.6295 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49439 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.56094 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.518 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56094 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.49914 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.2072 | 4,6-DINITRO-2-METHYLPHENOL | . | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49914 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13
4,6-DINITRO-2-METHYLPHENOL | 1383 | 34657GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.68454 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.6295 | 4,6-DINITRO-2-METHYLPHENOL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68454 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.6057 | 0.096456 | 0.59786 | 0.17536 | 0.13