## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.69564 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.5094 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69564 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.69564 |  | 0.69564 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.6129 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.72 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6129 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6129 |  | 0.6129 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.99067 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.5949 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99067 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79105 | 0.15922 | 0.78456 | 0.21857 | 0.16202
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.60443 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.4807 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60443 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79105 | 0.15922 | 0.78456 | 0.21857 | 0.16202
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.75912 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.4754 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75912 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79105 | 0.15922 | 0.78456 | 0.21857 | 0.16202
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.81001 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 2.3827 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81001 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79105 | 0.15922 | 0.78456 | 0.21857 | 0.16202
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.76852 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 3.7735 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76852 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76852 |  | 0.76852 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0203 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.5094 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0203 |  | 1.0203 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.51718 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.6281 | 4-CHLORO-3-METHYLPHENOL | E | 0.55 | 0.842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51718 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.62322 | 0.2657 | 0.64846 | 0.4269 | 0.31646
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.8936 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.406 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8936 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62322 | 0.2657 | 0.64846 | 0.4269 | 0.31646
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.30237 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.5048 | 4-CHLORO-3-METHYLPHENOL | E | 0.55 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30237 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.62322 | 0.2657 | 0.64846 | 0.4269 | 0.31646
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2009-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.77974 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.4749 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77974 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62322 | 0.2657 | 0.64846 | 0.4269 | 0.31646
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87366 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.488 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87366 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87366 |  | 0.87366 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.54839 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.488 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54839 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.54839 |  | 0.54839 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-02-22 | 2006-04-01 | 2009-09-30 | ug/L | 0.92896 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0528 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92896 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.1662 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0547 | 4-CHLORO-3-METHYLPHENOL | E | 0.55 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1662 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.019 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0599 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-06-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.51946 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0684 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51946 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-08-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.93813 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0446 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93813 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.87044 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 1.6888 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87044 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2008-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.96638 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.0451 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96638 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.91551 | 0.19822 | 0.93813 | 0.14851 | 0.11009
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.84777 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.69948 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84777 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84888 | 0.040587 | 0.84796 | 0.049885 | 0.036979
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.89948 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.68373 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89948 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84888 | 0.040587 | 0.84796 | 0.049885 | 0.036979
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.8001 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.3873 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8001 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84888 | 0.040587 | 0.84796 | 0.049885 | 0.036979
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.84815 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.69681 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84815 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84888 | 0.040587 | 0.84796 | 0.049885 | 0.036979
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.83 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 5 | 4-CHLORO-3-METHYLPHENOL | E | 0.54 | 4.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.83 |  | 0.83 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.705 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.705 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.705 |  | 0.705 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.718 | 0.0028284 | 0.718 | 0.004 | 0.0029652
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.716 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 7.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.716 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.718 | 0.0028284 | 0.718 | 0.004 | 0.0029652
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Restek | A088363 | Restek A088363: 20 µl | 2 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.78 |  | 0.78 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 2 | 4-CHLORO-3-METHYLPHENOL | E | 0.54 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.8895 | 0.014849 | 0.8895 | 0.021 | 0.015567
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.879 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 10 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 8.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.879 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8895 | 0.014849 | 0.8895 | 0.021 | 0.015567
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.664 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 5 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.677 | 0.018385 | 0.677 | 0.026 | 0.019274
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 2 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.677 | 0.018385 | 0.677 | 0.026 | 0.019274
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.558 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 5 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.558 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.558 |  | 0.558 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.81 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81 |  | 0.81 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.78707 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.7735 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78707 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78707 |  | 0.78707 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.85349 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.488 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85349 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85349 |  | 0.85349 | 0 | 0
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.752 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.3697 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.752 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87729 | 0.13207 | 0.84683 | 0.16276 | 0.12065
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.83983 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.7061 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83983 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87729 | 0.13207 | 0.84683 | 0.16276 | 0.12065
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.0635 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.70991 | 4-CHLORO-3-METHYLPHENOL | . | 0.55 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0635 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87729 | 0.13207 | 0.84683 | 0.16276 | 0.12065
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.85384 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.3703 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85384 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87729 | 0.13207 | 0.84683 | 0.16276 | 0.12065
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.85464 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.62249 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85464 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 1.0707 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0086 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.78526 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5469 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78526 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.96139 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6345 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96139 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83215 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6345 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83215 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.66588 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.538 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66588 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.72498 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0152 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72498 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383
4-CHLORO-3-METHYLPHENOL | 1383 | 34452GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.92199 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6345 | 4-CHLORO-3-METHYLPHENOL | . | 0.54 | 0.585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92199 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85213 | 0.13112 | 0.84339 | 0.18656 | 0.1383